# Purpose

The purpose of this document is to define the Design Change Control procedure that will be followed for hardware development at EPIC.

# Scope

This procedure is intended to be used to control change to the design and development of the hardware components of EPIC products. This procedure applies to the design and development of any:

Medical device

Component, part, or accessory of a medical device.

This procedure is intended to be followed by all personnel who are involved with hardware design and development projects.

This procedure is applicable to Class I design changes (see Definitions below) prior to their implementation into production. It applies to all design and design documentation changes prior to and after initial design release. After initial design release, changes should be considered in the context of change control and design control policy.

This procedure augments Design Change Control as defined in EG-001, Design Control Procedure. It is not a replacement for Design Change Control. Instead, it defines in further detail change control for hardware components.

# Definitions

| Class I Design Change | Any change that affects form, fit or function or that is not interchangeable. |
| --- | --- |
| Design and Development Plan (DDP) | The guiding plan for the product development. See EG-001 for full definition. |
| Design History File (DHF) | A compilation of records which describes the design history of a finished device. |
| Design Phase | A series of stages, including design, implementation, verification and reviews that results in the production of a hardware version. See EG-001 for full definition. |
| Design Review Board (DRB) | A cross-functional team tasked with reviewing and approving a project as it progresses through development to ensure the Design Control Procedure is followed and the product satisfies user needs and intended use. See EG-001 for full definition. |
| Product Requirements Document (PRD) | A record that documents the physical and performance requirements of a product that are used as a basis for product design. |
| Project Leader | The member of the Project Team who coordinates the work of the team and reports progress and project status to management. |
| Project Team | The set of individuals who together collaborate to develop a product. This document uses the term to describe the team developing hardware. See EG-001 for full definition. |

# Responsibilities

| Project Leader | Complies with the policy and procedure for all new or revised documents. Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Project Team Member | Ensures proper training before using this policy or procedure. Participates in the development, reviews and/or approval of all design control documentation. |
| Quality Assurance | Participates in the development, reviews, and/or approval of all design control documentations. Ensures the implementation and effectiveness of this procedure. Conducts periodic audits to assure compliance. |

# Change Control Elements

This section identifies the elements that facilitate design change control as defined by this procedure.

## Design Change Request

A Design Change Request is a request to modify hardware design or hardware design documentation. A change request can be made for any reason, not just for defects, errors or malfunctions. Changes in part sourcing or updates to part versions are also changes. A Design Change Request will contain the following information:

Reason for the change

Details of the change (i.e., requested changes)

Departmental effects

Process effects

Implementation plan; the plan will clearly identify all design control activities including a written justification for any Design Control Elements that are not required

EGF-010, Design Change Request may be used for a Design Change Request.

All Design Change Requests, whether approved or rejected, will be placed in the Design History File (DHF), as defined by EG-001.

## Review Team

The Review Team is a cross-functional team tasked with reviewing and approving changes to hardware design.

### The Review Team will perform the following functions:

Review Design Change Requests for accuracy and completeness

Determine which Design Changes require change(s) to the product requirements, if any

Approve Design Changes and commencement of a Design Phase if no product requirements are affected

### The membership of the Review Team will be as defined in EG-001.

### The Review Team will meet after a change has been identified and the Design Change Request has been completed.

# Procedure

This section defines the design change procedure in detail.

## The Project Team will identify a Design Change based on complaints, feedback, or internal planning or issues. A change to design documentation is considered a Design Change and subject to this procedure.

## The Project Team will complete a Design Change Request and the Project Leader will schedule a Design Change Review to review the proposed change.

## The Design Change will be reviewed by the Review Team and either approved or rejected.  A rejected design change may be sent back to the Project Team for rework or completely rejected.  A complete explanation must be provided for all rejected Design Change Requests.

## The Review Team will determine if the Design Change requires any change(s) to the Product Requirements Document (PRD). If changes to the PRD are required the Review Team will give approval for the Project Team to update the PRD and present it to the Design Review Board (DRB). The DRB must approve changes to the PRD.

## If no changes to the PRD are required, the Review Team may approve the Design Change and commencement of a Design Phase to implement the change.

## Any approval or rejection of a Design Change will be formally documented. This documentation will include:

Identification of requirements changes, if any

Action items to be addressed, if any

Reason and explanation for rejection, if rejected

The dated signature of each member of the Review Team

This documentation will be placed in the DHF. EGF-010 includes an area for designating approval/rejection and a signature block; it may be used as documentation.

## Design change verification/validation must be rationalized, planned, executed and documented in accordance with the design control verification and validation procedures.

## Design reviews are required for changes that effect regulatory, manufacturing, marketing or quality considerations of the design.

## Design changes that affect the intended use or changes that affect the safety features of the design will require a risk analysis review.

## Design changes and changes to design documentation follow the same quality process as initial design implementations. See EG-001 for the definition of the overall Design Control Procedure and specific design control requirements.

# References

| EG-001 | Design Control Procedure |
| --- | --- |
| EGF-010 | Design Change Request |

Document Revision History

| Change Order | Version | Description of Change | Date | Updated by: |
| --- | --- | --- | --- | --- |
| CC-061509-02 | 000 | New Document | 08-07-09 | T. Joiner |
| CC-101025-01 | 001 | Add “Requests design changes” to the Marketing Responsibilities in section 4.0. Add step 5.7 to outline the difference between design changes that must follow this procedure (those that affect/impact design inputs) and those that follow the Documentation System Policy (for minor changes that do not impact design inputs). Add document numbers to section 7.0 for the Design Change Summary Form and the Documentation System Policy. Modify font and size and add new company logo to header. | 12/10/10 | A.M.M. |
| CC-120601-01 | 002 | Update procedure to align with the policies implemented with rewrite of the Design Control Procedure. | 6/12/12 | A. Miller |
| CC-130319-02 | 003 | Updated and rewritten to align with rewritten EG-001, Design Control Procedure. | 3/21/13 | L. Kurth |