- Purpose

To define the policies related to the conceptualization and design of product development.

- Scope

This corporate policy is applicable to the design and development of all medical devices by EPIC Research & Diagnostics (EPIC).  This policy is applicable to all phases of design control as defined and referenced by all applicable quality system standards and regulatory requirements including FDA 21 CFR 820.

- Definitions

| N/A |  |
| --- | --- |

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised documents. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Provides a timely review and approval/rejection of a draft documents. - Reviews and approves all controlled documents for departmental procedures. |
| Quality Assurance | - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. - Assists Users and Departmental Management with writing/revising documents. - Conducts periodic audits to assure compliance. |
| Engineering/Manufacturing | - Reviews and approves all products, product specifications, manufacturing processes, inspection processes, patient and physical manuals. - Researches designs and reports. - Reviews procedures to ensure that inspection criteria can be performed. |
| Marketing | - Reviews the market and necessity for products. |

- Policy

  - Design Philosophy

It is EPIC policy to employ qualified individuals that are educated and trained in professions to ensure that the Company develops and retains human resources that apply and promote current professional design practices.  It is the Company’s belief that encouraging and subscribing to current professional design practices ensures the development of product designs with high efficiency and safety of operation; convenience and comfort to the user; ease of maintenance and repair; durability and reliability; aesthetic expression of function in terms of form, color, proportion and texture.

An effective product design process requires the combined understanding and application of engineering principles and materials, human factors engineering principles (Ergonomics), the development of validated techniques and processes, the careful management of development resources and production costs, and responsiveness to prevailing market conditions.  An effective design process encourages and promotes the creative initiatives of all personnel while being guided by the sound principles of risk management.

  - Design Concept Development

The process of developing a design concept is initiated through corporate strategic business planning and the evaluation of ideas as submitted by employees.  Once a design concept with an accompanying general business plan have been developed and approved by Executive Management, a design project can be initiated and design controls applied.

    - Corporate Strategic Business Planning

A corporate wide approach to product development ensures a unified approach to planning, designing and marketing medical devices.  These activities are driven by a common strategic business plan.  This strategic outlook identifies potential design projects corresponding directly with the overall corporate vision and marketing strategy.

New products at the strategic planning level are innovative ideas intended to satisfy identified market needs or opportunities and estimated to be viable based upon a general plan to develop, manufacture and market a new product.

    - Evaluation of Ideas

Ideas are evaluated as a result of strategic business planning or through the submission of an idea by an employee.  This evaluation is based upon potential viability as an innovative product, potential financial feasibility including return on investment (ROI), and the ability to enhance the corporate vision and marketing strategy.  The efficacy of the idea’s intended purpose is clearly established prior to development of the design concept.

    - General Business Plans

A general business plan is prepared that demonstrates the financial feasibility of each new design project.  This plan describes the design, approval, manufacturing and marketing of the new product and associated processes including the allocation of all internal and external resources with estimated costs and timelines.  The plan also describes the overall marketing strategy including sales forecasts, commission structure, stocking policies and details regarding the generation of all planned revenues including the methods of both billing and collection.

    - Design Concepts

Personnel appointed by Executive Management initiates and coordinate the development of a design concept based upon an initial product definition.  This initial product definition serves as a marketing list of product features and associated constraints.  It is intended to be restricted only by those limitations identified in the general business plan and those factors ensuring the marketability, approval or efficacy of the product.  Design controls are applicable once the design concept has been approved.

    - General Requirements

Personnel appointed by Executive Management are responsible for managing the design control process and ensuring that all quality and regulatory requirements as well as all corporate objectives are satisfied.  The appointed personnel may delegate some of this authority to qualified personnel, but remains ultimately responsible for ensuring that all of these requirements and objectives are satisfied.  All requirements prescribed in this policy and associated procedures for design control are maintained by Quality Assurance and form the basis of internal audits.

- Procedure

The procedures that are specific to this policy are outlined in each of the procedure documents

- Reference

  - SOP EG-002, Design and Development Planning

  - SOP EG-003, Design Input Requirements

  - SOP EG-004, Design Output

  - SOP EG-005 Design Reviews

  - SOP EG-006 Design Verification and Validation

  - SOP EG-007 Design Change

  - SOP EG-008 Design Transfer

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| cc-052709-01 | 000 | New Document | 05/27/09 | TJ |