- Purpose

To develop design and development project plans representative of project complexity in accordance with the Design Control Policy.

- Scope

This procedure is applicable to all product design and development projects for all new products or to major design changes in released products.

- Definitions

N/A

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised design projects. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Complies with the policy and procedure for all new or revised product design. - Ensures the most current version of this document is used when referenced. - Assigning personnel to design teams. |
| Quality Assurance | - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. - Conducts periodic audits to assure compliance. |
| Engineering/Manufacturing | - Reviews and approves all documentation related to device design development. - Participates in periodic design review to ensure that design controls are properly implemented. |

- Policy

  - Design controls begin with the development and approval of design inputs.

  - Design and Development plans should be written in a broad and complete manner, which should include all major activities, assignments, and responsibilities.

  - Any individual can suggest a design change.

  - All design and development suggestions, plans, and approvals should be documented.

- Procedure

  - Design projects should be sent to Engineering for initial review.

  - Engineering reviews the suggested design project for technical feasibility, advantages, and disadvantages.

  - If the project is found to be technically feasible, Engineering selects a Project Manager for the project.

  - The Project Manager creates a Design and Development Plan, which should include the following information:

    - Design Approval Form

    - Project name or title,

    - Objectives of the project,

    - Design Information including a description and any useful information regarding the change or plan.

  - Engineering submits the plan to Executive Management for review.

  - If approved by Executive Management, signatures of approval are collected on the Design Approval Form.

  - If disapproved by Executive Management, the plan is returned to Engineering and can either be revised to meet approval or cancelled.  All documentation regarding the approval or disapproval of suggested design changes should be stored appropriately for potential future review.

  - Executive Management creates a review committee with the Project Manager and representation from Quality, Regulatory, Engineering, Manufacturing, and Marketing.

  - The committee reviews the Design and Development Plan, includes any edits that are necessary (if any), and adds the following to the plan:

    - General delineation of all organizational interfaces and responsibilities,

    - Identification of major tasks, deliverables for each task, and assignment of responsibilities for completing each task,

    - Identification of consumable resources and a schedule for accomplishment of major tasks including all required activities outside the immediate department,

    - Identification of major design reviews, management approvals and decision ,

    - Identification of the reviewers or reviewer teams and the review process,

    - Project notification and updating

  - Once completed, the Design and Development Plan is reviewed by the design committee.  The review is documented on the Design and Development Approval Form.  The form should clearly document approval or rejection of the Design and Development Plan along with any required action items identified as a result of the review.

  - If contract suppliers are used during the any part of the design process, their input should be included into the Design and Development Plan and any/all processes as applicable.

  - Upon approval of the Design and Development Plan, the Project Manager begins the Design Input and Output process.

  - All documentation will be maintained in the Design History File (DHF).  The DHF is maintained and controlled by Engineering until the final design approval (i.e., technology transfer to Manufacturing) at which time all DHF documentation is placed in Document Control and Quality Assurance becomes responsible for maintaining and controlling the DHF.

- Reference

EG-003, Design Input Requirements

EGF-001, Design Approval Form

EGF-006, Design and Development Plan Approval Form

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| cc-052709-03 | 000 | New Document | 05/27/09 | TJ |
| CC-100809-01 | 001 | Update section 4.0 to reflect accurate responsibilities. Update sections 6.10 and add 6.13 to provide instructions for records maintenance and storage. Update section 7.0 to reference all controlled documentation. | 10/08/09 | AM |