- Purpose

To develop design input requirements representative of project complexity and in accordance with the Design Control Policy.  To translate general design inputs into specific design requirements.

- Scope

This procedure is applicable to approved product design and development projects for all new products or to major design changes in released products.

- Definitions

| Design Input | The physical and performance requirements of a device that are used as a basis for device design and include determining customer needs, expectations and requirements plus determining regulatory and industry standards and other appropriate requirements. |
| --- | --- |
| Design Input Requirement | The functional, performance, and interface requirements of a device that become part of the device master record and the device or product specifications. |

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised documents. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Assigning personnel to design teams. - Reviews and approves all controlled documents for departmental procedures. |
| Quality Assurance | - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. - Conducts periodic audits to assure compliance. |
| Engineering/Manufacturing | - Reviews and approves all products, product specifications, manufacturing processes, inspection processes, patient and physical manuals. - Reviews designs and procedures to ensure that inspection criteria can be performed. |
| Marketing | - Reviews the market and necessity for products. |

- Policy

  - Design controls begin with the development and approval of design inputs.

  - Design input requirements include all physical or performance requirements of a device that are used as the basis for developing the device design including any new or changing processes.

  - Design input requirements are properly identified, documented and reviewed for adequacy once a design project is incorporated into a design and development plan.

  - Conflicting requirements shall be resolved prior to approving the formalized set of design input requirements.

  - All design and development suggestions, plans, and approvals should be documented.

- Procedure

  - Based on the Design and Development Plan, the Project Manager completes a Design Input and Output Matrix.  Any contract suppliers should be involved in this process also.

  - Include the Project Name, Project Manager Name, Date, and description of the project on the matrix form.

  - List any essential design inputs, human factor inputs, marketing inputs, environmental inputs, manufacturing inputs, and hardware/software inputs.  Add any other input categories that are necessary for the device design.

  - A clear distinction is made between design inputs and design input requirements.  Design inputs correspond with a wish list of product features defined by the Design and Development Plan.  Design input requirements are the result of the initial stages of design control and are expressed using specific technical terms that can be readily verified and validated.  System, hardware and software requirements specifications should be generated based on the design input requirements.

  - Design input requirements and software requirement specifications as specified should include consideration of the following applicable standards or equivalent:

    - IEC 60601-1, Medical electrical equipment, Part 1

    - IEC 60601-1-2, Medical electrical equipment (General requirements for safety/Electromagnetic compatibility requirements and tests);

    - IEEE Standards for Software Development;

    - FDA 21 CFR 820

    - Any applicable FDA guidance documents, regulations, or policies.

    - IEC 60601-1-4, International standard for Medical Devices, general requirements for safety, Requirements for Programmable medical devices;

    - ISO 14971, Medical Devices – Application of Risk Management.

  - Any incomplete, ambiguous or conflicting inputs will be discussed and resolved prior to approving the inputs.

  - The Project Manager submits the completed Design Input and Output Matrix to the review committee.

  - The review committee assesses the matrix and either revises it or approves it.  If approved, the Review Committee signs the attached Design Approval Form.  If disapproved, the Review Committee returns the Design Input and Output Matrix to the Project Manager for revision.

- Reference

  - Design Approval Form, EGF-001

  - Design Input and Output Matrix, EGF-002

  - IEC 60601-1, Medical electrical equipment, Part 1

  - IEC 60601-1-2, Medical electrical equipment (General requirements for safety/Electromagnetic compatibility requirements and tests)

  - IEEE Standards for Software Development

  - FDA 21 CFR 820

  - IEC 60601-1-4, International standard for Medical Devices, general requirements for safety, Requirements for Programmable medical devices

  - ISO 14971, Medical Devices – Application of Risk Management

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| cc-052709-03 | 000 | New Document | 05/27/09 | TJ |