- Purpose

The purpose of design reviews is to ensure that the design and development process is compliant with design control policy and procedure.

- Scope

This procedure is applicable to approved product design and development projects for all new products or to major design changes in released products.

- Definitions

| N/A |  |
| --- | --- |

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised documents. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Assigning personnel to design teams. - Reviews and approves all controlled documents for departmental procedures. |
| Quality Assurance | - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. - Conducts periodic audits to assure compliance. |
| Engineering/Manufacturing | - Reviews and approves all products, product specifications, manufacturing processes, inspection processes, patient and physical manuals. - Reviews designs and procedures to ensure that inspection criteria can be performed. |
| Marketing | - Reviews the market and necessity for products. |

- Policy

  - Design reviews serve to ensure all departments affected by the resulting product have representation and interface throughout the development process.

  - Design reviews serve to confirm that design input requirements are being satisfied and translated throughout the development process and to identify any deficiencies that may be corrected before the design is released to the next phase.

  - Design reviews are intended to:  provide a systematic assessment of design results (outputs), provide feedback to designers on existing or emerging problems, assess progress and/or provide confirmation that the project is ready to move on to the next stage of development.

  - Design reviews should address or update progress related to the approved plan; review of expenditures or target costs; changes in design input requirements.

- Procedure

  - Design reviews are planned at decision-making points throughout the development process.

  - At least one design review meeting must be held for each design project.

  - Design reviews include design meetings, presentations, and independent reviews.

  - Design review minutes are maintained and become part of the Design History File (DHF).  The Project Manager or another designated individual is responsible for recording the minutes of the design review.

  - Conflict, action, and/or follow-up items addressed during a design review should be identified and target dates established for resolution of key issues.

  - Updates and completed tasks or goals should be communicated during the next design review meeting and updated

- Reference

  - Design Input & Output Matrix, EGF-002

  - Design Review Minutes Form, EGF-003

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| cc-052709-05 | 000 | New Document | 05/27/09 | TJ |