- Purpose

The purpose of design reviews is to ensure that the design and development process is compliant with design control policy and procedure.

- Scope

This procedure is applicable to approved product design and development projects for all new products or to major design changes in released products.

- Definitions

N/A

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised design projects. - Develops, gathers and presents all design documentation under review. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Assigning personnel to design teams. - Complies with the policy and procedure for all new or revised product design. - Ensures the most current version of this document is used when referenced. - Ensures design documentation presented is complete and participates in the assessment of the design documentation. |
| Quality Assurance | - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. - Conducts periodic audits to assure compliance. |
| Engineering/Manufacturing | - Reviews and approves all documentation related to device design development to ensure all technical requirements of the design controls are met. - Participates in periodic design review to ensure that design controls are properly implemented. |
| Marketing | - Participates in periodic design review to ensure that market requirements and customer expectations can be reasonably met by the design presented. |

- Policy

  - Design reviews serve to ensure all departments affected by the resulting product have representation and interface throughout the development process.

  - Design reviews serve to confirm that design input requirements are being satisfied and translated throughout the development process and to identify any deficiencies that may be corrected before the design is released to the next phase.

  - Design reviews are intended to  provide a systematic assessment of design results (outputs), provide feedback to designers on existing or emerging problems, assess progress and/or provide confirmation that the project is ready to move on to the next stage of development.

  - Design reviews should address or update progress related to the approved plan; review of expenditures or target costs; changes in design input requirements.

- Procedure

  - Design reviews are planned at decision-making points throughout the development process.

  - At least one design review meeting must be held for each phase of the design project as specified in quality system policies.

  - Design reviews include design meetings, presentations, and independent reviews.

  - Design review minutes are maintained and become part of the Design History File (DHF).  The Project Manager or another designated individual is responsible for recording the minutes of the design review.

  - Conflict, action, and/or follow-up items addressed during a design review should be identified and target dates established for resolution of key issues.

  - The final determination of approval or rejection should be recorded for every design review.  Design documentation reviewed may be approved pending follow-up action items which must be documented on the Design Review Minutes Form.  If some portions of the design records are approved while others are rejected, the meeting minutes should reflect a clear delineation of these documents and their approval status.

  - All Design Review Meeting Minutes will be maintained in the Design History File (DHF).  The DHF is maintained and controlled by Engineering until the final design approval (i.e., technology transfer to Manufacturing) at which time all DHF documentation is placed in Document Control and Quality Assurance becomes responsible for maintaining and controlling the DHF.

  - Updates and completed tasks or goals should be communicated during the next design review meeting. For final design reviews (ie., technology transfer to Manufacturing), any follow-up action items will be forwarded to the Corrective and Preventive Action system for tracking and closure unless an alternate plan is developed and documented in the final Design Review Minutes.

- Reference

EGF-003, Design Review Minutes Form

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| cc-052709-05 | 000 | New Document | 05/27/09 | TJ |
| CC-100809-01 | 001 | Update section 4.0 to reflect accurate responsibilities. Add sections 6.6 to 6.8 to provide instructions for records maintenance and storage. Update section 7.0 to reference correct policy/procedure/record and revise format. | 10/08/09 | AM |