- Purpose

Verification and Validation activities are utilized to ensure that design input requirements are objectively embodied in the design outputs.

- Scope

This procedure is applicable to approved product design and development projects for all new products or to major design changes in released products.

- Definitions

| Validation | Confirmation by examination and provision of objective evidence that the particular requirements for a specific intended use can be consistently fulfilled. |
| --- | --- |
| Process Validation | Establishing by objective evidence that a process consistently produces a result or product meeting its predetermined specifications. |
| Design Validation | Establishing by objective evidence that device specifications conform with user needs and intended uses. |
| Verification | Confirmation by examination and provision of objective evidence that specified requirements have been fulfilled. |
| Specification | Any requirement with which a product, process, service or other activity must conform. |

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised documents. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Assigning personnel to design teams. - Reviews and approves all controlled documents for departmental procedures. |
| Quality Assurance | - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. - Conducts periodic audits to assure compliance. |
| Engineering/Manufacturing | - Reviews and approves all products, product specifications, manufacturing processes, inspection processes, patient and physical manuals. - Reviews designs and procedures to ensure that inspection criteria can be performed. |
| Marketing | - Reviews the market and necessity for products. |

- Policy

  - Verification and validation activities must be planned, executed and documented and be representative of the complexity and risks associated with the product.

  - Software validation and verification activities must be performed in accordance with the FDA General Principals of Software Guidance or IEEE standards or equivalent.

  - Final validation activities must be completed on devices representative of production units and their equivalency demonstrated through description photographs or other objective methods.

  - Initial production units fabricated by a manufacturing source must be validated to the approved specification for the device.

  - Validation is required for a design change that affects the intended use of the device.

- Procedure

  - The Project Manager, in conjunction with the Design Review Board, lists and approves the verification and validation activities in the Design and Development Plan and the Input and Output Matrix or a separate approved verification and validation plan created by the project manager.

  - Verification and validation activities must include a description of the device or component tested as well as the environment, individuals and any test equipment used including appropriate calibration dates and model numbers.

  - Verification and validation testing results must be signed and dated by the individual recording the results and copies and or reference included in the Design History File.

  - Verification and validation activities may include the following:

    - Calculations

    - Risk controls identified in risk analysis

    - Testing to known standards or specifications or procedures

    - Comparative analysis

    - Testing

    - Interviews

    - Simulated testing

    - Extreme or destructive testing

  - Acceptance criteria should be stated for any verification and validation testing.

  - A verification and validation summary report or detailed table of contents outlining the verification/validation activities and completion dates is required for the design project.

  - Once completed, all documentation is stored in the Design History File and/or Design Master File.

  - The Project Manager should monitor the verification and validation activities to ensure that testing and results are performed as described in the design plan and/or input and output matrix.

  - Any issues, failures and/or changes to a verification or validation activity should be addressed and approved by the project manager, design review board, and any contractors that are involved.

- Reference

  - Design Input & Output Matrix, EGF-002

  - Verification/Validation Summary Report Form, EGF-004

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| cc-052709-06 | 000 | New Document | 05/27/09 | TJ |