- Purpose

To control device design changes prior to their implementation into production.

- Scope

This procedure is applicable to design changes that affect the safety, efficacy, operation, function and/or interface of a device (e.g. design changes that affect design input requirements).

- Definitions

| N/A |  |
| --- | --- |

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised documents. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Assigning personnel to design teams. - Reviews and approves all controlled documents for departmental procedures. |
| Quality Assurance | - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. - Conducts periodic audits to assure compliance. |
| Engineering/Manufacturing | - Reviews and approves all products, product specifications, manufacturing processes, inspection processes, patient and physical manuals. - Reviews designs and procedures to ensure that inspection criteria can be performed. |
| Marketing | - Reviews the market and necessity for products. |

- Policy

  - All design changes and modifications are identified, documented and verified/validated.

  - All changes and modifications are reviewed and approved prior to release.

  - Design changes are recorded and communicated through controlled data and documents.

  - The requirements for design changes are applicable throughout the active life of the design.

  - Thorough consideration should be given to the communication and coordination of each design change commensurate to the level of impact on the product and any related processes.

  - Whenever practical, the source or cause of the design change should be referenced in the change or change notice.  This is particularly important when a change is initiated as a result of customer feedback or complaint.

- Procedure

  - Engineering will identify design changes based on complaints, feedback, or internal planning or issues.

  - Engineering will complete a Design Change Summary Form and include the details of the change, the reason for the changes, departmental effects, process effects, and an implementation plan.

  - The Design Change is reviewed by the Design Review Board and either approved or rejected.  A rejected design change can be sent back to Engineering for rework or completely rejected.  A complete explanation must be provided for all rejections.

  - Design change verification/validation must be rationalized, planned, executed and documented in accordance with the design control verification and validation procedure.

  - Design reviews are required for changes that effect regulatory, manufacturing, marketing or quality considerations of the design.

  - Design changes that affect the intended use or changes that affect the safety features of the design will require a risk analysis review.

  - Design changes and documentation follow the same quality process as initial design implementations.

- Reference

  - Design Change Summary Form

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| CC-061509-02 | 000 | New Document | 08-07-09 | T. Joiner |