- Purpose

To control device design changes prior to their implementation into production.

- Scope

This procedure is applicable to design changes that affect the safety, efficacy, operation, function and/or interface of a device (e.g. design changes that affect design input requirements).

- Definitions

N/A

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised documents. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Assigning personnel to design teams. - Reviews and approves all controlled documents for departmental procedures. |
| Quality Assurance | - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. - Conducts periodic audits to assure compliance. |
| Engineering/Manufacturing | - Reviews and approves all products, product specifications, manufacturing processes, inspection processes, patient and physical manuals. - Reviews designs and procedures to ensure that inspection criteria can be performed. |
| Marketing | - Reviews the market and necessity for products. - Requests design changes. |

- Policy

  - All design changes and modifications are identified, documented and verified/validated.

  - All changes and modifications are reviewed and approved prior to release.

  - Design changes are recorded and communicated through controlled data and documents.

  - The requirements for design changes are applicable throughout the active life of the design.

  - Thorough consideration should be given to the communication and coordination of each design change commensurate to the level of impact on the product and any related processes.

  - Whenever practical, the source or cause of the design change should be referenced in the change or change notice.  This is particularly important when a change is initiated as a result of customer feedback or complaint.

  - This procedure is used for documenting changes that impact design inputs only.  Minor changes to manufacturing and/or quality assurance or quality control activities that do not impact the design inputs are handled through EPIC’s Document Control system.  Please consult the Documentation System Policy which contains instructions for handling these types of changes.

- Procedure

  - Engineering will identify design changes based on complaints, feedback, or internal planning or issues.

  - Engineering will complete a Design Change Summary Form and include the details of the change, the reason for the changes, departmental effects, process effects, and an implementation plan.

  - The Design Change is reviewed by the Design Review Board and either approved or rejected.  A rejected design change can be sent back to Engineering for rework or completely rejected.  A complete explanation must be provided for all rejections.

  - Design change verification/validation must be rationalized, planned, executed and documented in accordance with the design control verification and validation procedure.

  - Design reviews are required for changes that effect regulatory, manufacturing, marketing or quality considerations of the design.

  - Design changes that affect the intended use or changes that affect the safety features of the design will require a risk analysis review.

  - Design changes and documentation follow the same quality process as initial design implementations.

- Reference

EGF-010, Design Change Summary Form

QA-005, Documentation System Policy

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| CC-061509-02 | 000 | New Document | 08-07-09 | T. Joiner |
| CC-101025-01 | 001 | Add “Requests design changes” to the Marketing Responsibilities in section 4.0. Add step 5.7 to outline the difference between design changes that must follow this procedure (those that affect/impact design inputs) and those that follow the Documentation System Policy (for minor changes that do not impact design inputs). Add document numbers to section 7.0 for the Design Change Summary Form and the Documentation System Policy. Modify font and size and add new company logo to header. | 12/10/10 | A.M.M. |