- Purpose

To control device design changes prior to their implementation into production.

- Scope

This procedure is applicable to Class I design changes.  Class I design changes are any change that affects form, fit or function or that is not interchangeable.  In the context of existing design changes, the category of change applies to changes in the defined functionality of existing products and/or changes to the function of the existing products.  After initial design, changes should be considered in context of change control and design control policy.

- Definitions

| Class I Design Change | Any change that affects form, fit or function or that is not interchangeable. |
| --- | --- |

- Responsibilities

| Project Manager | - Complies with the policy and procedure for all new or revised documents. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Design Team Members | - Ensures proper training before using this policy or procedure. - Participates in the development, reviews and/or approval of all design control documentation. |

- Procedure

  - Engineering will identify design changes based on complaints, feedback, or internal planning or issues.

  - Engineering will complete a Design Change Summary Form and include the details of the change, the reason for the changes, departmental effects, process effects, and an implementation plan.  The implementation plan will provide a clear plan for all design control activities including a written justification for any design control elements that are not required.

  - The Design Change is reviewed by the Design Review Board and either approved or rejected.  A rejected design change can be sent back to Engineering for rework or completely rejected.  A complete explanation must be provided for all rejections.

  - Design change verification/validation must be rationalized, planned, executed and documented in accordance with the design control verification and validation procedure.

  - Design reviews are required for changes that effect regulatory, manufacturing, marketing or quality considerations of the design.

  - Design changes that affect the intended use or changes that affect the safety features of the design will require a risk analysis review.

  - Design changes and documentation follow the same quality process as initial design implementations.  Reference the Design Control Procedure for specific design control requirements.

- Reference

EG-001, Design Control Procedure

EGF-010, Design Change Summary Form

QA-005, Documentation System Policy

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| CC-061509-02 | 000 | New Document | 08-07-09 | T. Joiner |
| CC-101025-01 | 001 | Add “Requests design changes” to the Marketing Responsibilities in section 4.0. Add step 5.7 to outline the difference between design changes that must follow this procedure (those that affect/impact design inputs) and those that follow the Documentation System Policy (for minor changes that do not impact design inputs). Add document numbers to section 7.0 for the Design Change Summary Form and the Documentation System Policy. Modify font and size and add new company logo to header. | 12/10/10 | A.M.M. |
| CC-120601-01 | 002 | Update procedure to align with the policies implemented with rewrite of the Design Control Procedure. | 6/12/12 | A. Miller |