- Purpose

Design Transfer is the mechanism in which the final results of the development process are translated into a Device Master Record production specification and transferred for release into manufacturing.

- Scope

This procedure is applicable to approved product design and development projects for all new products or to major design changes in released products.

- Definitions

| Device Master Record (DMR) | A compilation of records of records containing the procedures and specifications for a finished device. |
| --- | --- |
| Specification | Any requirement with which a product, process, service, or other activity must conform. |

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised documents. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Assigning personnel to design teams. - Reviews and approves all controlled documents for departmental procedures. |
| Quality Assurance | - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. - Conducts periodic audits to assure compliance. |
| Engineering/Manufacturing | - Reviews and approves all products, product specifications, manufacturing processes, inspection processes, patient and physical manuals. - Reviews designs and procedures to ensure that inspection criteria can be performed. |
| Marketing | - Reviews the market and necessity for products. |

- Policy

  - All product specifications are controlled documents.  The policy and procedure(s) for document and data control are applicable.

  - Product specification should include all relevant electronic data and paper documentation required to produce the product repeatedly and reliably within product and process capabilities.

- Procedure

  - Design Transfer information may include the following information where applicable:

    - Bill of Materials (BOM)

    - Component fabrication details including material, tolerances, dimensions and finishing details

    - Assembly details including tolerances for critical interfaces

    - Calibration procedures

    - Device specifications (including limits of accuracy of measuring functions)

    - Instructions for use

    - Incoming inspection specifications and procedures

    - Electronic data files

    - Final inspection check list or procedure

    - Packaging and Labeling

    - Safety certification documentation

    - ESD/EMI/EMC certification documentation

    - Risk analysis documentation

    - Packaging test report

  - The Project Manager or designee transfers all of the information required to manufacture and market the device according to the approved design output and that the specifications are translated or made available in to the appropriate departments.

  - Quality Assurance ensures that the device design is correctly translated into production specifications by performing a qualitative assessment of the completeness and adequacy of the production specifications and by reviewing and approving all of the documents and articles that constitute production specifications.

  - All transferred information is maintained by Quality Assurance in the Design History File.

  - All information that is approved for transfer is accompanied by a Design Transfer Form that is completed by the Project Manager and approved by Quality Assurance.

  - Approval of the design transfer documentation signifies the design inputs are embodied in the design outputs and documented in a fashion to manufacture the design.

  - Approval of the design transfer information also confirms that risks for the device have been identified and managed, mitigated to acceptable levels by redesign or warranty, and that the positive benefits outweigh the negative risks associated with the device, if any.

- Reference

  - Design Transfer Form, EGF-005

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| CC-061509-01 | 000 | New Document | 08-07-09 | T. Joiner |