- Purpose

To ensure the design of a project has been carried out in accordance to design controls and the information created during the design control process is maintained in an orderly and comprehensive fashion.

- Scope

A design history file (DHF) is maintained for each unique product design.

- Definitions

| Design History File | A compilation of records that describes the design history of a finished device. |
| --- | --- |

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised documents. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Assigning personnel to design teams. - Reviews and approves all controlled documents for departmental procedures. |
| Quality Assurance | - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. - Conducts periodic audits to assure compliance. |
| Engineering/Manufacturing | - Reviews and approves all products, product specifications, manufacturing processes, inspection processes, patient and physical manuals. - Reviews designs and procedures to ensure that inspection criteria can be performed. |
| Marketing | - Reviews the market and necessity for products. |

- Policy

  - Each DHF contains or references all the necessary records to demonstrate that the design was developed in accordance with the approved design plan and the design control procedure.

  - DHFs will be maintained for the life of the product plus five (5) years unless the project has been terminated before the design has been released for production.

- Procedure

  - The DHF should include or reference3 the following sections:

    - Design and Development Plan

    - Design Input and Outputs

    - Verification and Validations

    - Design Reviews

    - Risk Management

    - Design Transfer

    - Design Changes

    - Post-Market Surveillance

  - Documents that may be in the DHF include:

    - Design plans

    - Design  review meeting minutes

    - Sketches

    - Drawings

    - Procedures

    - Photos

    - Engineering notebooks

    - Component qualification information

    - Verification and validation protocols

    - Contractor or consultant information

    - DMR documents

- Reference

N/A

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| CC-061709-01 | 000 | New Document | 08-07-09 | T. Joiner |