- Purpose

To ensure the design of a project has been carried out in accordance to design controls and the information created during the design control process is maintained in an orderly and comprehensive fashion.

- Scope

A design history file (DHF) is maintained for each unique product design.

- Definitions

| Design History File | A compilation of records that describes the design history of a finished device. |
| --- | --- |

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised design projects. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Assigning personnel to design teams. - Complies with the policy and procedure for all new or revised design projects. - Ensures the most current version of this document is used when referenced. |
| Quality Assurance | - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. - Conducts periodic audits to assure compliance. - Maintains and controls DHF after technology transfer of design to Manufacturing. |
| Engineering/Manufacturing | - Maintains and controls DHF throughout the design project until transfer of technology to Manufacturing. |

- Policy

  - Each DHF contains or references all the necessary records to demonstrate that the design was developed in accordance with the approved design plan and the design control procedures.

  - DHFs will be maintained for the life of the product plus five (5) years unless the project has been terminated before the design has been released for production (i.e., transfer of technology to Manufacturing).

- Procedure

  - The DHF should include or reference the following sections:

    - Design and Development Plan

    - Design Input and Outputs

    - Verification and Validations

    - Design Reviews

    - Risk Management

    - Design Transfer

    - Design Changes

    - Post-Market Surveillance

  - Documents that may be in the DHF include:

    - Design plans

    - Design  review meeting minutes

    - Sketches

    - Drawings

    - Procedures

    - Photos

    - Engineering notebooks

    - Component qualification information

    - Verification and validation protocols

    - Contractor or consultant information

    - DMR documents

  - The Project Manager is responsible to review documentation prior to inclusion in the DHF.  The DHF must contain all appropriate documentation to ensure that the necessary design controls have been completed and to fully characterize the design project and device development during the life cycle of the design history.

  - The DHF is maintained and controlled by Engineering until the final design approval (i.e., technology transfer to Manufacturing) at which time all DHF documentation is placed in Document Control and Quality Assurance becomes responsible for maintaining and controlling the DHF.

- Reference

N/A

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| CC-061709-01 | 000 | New Document | 08-07-09 | T. Joiner |
| CC-100809-01 | 001 | Update section 4.0 to reflect current responsibilities. Add section 6.3 and 6.4 to clarify review of DHF and maintenance requirements. | 10/08/09 | A. Miller |