- Purpose

This procedure provides design guidance for developers assigned to database design projects.

- Scope

This guidance applies to the design and development of:

- Software used as a component, part, or accessory of a medical device;

- Software that is itself a medical device :

- Software used in the production of a device (e.g., programmable logic controllers in manufacturing equipment); and

- Software used in implementation of the device manufacturer’s quality system (e.g., software that records and maintains the device history record).

This guidance is intended to be followed by all EPIC personnel who are involved with software design and development.  This guidance may be used for code review after development to ensure that the database was developed according to the practices outlined in this guidance.

- Definitions

| Relational Database | A relational database is a database that conforms to relational model theory. The software used in a relational database is called a relational database management system (RDBMS). Colloquial use of the term "relational database" may refer to the RDBMS software, or the relational database itself. |
| --- | --- |
| ERD | (Entity Relationship Diagram) In software engineering, an entity-relationship model (ER model for short) is an abstract and conceptual representation of data. Entity-relationship modeling is a database modeling method, used to produce a type of conceptual schema or semantic data model of a system, often a relational database, and its requirements in a top-down fashion. Diagrams created by this process are called entity-relationship diagrams or ER diagrams. |
| Primary key | A primary key is a combination of columns which uniquely specify a row. |
| Foreign key | The foreign key identifies a column or set of columns in one (referencing) table that refers to a column or set of columns in another (referenced) table. The columns in the referencing table must reference the columns of the primary key or other superkey in the referenced table. The values in one row of the referencing columns must occur in a single row in the referenced table. Thus, a row in the referencing table cannot contain values that don't exist in the referenced table (except potentially NULL). This way references can be made to link information together and it is an essential part of database normalization. Multiple rows in the referencing table may refer to the same row in the referenced table. Most of the time, it reflects the one (parent table or referenced table) to many (child table, or referencing table) relationship |
| Index | An index is a data structure that improves the speed of data retrieval operations on a database table at the cost of slower writes and increased storage space. Indexes can be created using one or more columns of a database table, providing the basis for both rapid random lookups and efficient access of ordered records. The disk space required to store the index is typically less than that required by the table (since indices usually contain only the key-fields according to which the table is to be arranged, and exclude all the other details in the table), yielding the possibility to store indices in memory for a table whose data is too large to store in memory. |
| Third normal form | In computer science, the third normal form (3NF) is a normal form used in database normalization. 3NF was originally defined by E.F. Codd in 1971.[1] Codd's definition states that a table is in 3NF if and only if both of the following conditions hold: - The relation R (table) is in second normal form (2NF) - Every non-prime attribute of R is non-transitively dependent (i.e. directly dependent) on every super key of R |
| Version Control System | A version control system is a database of “differences” between grouped code submissions. That is, when a group of files is changed throughout the development process, that group of files should then be “committed” or submitted to the version control system as a single “change” or version. The version of the code is usually indicated by a single sequencing number that does not necessarily coincide to the specified software version maintained by the design control procedure. |
| Branch | A branch, in the context of version control, is a separate folder that is a fully functional copy of the software at a specific released/validated version. Code is branched when it may be necessary to apply bug fixes to a specific version, as well as the “trunk” which is the working/latest version of the software. This allows for both a past version to be cured of bugs while not interrupting development of a new, more feature rich, version of the software. |
| Dynamic Linked Library (DLL) | Windows provides the capability to load code from many different sources all contained in a single, formatted package called a DLL. DLLs can be loaded on the fly at any time during the software’s execution or session. 3rd party vendors of DLLs provide specific functionality such as connecting to a video source, or generating a PDF spreadsheet. Vendors may also supply documentation to using their DLL. This documentation should be included with the project specification as it is a key part in understanding how the project is implemented. The DLL libraries should also be included with the project output as it is usually required to run the application. |

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised software design projects. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Assigning personnel as project manager and/or to validation team(s). - Complies with the policy and procedure for all new or revised design projects. - Ensures the most current version of this document is used when referenced. |
| Quality Assurance | - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. |

- Policy

Software development is required to follow the Software Development procedure when a new product is created that requires a database.  The following specifications should be utilized, where possible, when developing software for use in a medical device.

- Environment

  - SHOULD use the latest version of Visual Studio and Windows for software development.

  - MAY use tools such as BugAid and Resharper to ensure code is well document and follows the styles listed under Coding Standards.

Example:

/// <summary>

/// Currently logged in user.

/// </summary>

public UserEntity User

{

get { return (UserEntity) GetValue(UserProperty); }

set { SetValue(UserProperty, value); }

}

  - SHALL obtain the source code for third party libraries when possible as well as any related documentation and stored with the project specification.

- Database Design

  - SHOULD adhere to third normal form unless otherwise stated in the specification.

  - SHOULD use foreign keys and indexes wherever possible.

- Coding Standards

  - SHOULD follow industry accepted standards according to coding language.  Additional coding practices may be agreed upon by the software team and summarized in the design specification if necessary.

    - For the C language, Indian Hill C Style and Coding Standards will be used.

    - For C#, the coding standards are outlined by Microsoft’s C# Coding Conventions (C# Programming Guide).

    - For HTML and CSS, W3C XHTML standards will be used with the version of HTML available at the time of release (HTML5+ unless otherwise specified).

    - For Javascript, jQuery Core Coding Standards may be used to produce cleaner code, however there is no industry defined standard for this language.

- Web Applications

  - SHOULD use the latest version of technologies for web-based applications at the time of release unless otherwise stated in the specification.

  - SHALL take appropriate steps to ensure security when the application is deployed.

Example:

Use a key server to store salts for password hashes.

if (user.Password == Hash.GetHashString(Password.Password + user.Salt.Salt))

- Software Releases

  - SHALL store the final, tested output for a software project on disk with the specifications in the Design History File.

  - SHALL store all dependent DLLs and libraries  with the DHF documents, so future installations can easily locate and install all the required software for the project.

  - SHALL “branch” any validated version of the software  in the version control system in a manner that allows integration of future bug fixes and versions.

Example:

    - WILL create branches in Perforce using the Integration -> Filespec function.

    - WILL check in all files before branching.

- Reference

EG-001, Design Control Policy

EG-010, Software Development

21 CFR Part 11, Electronic Records: Electronic Signature

W3C Html 5 Specification

Indian Hill C Style

C# Coding Conventions

jQuery Core Style Guidelines

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| CC-120328-01 | 000 | New Document | 5/14/12 | - Mason |
|  | 001 | Renamed to Software Development Guidance. Revised all sections to be more generalized and refer to the design control procedure for more information. Refers to industry accepted standards for code development. |  | - Cullinan |