| Procedure: IT-012 | Revision Level: |
| --- | --- |
| Computer System Part Number: 1282-1511 | Revision Level: |
| Computer System Lot Number (if applicable): |  |
| Computer System Manufacturer’s Serial Number: |  |
| EPIC Internal Computer System Reference Number: |  |
| USB Hardware Key Part Number: 1282-1515 | Revision Level: |
| USB Hardware Key Lot Number (if applicable) |  |

| Installation Verification |  |  |
| --- | --- | --- |
| Steps | Complete (Initial) |
| Copy the contents of the Release Files folder to the machine being updated, making a backup of the old files in the folder called PreviousRelease. |  |
| Back up the target database that is being upgraded, and place the Database backup in the PreviousRelease folder as well. |  |
| Run the Db script if applicable on the local database for the deployment. |  |
| Verify the version and license deployed. |  |
| Verify that the Boost Voltage value in the Device Testing area of the application is the required value. Record the expected value below: Boost Voltage Value: |  |
| ClearView Software Version Number: |  |
| ClearView License Type: |  |
| Installation Failure: |  |

Operational Verification

ClearView Device Serial Number:

| Steps | Pass/Fail Result (circle one) |  | Complete (Initial) |
| --- | --- | --- | --- |
| Verify the connectivity of the software by logging into the database and verifying that the Main screen is displayed. | Pass | Fail |  |

Operational Failure:

Labeling Information

Computer System with ClearView Software Box Label Part number: 1282-1520 Revision level:

ClearView Version recorded on label:

Notes:

| Name: | Department: |
| --- | --- |
| Signature: | Date: |

| QA Inspection |  |  |
| --- | --- | --- |
| Inspection Point | Pass/Fail | Comments/Notes |
| Verify that this record is completed correctly and accurately |  |  |
| Verify that computer is labeled with EPIC reference number (if applicable) |  |  |
| Verify that the computer is labeled with the version number of the ClearView software installed |  |  |

| Inspected By: |  |
| --- | --- |
| Signature: | Date: |
| Print Name: | Department: |

Document Revision History

| Change Order: Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| CC-120517-01 | 000 | New Document | 5/17/12 | A. Mason |
| CC-120611-01 | 001 | Added a reference to check the Boost Voltage setting to verify that it is set to a specific value. | 6/11/12 | A.Mason |