- Purpose

This document describes the quality plan that defines the quality practices, resources, and activities relevant to the manufacture of EPIC Research & Diagnostic (EPIC) products.

- Scope

This document applies to all activities within EPIC that procure, manufacture, market, distribute, and service finished devices and related services.

- Definitions

N/A

- Responsibilities

| User | - Complies with the policy and procedure. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Provides a timely review and approval/rejection of a draft document. |
| Executive Management | - Ensures the requirements of this plan are understood and implemented throughout all applicable levels of the company. |
| Quality Assurance | - Complies and enforces the standards within this document. - Monitors the implementation and effectiveness of this document. - Audits to ensure compliance with the referenced procedures. |

- Policy

  - The quality plan provides a written record of the quality practices, resources, and activities relevant to the manufacture of EPIC products.  When viewed as a whole, the quality plan defines the top level of procedures, processes, and systems that are necessary to assure that finished devices, the design process, the manufacturing process, and all related activities conform to approved specifications.

  - The Quality Plan is formatted to conform to FDA 21 CFR 820.  The procedures applicable to each sub-system are listed below the sub-system heading.

  - The reference documents listed in the quality plan are supported by additional work instructions and procedures to provide the level of detail needed to perform each function or process.

NOTE:  While the quality system is in development only the necessary/required policies and procedures may be officially released.  All other referenced procedures will be released as they become required and are developed.

  - To ensure there are adequate resources available to implement and perform each function, Executive Management performs a periodic review of resources available versus current requirements.  This activity is part of the Management Review process.

- Procedure

  - Quality Plan Elements

| QSR Reference | Heading | EPIC Quality System Document Title | EPIC Document Number |
| --- | --- | --- | --- |
| 820 Subpart A | 820.5 Quality System | Quality Systems Manual | QA-100 |
|  |  | Quality Plan | QA-002 |
|  |  | EPIC Research & Diagnostics, Inc. Organization | QA-012 |
| 820 Subpart B | 820.20 – 820.25 Quality System Requirements | Management Responsibility | QA-013 |
|  |  | Management Review Policy | QA-006 |
|  |  | Internal Auditing | QA-014 |
|  |  | Employee Training | QA-008 |
| 820 Subpart C | 820.30 Design Controls | Design Control Policy | EG-001 |
|  |  | Design and Development Planning | EG-002 |
|  |  | Design Input Requirements | EG-003 |
|  |  | Design Outputs | EG-004 |
|  |  | Design Reviews | EG-005 |
|  |  | Design Verification & Validation | EG-006 |
|  |  | Design Transfer | EG-008 |
|  |  | Design Changes | EG-007 |
|  |  | Design History File (DHF) | EG-009 |
|  |  | Software Development | EG-010 |
|  |  | Software Validation | EG-011 |
|  |  | Risk Management | EG-012 |
|  |  | Software Development Instructional Narrative | EG-014 |
|  |  | Design Controls Flow Chart | EG-015 |
| 820 Subpart D | 820.40 Document Controls | Document System Policy & Procedure Writing Guide | QA-001 |
|  |  | Change Control | QA-003 |
|  |  | Deviations | QA-004 |
|  |  | Documentation System Policy | QA-005 |
|  |  | Document Corrections | QA-007 |
|  |  | Device Master Records | QA-025 |
| 820 Subpart E | 820.50 Purchasing Controls | Contractor Qualification | QA-009 |
|  |  | External Auditing | QA-010 |
|  |  | Contracts | QA-011 |
|  |  | Purchasing | OPS-006 |
|  |  | Supplier Qualification | OPS-008 |
| 820 Subpart F | 820.60 – 820.65 Identification and Traceability | Product Identification and Traceability | QA-015 |
|  |  | Lot Trace Component List | QA-020 |
| 820 Subpart G | 820.70 Production and Process Controls | Contract Manufacturing | OPS-001 |
|  |  | Facility Maintenance | OPS-002 |
|  |  | Support Materials Product Assembly | OPS-003 |
|  | 820.72 Inspection, Measuring, and Test Equipment | The appropriate inspection, measuring and testing of the incoming materials, in-process and finished device will be defined at the contract manufacturer and should include appropriate documentation of test equipment calibration. EPIC will be responsible to maintain a copy of these procedures (as appropriate) in the Device Master Record and the records of manufacture in the individual Device History Record(s). |  |
|  | 820.75 Process Validation | Process Validation Protocol | EG-013 |
| 820 Subpart H | 820.80 Acceptance Activities Receiving, In-process, and Finished Device Acceptance | Receiving Process | OPS-004 |
|  |  | Inspection and Release of Incoming, In-process and Finished Devices and other Materials | QA-016 |
|  | 820.86 Acceptance Status | Receiving Process | OPS-004 |
|  |  | Inspection and Release of Incoming, In-process and Finished Devices and other Materials | QA-016 |
| 820 Subpart I | 820.90 Nonconforming Product | Nonconforming Material | QA-017 |
| 820 Subpart J | 820.100 Corrective and Preventive Action | Corrective and Preventive Action Plans | QA-018 |
|  |  | Supplier Corrective Actions | QA-019 |
| 820 Subpart K | 820.120 – 820.130 Labeling & Packaging Control | Inventory Process | OPS-005 |
|  |  | Device Packaging | OPS-007 |
| 820 Subpart L | 820.140 Handling 820.150 Storage | Contract Manufacturing | OPS-001 |
|  |  | Receiving Process | OPS-004 |
|  |  | Inspection and Release of Incoming, In-process and Finished Devices and other Materials | QA-016 |
|  | 820.160 Distribution | Device and Support Products Distribution | CS-001 |
|  | 820.170 Installation | Device and Support Products Installation | CS-002 |
| 820 Subpart M | 820.180, 820.186 Records- General Requirements | Documentation System Policy | QA-005 |
|  |  | Records Retention and Destruction Policy & Procedure | OPS-010 |
|  | 820.181 Device Master Record | Device Master Record (DMR) | QA-025 |
|  | 820.184 Device History Record | Contract Manufacturing | OPS-001 |
|  |  | Device History Records (DHRs) Review, Approval, Handling, Storage | QA-021 |
|  |  | The documents will be established by the contract manufacturer and compiled into a set of records for each production batch. |  |
|  | 820.198 Complaint Files | Customer Feedback | CS-003 |
|  |  | Quality Assurance Review of Customer Feedback | QA-022 |
| 820 Subpart N | 820.200 Servicing | Customer Servicing and Maintenance | CS-004 |
| 820 Subpart O | 820.250 Statistical Techniques | Statistical Methods | QA-024 |

- References

FDA 21 CFR 820

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| CC-091409-02 | 000 | New Document | 10/08/09 | AM |
| CC-120409-01 | 001 | Revisions to list of quality system document titles because of new document additions and existing document title changes. Copy changes due to grammatical edits. | 4/10/12 | J. Ayres |