- Purpose

The purpose of this policy is to ensure compliance with Quality System requirements for making corrections properly.

- Scope

This policy is corporate wide and applies to all records and other written material relative to Quality System Regulations that are in need of a correction.

- Definitions

| N/A |  |
| --- | --- |

- Responsibilities

| User | - Complies with the policy and procedure. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Provides a timely review and approval/rejection of a draft document. |
| Executive Management | - Ensures the requirements of this plan are understood and implemented throughout all applicable levels of the company. |
| Quality Assurance | - Complies and enforces the standards within this document. - Monitors the implementation and effectiveness of this document. - Audits to ensure compliance with the referenced procedures |

- Policy

N/A

- Procedure

  - Making a Correction

    - Draw one line through but do not black out the old information.

    - Ink in the new information using blue or black ink.

    - Date and sign or initial at the change.

    - Do not use white out.

    - Do not scribble out or obliterate anything.  All documentation must be legible.

- Reference

N/A

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| cc-052009-02 | 000 | New Document | 6/1/2009 | TJ |