- Purpose

This document defines the responsibility of all EPIC Research & Diagnostics (EPIC) management to ensure that all components of the Quality System are understood, implemented, and maintained throughout the organization by:

- Defining and documenting management’s quality policy, including objective for and commitment to quality and customer satisfaction.

- Ensuring that the quality policy is understood, implemented, and maintained at all levels of the organization.

- Defining the responsibility, authority, and the interrelation of personnel who manage, perform, and verify work affecting quality.

- Identifying resource requirements and provide adequate resources, including assignment of trained personnel for management, performance of work, and verification activities including internal quality audits.

- Defining a member of management who shall have defined authority for ensuring that the quality system is established, implemented, and maintained in accordance with all applicable rules, regulations, and standards.

- Reviewing the quality system at defined intervals sufficient to ensure the program’s continuing suitability and effectiveness in satisfying all rules, regulations, and standards.

- Communicating the importance of meeting customer, statutory, and regulatory requirements to all personnel.

- Measuring, tracking, and continually seeking to improve the customer’s perception of EPIC’s mission to improve patient outcomes by demonstrating and propagating non-invasive biophotonic and electrophysiological analysis capabilities for use in western medical practices.

- Scope

This document applies to all management levels that have the authority to manage, perform, and assess work affecting the quality of EPIC systems and product(s).

- Definitions

N/A

- Responsibilities

| Executive Management | - Management with executive authority must ensure that the quality system requirements are effectively established and effectively maintained in accordance with all rules, regulations, and statutory requirements. - Management with executive authority is ultimately responsible to ensure that all quality policies are understood, implemented, and maintained at all levels of the organization. - Management with executive authority must also review annual reporting on the quality system to ensure that expected performance levels within quality policy are maintained. - Management with executive responsibility has the ultimate responsibility to ensure that all employees are provided with sufficient responsibility, authority, and independence to initiate actions to prevent, identify, and document quality nonconformities. - Management with executive authority is responsible to ensure that those employees assigned responsibility for disposition of nonconforming materials and corrective/preventive action have the authority and independence to recommend, provide, and verify solutions for quality nonconformances. |
| --- | --- |
| Departmental Management | - Management must establish and maintain a quality plan which defines the quality practices, resource requirements, and activities relevant to all EPIC devices. - Management has been appointed by Management with executive authority to ensure that employees understand all of management’s policies and objectives, including the Quality Plan and applicable quality system procedures, through training, and on the job reinforcement. Management reinforces understanding of these policies and objectives through active participation in the definition, approval, review, and implementation of all aspects of the quality system relative to their functional group. - Management will be responsible to ensure that employees are provided with adequate resources and training in order to fully implement and comply with quality system requirements. - Management is responsible to ensure that employees have the technical and administrative qualifications to perform the activities assigned to them with a focus on reducing, eliminating, and/or preventing quality nonconformities in either product or process. |
| Quality Assurance | - Complies and enforces the standards within this document. - Monitors the implementation and effectiveness of this document. - Audits to ensure compliance with the referenced procedures. |

- Procedure

  - The management responsibilities of EPIC consist of all management and administrative functions undertaken to operate EPIC.  The management functions consist of (but are not limited to) the following responsibilities:

    - Meet customer, statutory, and regulatory requirements and communicate their importance to employees.

    - Promote internal communication to ensure a cultural focus on customer satisfaction and product quality.

    - Select personnel to ensure that employees can demonstrate the required knowledge and abilities to effectively implement and maintain the customer satisfaction and product quality objective.

    - Maintain quality documentation and ensure that system measurements are determined in order to evaluate the effectiveness of the quality system.

    - Manage corrective and preventive actions, including a program of continuous improvement.

    - Conduct external and internal audits to assess the functioning of the EPIC quality systems and ensure the appropriate manufacture/assembly of all supplied parts and devices.  Maintain the Approved Supplier List.

    - Train employees.

    - Promote sales to existing and new customers.

    - Conduct purchasing functions.

    - Review contracts.

These responsibilities are described in detail in the quality procedures referenced in section 7.0.

  - Management with executive authority is responsible to define and document the policy for quality, including objective for quality and objectives to quality.  This quality policy is documented in the Quality Manual.

The quality policy will be presented to and discussed with all employees of EPIC as a part of the Employee Training to assure understanding, implementation, and maintenance.

  - The organization of EPIC is demonstrated in the EPIC Research & Diagnostics, Inc. Organization chart.  Each functional group is outlined and the responsibilities for each are identified below.  Wherever positions are not currently filled, the identified senior manager will be responsible for the assigned responsibilities.

    - Management with executive authority is ultimately responsible for the management of all operations of EPIC and participates in selecting management, determines the Quality Policy, implements the quality policy, and provides overall direction to the company.

    - The  Vice President of Operations is responsible for the operational functions of EPIC including quality, schedule, cost, sales, marketing, clinical programs, human resources, and customer service and is responsible to select, hire, train, and assign supervisory and operations personnel.  Specifically, the  Vice President of Operations is responsible and authorized to:

      - Initiate action to prevent the occurrence of any nonconformities relating to the product, process, or the quality system.

      - Identify and record any problems relating to the product, process, or quality system.

      - Initiate, recommend, or provide solutions to quality problems.

      - Control further processing or delivery of nonconforming products until the deficiency or unsatisfactory condition has been corrected.

      - Establish, implement, and maintain the EPIC design development and manufacturing engineering process.

      - Ensure that all design projects are managed according to the quality system requirements and all rules, regulations, and statutes that govern the development and manufacture of EPIC products.

      - Ensure that the sales, marketing, and customer service activities are performed to meet customer expectations of EPIC’s products and services, and to satisfy regulatory requirements.

These responsibilities, duties, and authorities are delegated to staff per the organizational structure.

    - The Chief Financial Officer is responsible for the financial functions of EPIC including reimbursement, accounts payable, payroll, and required documentation for tax and other requirements.

    - The Chief Technology Officer & Software Engineer oversees development and implementation of all EPIC software technology.

    - The Quality Assurance Director is designated as the management representative to establish, Director, and maintain the EPIC quality system.  The Quality Assurance Director is responsible to report the performance of the quality system to EPIC executive management for review and as a basis for improvement of the quality system.  This performance report is made according to the Management Review policy.  The Quality Assurance Director is authorized and responsible to:

- Ensure that a quality system is established, implemented, and maintained in accordance with all applicable rules, regulations, and statutory requirements, management requirements, and customer expectations.

- Provide a liaison with design development and customer quality personnel, as required.

    - The Regulatory Manager is responsible for overseeing all regulatory governance as it relates to EPIC products and services. Contract services may be utilized to provide regulatory information and guidance.

  - Contract services may be utilized to provide support, management, and/or consultation for any area of responsibility within the EPIC organizational structure.

  - The management team is responsible to identify resource requirements and provide adequate resources, including the assignment of trained personnel for management, performance of work, and verification activities including internal and external quality audits.  These duties are conducted per the quality procedures referenced below.

- Reference

QA-100, Quality Systems Manual

QA-002, Quality Plan

QA-006, Management Review Policy

QA-008, Employee Training

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| CC-091409-02 | 000 | New Document | 10/08/09 | AM |
| CC-120127-01 | 001 | Revisions made to reflect current EPIC organizational structure, and to correct basic punctuation and grammar. | 1/27/12 | J. Ayres |
| CC-130418-01 | 002 | Update section 5.3.5 to refer to the Quality Assurance Director to reflect the current title of staff. | 4/18/13 | A. Miller |