This document is intended to provide a roadmap for EPIC’s compliance to FDA’s Quality System Regulation (QSR) by referencing the quality system policy documentation.  This list is intended to be a comprehensive list of quality system documentation relative to standard compliance and is a supplement to the Quality Plan.  Documents may be listed in one or more sections if they provide guidance that ensures compliance for that QSR reference.  Wherever possible, consult all policy and procedure documents for the specific area to determine compliance.

Quality Assurance may update this document based on the release of Change Control approval process without being required to be included in the Change Control request.

| QSR Reference | Heading | EPIC Quality System Document Title | EPIC Document Number |
| --- | --- | --- | --- |
| 820 Subpart A | 820.5 Quality System | Quality Manual | QA-100 |
|  |  | Quality Plan | QA-002 |
|  |  | Organizational Chart | QA-012 |
| 820 Subpart B | 820.20 – 820.25 Quality System Requirements | Management Responsibility | QA-013 |
|  |  | Management Review | QA-006 |
|  |  | Internal Auditing | QA-014 |
|  |  | Employee Training | QA-008 |
| 820 Subpart C | 820.30 Design Controls | Design Control Policy | EG-001 |
|  |  | Design Development & Planning | EG-002 |
|  |  | Design Input | EG-003 |
|  |  | Design Output | EG-004 |
|  |  | Design Review | EG-005 |
|  |  | Design Verification & Validation | EG-006 |
|  |  | Design Transfer | EG-008 |
|  |  | Design Change | EG-007 |
|  |  | Design History File (DHF) | EG-009 |
|  |  | Software Development | EG-010 |
|  |  | Software Validation | EG-011 |
|  |  | Risk Management | EG-012 |
| 820 Subpart D | 820.40 Document Controls | Document Writing Guide | QA-001 |
|  |  | Change Control | QA-003 |
|  |  | Deviations | QA-004 |
|  |  | Document System | QA-005 |
|  |  | Document Corrections | QA-007 |
|  |  | Device Master Records | QA-025 |
| 820 Subpart E | 820.50 Purchasing Controls | Contractor Qualification | QA-009 |
|  |  | External Auditing | QA-010 |
|  |  | Contracts | QA-011 |
|  |  | Purchasing | OPS-006 |
| 820 Subpart F | 820.60 – 820.65 Identification and Traceability | Product Identification and Traceability | QA-015 |
|  |  | Lot Trace Component List | QA-020 |
| 820 Subpart G | 820.70 Production and Process Controls | Contract Manufacturing | OPS-001 |
|  |  | Facility Maintenance | OPS-002 |
|  |  | Support Materials Product Assembly | OPS-003 |
|  |  | The contract manufacturer will be required to document and control all necessary policy and procedures to ensure that the device manufacture results in a finished product that conforms to its specifications. The contract manufacturer documentation should include (but not be limited to): - Documented instructions and SOPs to control the production process - Monitoring and control of the process parameters that impact device characteristics during production. - Compliance with all required specific standards. - Approval of all processes and process equipment used during the production. - Acceptance criteria at key points throughout the process to ensure that quality is “built in” to the device throughout the production process. - Policy and procedure to control the following: - Review and approval of process changes and the method for determining the verification/validation criteria for all changes - Production environment (if applicable) - Personnel Training - Contamination Control - Buildings and facilities - Manufacturing Equipment, including maintenance schedules, inspection and adjustment - Manufacturing Material - Automated processes (if applicable) |  |
|  |  | The policies and procedures used by the Contract Manufacturer should have production instructions and flowcharts once the manufacturing process is determined. This batch record should include how to make the device and list the specifications for the device. As the device is made the contract manufacturer should check off each step as appropriate to meet the quality requirements of the device. The contract manufacturer should have standard procedure for helping EPIC with the process of creating this documentation, but EPIC will be responsible to maintain a copy of the procedure and process as a part of the Device Master Record and the records of manufacture in the individual Device History Record(s). |  |
|  | 820.72 Inspection, Measuring, and Test Equipment | The appropriate inspection, measuring and testing of the incoming materials, in-process and finished device will be defined at the contract manufacturer and should include appropriate documentation of test equipment calibration. EPIC will be responsible to maintain a copy of these procedures (as appropriate) in the Device Master Record and the records of manufacture in the individual Device History Record(s). |  |
|  | 820.75 Process Validation | Process Validation Protocol | EG-013 |
|  |  | The appropriate validation activities will be defined and documented by the contract manufacturer. EPIC will be responsible to maintain a copy of the validation procedures in the Device Master Record, review and approve all validation protocols before execution, and review and approval all validation reports prior to the release of finished product. |  |
| 820 Subpart H | 820.80 Acceptance Activities Receiving, In-process, and Finished Device Acceptance | Receipt and Storage of Materials and Finished Devices | OPS-004 |
|  |  | Inspection and Release of Incoming, In-process and Finished Devices and other Materials | QA-016 |
|  |  | The appropriate acceptance and release criteria of incoming materials, in-process and finished devices controlled by the contract manufacturer will be defined by the contract manufacturer. Additionally, the method(s) to document the acceptance of all incoming materials, in-process and finished devices will be documented and the documentation established to demonstrate these activities have taken place. EPIC will be responsible to maintain a copy of these procedures in the Device Master Record and the records of acceptance in the individual Device History Record(s). |  |
|  | 820.86 Acceptance Status | Receipt and Storage of Materials and Finished Devices | OPS-004 |
|  |  | Inspection and Release of Incoming, In-process and Finished Devices and other Materials | QA-016 |
|  |  | The contract manufacturer will establish a process to identify the acceptance status of all product to indicate the conformance or nonconformance of the product with the acceptance criteria. EPIC will be responsible to maintain a copy of these procedures in the Device Master Record and the records (if any) of acceptance in the individual Device History Record(s). |  |
| 820 Subpart I | 820.90 Nonconforming Product | Nonconforming Product | QA-017 |
| 820 Subpart J | 820.100 Corrective and Preventive Action | Corrective and Preventive Action Plans | QA-018 |
|  |  | Supplier Corrective Actions | QA-019 |
| 820 Subpart K | 820.120 – 820.130 Labeling & Packaging Control | Handling, Packaging, Preservation & Storage | OPS-005 |
|  |  | Device Packaging | OPS-007 |
| 820 Subpart L | 820.140 Handling 820.150 Storage | Contract Manufacturing | OPS-001 |
|  |  | Receipt and Storage of Materials and Finished Devices | OPS-004 |
|  |  | Inspection and Release of Incoming, In-process and Finished Devices and other Materials | QA-016 |
|  | 820.160 Distribution | Device and Support Products Distribution | CS-001 |
|  | 820.170 Installation | Device and Support Products Installation | CS-002 |
| 820 Subpart M | 820.180, 820.186 Records- General Requirements | Documentation System Policy | QA-005 |
|  |  | Records Retention and Destruction Policy and Procedure | OPS-009 |
|  | 820.181 Device Master Record | Device Master Record (DMR) | QA-025 |
|  | 820.184 Device History Record | Contract Manufacturing | OPS-001 |
|  |  | Device History Records (DHRs) Review, Approval, Handling, Storage | QA-021 |
|  |  | The documents will be established by the contract manufacturer and compiled into a set of records for each production batch. |  |
|  | 820.198 Complaint Files | Customer Feedback | CS-003 |
|  |  | Quality Assurance Review of Customer Feedback | QA-022 |
| 820 Subpart N | 820.200 Servicing | Customer Servicing and Maintenance | CS-004 |
| 820 Subpart O | 820.250 Statistical Techniques | Statistical Methods | QA-024 |

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
|  | 000 | New Document |  |  |