Sourcing Accessories, incoming inspection, and release

Incoming Inspection of EPC-100

Measurement, Analysis, Improvement

Customer Feedback

Design Requirements

EPIC Quality Management System

Management Responsibility  																			  Resource Management

Product Realization

Supplier 2

Final System Product Assembly

Quality Plan for the ClearView System

ClearView Device Manufacturing

ClearView System Delivery & Servicing

ClearView System Assembly

(ClearView Device, Packaged; Computer System & Software; USB Hardware Key; Capacitive Barriers; Cleaning Supplies; UPS)

Optional: Printer

Quality Agreements (for functions not performed by EPIC)

Supplier 3

Installation

& Training

Servicing

(EPIC Central?)

Distribution

ClearView Base

Housing Assy

WI-01-02

EPIC?

MJS Designs, Inc.

Final Inspection and Release to Finished Goods Inventory

Final Inspection and Release to Finished Goods Inventory

ClearView Final Assy and Acceptance Testing

WI-01-03

ClearView Cover Housing Assy

WI-01-01

Sub-assembly Manufacturing (wire assemblies, electrode assemblies, electrode board, Flood LED pcb)

Sourcing Components and Incoming Inspection

Supplier Qualification