- Purpose

The purpose of this document is to define the procedure for requesting, approving, and implementing a deviation to an established policy/procedure or a temporary new policy/procedure for evaluation.

- Scope

This document applies to temporary planned and unplanned changes to approved policy/procedures and products, and to temporary new policy/procedures under evaluation.

- Definitions

| Deviation | A planned or unplanned temporary new policy/procedure or change in established policy/procedure to materials, sub-assemblies, finished goods, programming, test equipment, and/or processes. |
| --- | --- |

- Responsibilities

| User | - Implements the deviation appropriately. - Complies with the policy and procedure. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Oversees and ensure the proper implementation of the deviation. - Ensures departmental personnel are properly trained before using this policy or procedure. - Provides a timely review and approval/rejection of a draft document. |
| Quality Assurance | - Assigns deviation number, routes Deviation Form, and archives all documentation. - Approves all deviations. - Complies and enforces the standards within this document. - Monitors the implementation and effectiveness of this document. - Audits to ensure compliance with the referenced procedures. |

- Policy

  - A deviation may be used under the following circumstances:

    - To temporarily change established policy/procedure to materials, sub-assemblies, finished goods, programming, test equipment, and/or processes due to unavailability of approved materials.

    - To temporarily change established policy/procedure in order to conduct an experimental test on materials, sub-assemblies, finished goods, programming, test equipment, and/or processes.

    - To temporarily establish new policy/procedure in order to conduct an experimental test on materials, sub-assemblies, finished goods, programming, test equipment, and/or processes.

    - To temporarily change a document policy/procedure when needed, which must be approved by all required signing authorities.

  - A deviation may be renewed under the following circumstances:

    - The original condition for initiating the deviation is still unresolved.

    - Additional data is needed to make a decision regarding permanent disposition.

  - If a deviation is renewed, justification of the renewal will be documented.

  - A deviation will be approved by Quality Management and all of the involved Departmental Management, at a minimum.

  - A deviation may be approved for not more than 90 days.

  - A deviation may be renewed no more than three times.

  - A revision of a deviation will supersede the original or the previous revision.

  - The Deviation Request Form must define any restrictions to the release of product produced with the change.

  - Every effort should be made to minimize the number of deviations and the length of time they are in effect by seeking permanent solutions wherever and as soon as possible.

  - Deviation numbers are created using the following format:

    - DEV-YYMMDD-XX

      - The -YYMMDD- relates to the date of the deviation in year/month/date format.

      - The -XX relates to the numerical deviation for that date in sequential order.

- Procedure

  - Implementing a New Deviation

    - The originator completes the Deviation Request Form per instructions on the back of the form.

    - Upon completion, the originator forwards the completed form and supporting documentation to Quality Assurance.

    - Quality Assurance assigns the deviation number and records any required information in the Deviation Log.

    - Quality Assurance routes the deviation form to the necessary review and approval by departmental management.

      - If further information or revision is required by departmental management, the deviation form is returned to the originator.

      - The originator must consult with departmental management to agree on the appropriate details of the deviation.

    - Once approved, Quality Assurance distributes the deviation procedure/information to the affected departments.

    - The affected departments complete training for all employees.  The deviation number must be recorded on any documents completed following the deviation process.  For example, the deviation number would be recorded on a datasheet to indicate the process had been changed from the released quality system SOP on data collection.

  - Revising or Renewing a Deviation

    - The originator obtains a controlled copy of the deviation from Quality Assurance.

    - Using blue or black ink, change the effective date and any other information that needs to be changed. Submit the Deviation Form to Quality Assurance.

    - Quality Assurance will assign a letter to identify the revision: A for the first, B for the second, etc. (e.g. DEV-YYMMDD-XXA, DEV-YYMMDD-XXB, etc.)  Write “Rev. A” next to any changes from the original for the first revision, “Rev. B” for the second, etc.

    - Quality Assurance records the revision in the deviation log and follows 6.1.4 to 6.1.6 to complete the process.

  - Distribution

    - Controlled copies of deviations, manufacturing related, will be distributed by Quality Assurance as deemed necessary to ensure effective implementation of the approved deviation.

  - Deviation Disapproval

    - If approval is not obtained, Quality Assurance will write “Canceled” across the deviation, initial, date, and file the hard copy “Original” in the deviation log.

- Reference

Deviation Form, QAF-004

Deviation Log, QAL-003

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| CC-051109-06 | 000 | New Document | 05/11/09 | TJ |
| CC-110920-01 | 001 | Update formatting (font, etc.), add requirement to provide a written justification for renewals (section 5.3), and add reference to Deviation Log. | 9/20/11 | A. Miller |
| CC-120409-01 | 002 | Update section 5.10 to clarify enumeration of deviation document numbers. Update document to clarify order of approval in section 6.1. Update section 6.2 to clarify order to steps for renewing approved deviations including specifying the enumeration of renewed deviations. Update section 6.3 to simplify sentence structure. Update section 6.4 to remove reference to database and eliminate ability to re-use deviation numbers. | 4/10/12 | J. Ayres |