- Purpose

This procedure defines the quality system requirements for implementation and control of documentation related to EPIC Research & Diagnostics, Inc. (EPIC) policies and procedures, quality systems, and products.

- Scope

This procedure applies to all company functions and departments where quality system records are established and documented.

- Definitions

| Configuration | Functional and physical characteristics of a product as defined in technical documents and achieved in the product. |
| --- | --- |
| Quality System Records | Records in the form of any type of media, such as hard copy or electronic media that demonstrate conformance to specified requirements and operation of the EPIC quality system. |
| Design History Files (DHF) | A compilation of records which describes the design history of a finished device. |
| Device Master Record (DMR) | A compilation of records containing the procedures and specifications for a finished device. |
| Device History Record (DHR) | A compilation of records containing the production history of a finished device. |

- Responsibilities

| User | - Complies with the policy and procedure. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Provides a timely review and approval/rejection of a draft document. |
| Executive Management | - Ensures the requirements of this plan are understood and implemented throughout all applicable levels of the company. |
| Quality Assurance | - Complies and enforces the standards within this document. - Monitors the implementation and effectiveness of this document. - Audits to ensure compliance with the referenced procedures. |

- Policy and Procedure

  - Document Generation and Revision

    - Any employee may originate a policy or procedure and submit it for approval.  It is expected that such employee has the necessary knowledge and expertise in the subject matter being presented.

    - All documents are assigned a number in accordance with the QA document numbering policy.

    - Document format and content presentation are in accordance with the Quality Systems Policy and Procedure Writing Guide.

    - Document changes are initiated by submission of a Change Control Form to Quality Assurance.  Documents are processed in accordance with the Change Control procedure.

    - Documents may be generated in electronic format, hard copy or both.

  - Document Approval

    - All original and revised documents are approved by signature of the designated authorities as identified on the Change Control Form.  Designated authorities are determined using the EPIC Research * Diagnostics, Inc. Organization chart.

    - Changes to redlined documents are reviewed and approved by the same functions that performed the original review.

    - Designated authority can be delegated through written approval on file in QA document control files.

    - The approval process and required signatures are defined in the Change Control procedure and the Quality System Policy and Procedure Writing Guide.

  - Document Storage, Access and Security

    - Documents are stored in a secured location to protect against excessive deterioration and loss.

    - Access to original documentation and approval for duplication requires authorization by Quality Assurance personnel, in which documents are stamped accordingly.

      - Approval for duplication and watermarks on electronic copies are not required for clinical trial documents.

      - Clinical trial documents will be distributed to external parties involved in clinical studies (e.g. investigators, coordinators, etc.); therefore approval for duplication is not required.

    - Clinical trial documents are controlled under the following alpha designation categories: CL, CLF, CLL, CLIFU, and Study-specific Documents (e.g. EPIC-001-01).  This list is not intended to be comprehensive.  Clinical documents will be identified by a document’s purpose and scope sections.  Accessibility and security of documentation records shall include a lock and key mechanism that prohibits entry of unauthorized personnel in the absence of Quality Assurance personnel.  This includes absence during activities of approval and distribution.

    - Hard copies of historical and obsolete documents are kept in files separate from the current document files.  Superseded documents (either historical revisions and/or obsolete versions) are maintained in the document history file. An obsolete document is no longer available to use.  In order to obsolete a document, the document must be submitted through the Change Control process.

    - Electronic documents are available for review and/or copy as “Read Only” files.  Changes to the official electronic documents are restricted to Quality Assurance personnel.  All other users may request the electronic document from Quality Assurance for implementing changes.

    - Electronic documents are backed up to tape/disk/storage device and stored in a fire-proof location.

  - Document Distribution

    - Distribution is determined by the document originator, departmental management and Quality Assurance.

    - Approved Change Control is distributed per the distribution list, which is defined in the Change Control procedure.

    - Approved Deviations are distributed per the distribution list, which is defined in the Deviations procedure.

  - Quality System Records

    - Drawings

    - Device and Component Specifications

    - Policies

    - Procedures

    - Forms

    - Manufacturing Records

    - Customer Service Records

    - Calibration Records

    - Training Records

    - Purchasing Records

    - Marketing Literature

    - External Standards

    - Quality Records

    - Complaint Files

  - Record Retention

Records retention is controlled by EPIC’s Record Retention and Destruction policy and procedure.

  - Document Storage Location

Some of the records listed below may be kept by Suppliers with access granted to EPIC upon request.  This list is not intended to be comprehensive.  Reference the appropriate quality system procedure for final document storage requirements.

    - Design Records	Quality Assurance

    - Incoming Inspection Records	Quality Assurance

    - Supplier Records	Quality Assurance

    - Device Master Records	Quality Assurance

    - Device History Records	Quality Assurance

    - Change Control Records	Quality Assurance

    - Complaint Records 	Quality Assurance

    - Audit Records	Quality Assurance

    - Calibration Records	Quality Assurance

    - Validation Records	Quality Assurance

    - Corrective Action Records	Quality Assurance

    - Purchasing Records	Operations

    - Training Records	Human Resources

    - Non-conforming Material Records	Quality Assurance

    - Regulatory Records	Quality Assurance

  - Computer Generated Forms/Reports

    - Computer-generated forms and reports are assigned an EPIC number, which will appear on the printed form or report.  The number applies to the general format and information type.

    - The appearance of a computer-generated form or report may be changed without revision.  Changes in information content or order of procedure steps are approved by the Change Control process.

  - External Standards

    - External standards adapted for use as part of the quality system are maintained through Quality Assurance.  These documents are filed in Quality Assurance and available for use as reference for any quality system processes.

    - Quality Assurance may use an outside source, as deemed appropriate, to review standard changes and revision levels for all external standards. Revisions will be maintained as required by regulatory agencies to ensure that the proper revision of external standards is always available.

- Reference

OPS-010, Records Retention and Destruction

QA-001, Quality System Policy & Procedure Writing Guide

QA-003, Change Control

QA-004, Deviations

QA-012, EPIC Research & Diagnostics, Inc. Organization

QAF-003, Change Control Form

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| cc-052009-03 | 000 | New Document | 05/20/09 | TJ |
| CC-100509-01 | 001 | Update document to clarify the device and product specifications. Clarify filing of obsolete documentation. | 10-08-09 | AM |
| CC-120411-01 | 002 | Remove reference to Document Approval forms which do not exist in section 5.2.1. Provide delegation process for designated authorities to section 5.2.3. Update section 5.6 to remove reference to retention periods and refer to newly created Records Retention and Destruction Policy. Clarify section 5.7 as a representative list, but not a comprehensive list. Update section 5.9 as external standards are not controlled through the Change Control system. Remove section 6.0 Procedure as no procedures were delineated. Update section 7.0 to list all referenced quality system documentation. Grammar and punctuation changes throughout. Added clarification about document access for clinical trial documents to section 5.3.2. | 4/30/12 | A. Miller |