- Purpose

This document defines the process for conducting management review of the Quality System by management with executive responsibility within EPIC Research & Diagnostics (EPIC).

- Scope

This document applies to management with executive responsibility that has the authority to establish or make changes to EPIC quality policy or quality systems.

- Definitions

| N/A |  |
| --- | --- |

- Responsibilities

| User | - Complies with the policy and procedure. - Ensures the most current version of this document is used when referenced. |
| --- | --- |
| Departmental Management | - Ensures departmental personnel are properly trained before using this policy or procedure. - Provides a timely review and approval/rejection of a draft document. |
| Executive Management | - Ensures the requirements of this plan are understood and implemented throughout all applicable levels of the company. |
| Quality Assurance | - Complies and enforces the standards within this document. - Monitors the implementation and effectiveness of this document. - Audits to ensure compliance with the referenced procedures |

- Policy

  - At least on an annual basis, all members of management with executive responsibility will attend a meeting and review activities within the Quality System, to ensure the suitability of the Quality System and that the requirements of the Quality System are being met.  More frequent reviews may be conducted during staff meetings held throughout the year.

  - Monthly meetings should be held between Senior Management in Operations and Quality/Regulatory. These monthly meetings review the production issues and quality status of the key product lines.  Meeting minutes and action items will be kept.

  - All Quality System reviews will be documented in the form of meeting minutes, and kept on file by Quality Assurance.  Attendees of the meeting will also be documented in the meeting minutes.

  - Items identified that may require action or follow up data will be documented in the minutes, including the action taken or the follow up data gathered.

- Procedure

  - Yearly Meeting

    - Quality System Policies and Procedures

    - Internal/External Audits

    - Supplier Quality

    - Corrective Action Requests/Closure

    - Employee Training Records

    - Complaints

    - Personnel Resources

    - Previous meeting minutes

- Reference

N/A

- Attachments

N/A

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| cc-052009-01 | 000 | New Document | 05/20/09 | TJ |