- Purpose

To provide a procedure defining the methods for planning, conducting and documenting internal quality audits to verify whether quality activities and related results comply with planned arrangements and to determine the effectiveness of the quality system.

- Scope

This procedure applies to all EPIC quality system documentation, personnel, and supervision.

- Definitions

| Audit | Comparison of documentation, a process, and/or system to a known or accepted standard in order to determine compliance to the standard. |
| --- | --- |
| Auditor | Individual responsible for planning, organizing, and directing the activities of the audit as well as reporting audit findings. |
| Auditee | Individual(s) responsible for the functional area being audited. |
| Nonconformance | Verifiable record of non-compliance to the auditing standard or established company procedure. |
| Critical Nonconformance | Nonconformance discovered during an audit that would result in product recall, an adverse experience by a consumer, protocol violations, unauthorized changes to data or documentation, or other factors directly affecting subject safety or regulatory requirements. These deficiencies would be ones that produce significant effects on the strength, identity, safety, purity and effectiveness of a product or safety to consumers. Critical nonconformance would result in a FDA Form 483 observation. |
| Major Nonconformance | Nonconformance discovered during an audit that could result in reducing the usability or saleability of a product, protocol deviations, unsatisfactory documentation, and other results that would not cause harm to consumers. Major nonconformance could result in a FDA Form 483 observation. |
| Minor Nonconformance | Deviations discovered during an audit that would not likely affect the quality or usability of the product or protocol or result in a regulatory observation, but are technical nonconformance to process or procedure. |

- Responsibilities

| User | - Complies with the policy and procedure for all new or revised documents. - Ensures the most current version of this document is used when referenced. - Determines and implements methods for monitoring and, where applicable, measuring quality system processes. Presents the results to the Quality Assurance Manager. - Conducts, maintains the audit records, documents the results, prepares a report for management, and reviews any suggested corrective actions (if applicable) are completed and appropriate. - Documents the results of re-audit, as appropriate. |
| --- | --- |
| Departmental (Auditee) Management | - Ensures departmental personnel are properly trained before using all policy or procedure. - Provides a timely review and approval/rejection of a draft Internal Audit Report. - Provides timely response to finalized results which include proposed corrective and preventive actions, as necessary. - Periodically reviews audit trends for opportunities for continuous improvement. |
| Quality Assurance | - Ensures auditors are properly trained with appropriate training and experience to audit processes and the specific policy/procedure under review. - Complies and enforces the document control standards within this document. - Monitors the implementation and effectiveness of this document. - Assists Users and Departmental Management with writing/revising documents. |

- Policy

  - QA routinely monitors the operation of EPIC’s quality system, operations, and adherence to regulatory obligations.  One method of review will be accomplished by the use of quality audits carried out by company or consultant auditors.

  - All members of the audit team should have training in auditing techniques.  Additionally, auditors should have familiarity with the applicable regulations or standards.

  - Consultants may be used as auditors at the discretion of QA.

  - The results of all audits and corrective actions derived from audits are considered Company Confidential.   Audit findings will not be shared with any State or Federal agency or persons outside of the company.

  - The record, date and schedule of audits are not considered confidential information.  Memos certifying this information can be made available to outside inspectors as required.  Alternatively, a copy of an audit report cover page can be provided as evidence of the performance of an audit.

- Procedure

Internal audits are used by management to assure that the employees know their responsibilities, are complying with the quality system, and that the system is effectively implemented and maintained.  Additionally, internal audits are used as a method of establishing continuous improvement for both product and processes.  Each audit must be performed by a person not directly associated with the activities being audited and is appointed by the Quality Assurance Manager to conduct the audit.

  - Auditor Qualification

Auditors must demonstrate sufficient training to ensure that an effective review of the product or processes under audit can be conducted.  Depending upon the level and subject under audit this can include:

    - Sufficient training as to the rules, regulations, and statutory requirements which govern the design, development, manufacture and distribution of EPIC products and services.

    - Sufficient training as to the manner and methods for planning, conducting, documenting and reporting an audit in compliance with this policy and procedure.

    - Sufficient technical expertise, experience and training to evaluate the product and/or processes under audit.

  - Audit Schedule

    - The audit schedule is prepared by the Quality Assurance Manager for the annual Management Review Meeting.  A standard audit schedule is shown in Appendix A.  This schedule will normally be used, however, modifications can be made and reviewed at the discretion of the Quality Assurance Manager with the approval of Management with Executive Authority.

    - Each quality system document will be reviewed on a biennial basis.

    - If/when in-house assembly processes are developed; the audit schedule will be modified to provide an audit specific to those functional areas six months after implementation and then annually for all subsequent audits.

    - Quality records management systems will be audited on an annual basis.

    - Internal audits may be conducted for cause before the interval has elapsed.  Cause may include, but is not limited to:

      - Failure to meet Company specifications;

      - Change in a critical process;

      - Unexplained discrepancies in documentation;

      - And/or responding to issued internal corrective and/or preventive actions.

  - Audit Preparation

    - If an in-house process is being audited, notify the auditee department management of the intent to audit.  A unique sequential number will be issued to identify the audit for filing purposes.

    - Create an audit plan containing the following:

      - Auditor(s),

      - Process/Product to be Audited,

      - Scope of audit,

      - Audit timeline,

      - Items and documentation required, including a list of the EPIC quality system policies and/or procedures to be reviewed;

      - Questions (in the form of an Internal Audit Checklist or similar document) based on the policy/procedure(s) being audited.  These questions should attempt to check the knowledge and compliance of the associates.  Checklists will be retained in the internal audit files for future use.

NOTE:  The Internal Audit Checklist can be used as a guide to create a custom checklist form if necessary in order to adequately assess a process and/or policy.  If a custom created checklist is used, all required datapoints specified in the Internal Audit Checklist will be required to be documented.

    - Confirm the audit with the auditee departmental management and request any documentation that will be required for review.

NOTE:  The purpose of the internal audit is not to “catch people”, rather as an aid in reminding employees of the importance of maintaining and complying with quality system requirements and to assure management of proper and effective operations.  Additionally, the audit can be an effective method for continuous improvement.

    - The auditor(s) audit from the prepared checklist that clearly indicates the standards that the quality system is expected to meet.

  - Conducting the audit

    - In the case of processes performed by EPIC personnel, observe the process (if possible) in conjunction with a review of the applicable SOP.

    - Interview EPIC personnel regarding the execution of their job duties and their knowledge of the applicable portions of the quality system, provided the interview(s) will not interfere with a critical process.  This is also a critical opportunity to discuss potential areas for continuous improvement to the process under review.

    - Where records are required, confirm the accuracy and completeness of those records and that all applicable storage requirements are met.  Audit a sufficient number of records to provide a reliable evaluation of the compliance status.

    - Record all observations (observations of a good nature and a bad nature).  Whenever possible collect objective evidence to support the observation.

    - Note all nonconformance to the requirements (either external standards and/or internal policy/procedural requirements) and discuss with the department management as they are found or at a minimum at the end of conducting the audit.

    - Conduct an audit close-out meeting at the conclusion of the audit.  Highlight nonconformances, observations and general Q & A.

  - Audit Reports

    - The lead auditor prepares a written audit report addressed to the auditee  department management.  The Internal Audit Report form may be used to document the audit report or a custom created report that contains all the specified requirements outlined in the Internal Audit Report.

    - The audit report contains the following criteria:

      - Audit Information - identify the department that was audited, the name of the auditor(s), and the date(s) of the audit.  Identify the scope, purpose, and objective of the audit.

      - Executive Summary - a brief summary of the audit, including a list of EPIC policies and procedures audited, the audit standards, conclusions, all notable observations and nonconformances identified.  Provide a conclusion of the outcome of the audit highlighting any follow up necessary for nonconformances identified.

      - History - list any documented audit observations, responses, nonconformances, and proposed corrective and preventive actions as applicable.

        - Observations – May be good findings and/or areas of concern that are not nonconformances.  Provide information that is specific enough to clearly identify the issues described.

        - List specific findings of nonconformances with references to relevant internal procedures and/or external standards and regulations.  Identify nonconformances within a report by a sequential number to aid in follow up and corrective action.  All nonconformances will be rated as Critical, Major, or Minor.

      - Conclusion - explain audit findings or observations and established standing with internal and/or regulatory standards.

      - Corrective Action Worksheet – initiate all required corrective/preventive actions as required by the Corrective and

      - Evidence - include factual details including completed checklists, audit notes, and copies of relevant documents.

  - Audit Closure

    - If necessary a meeting between QA and the auditee department management can be arranged to discuss the audit findings.  If no meeting is required or once the meeting is completed, the auditor will provide the Internal Audit Report and any necessary documentation required by the Corrective and Preventive Action policy.

    - Departmental management is required to respond in writing within 30 calendar days.  Any corrective or preventive actions taken will be documented in accordance with the Corrective and Preventive Action policy.

    - An audit is considered closed when the response is received and all corrective actions, if any, have been completed.

  - Audit Schedule and Process Monitoring

In order to ensure that the audit process is effectively monitored, a log of all internal audits will be maintained by the Quality Assurance Manager.  This log will be maintained electronically using the Internal Audit Schedule and Results Log and contain the following:

    - Pending Audits- Audits will be confirmed to the schedule 3 months in advance, wherever possible.  Any scheduled audits will be listed once scheduled with the auditee department management.

    - In-process Audits- Audits that are in the process of being conducted prior to the completion of the finished Internal Audit Report will be maintained in the log and any updates to the required information updated on a monthly basis.

    - Completed Audits with Follow Up- Audit that has been conducted, but may be in various states of completion waiting for the final Internal Audit Report, the Auditee Response documentation, and/or CAPA request closure.

    - Closed Audits- Audit which have had all follow-up conducted to the satisfaction of the auditor and the Quality Assurance Manager.  These audits will be retained on the log indefinitely.

- References

QA-100, Quality Manual

QA-101, Quality System Documentation Matrix

QA-018, Corrective and Preventive Action

QAF-007, Internal Audit Checklist

QAF-008, Internal Audit Report

QAL-001, Internal Audit Schedule and Results Log

- Attachments

Appendix A- Standard Internal Audit Schedule (Default)

Appendix A

Standard Internal Audit Schedule

(Default)

The following internal audit schedule shall apply, unless specifically changed during the Management Review Meeting.

| Month | Document/Process |
| --- | --- |
| Biennial | All documents will be cycled through a document review for compliance to rules, regulations, and statutory requirements. |
| Six months after implementation, and then scheduled annually | - All EPIC performed assembly and/or labeling of support product - Incoming inspection of component and finished devices - Customer Support Processes performed by EPIC employees (e.g., installation, servicing, quality system required follow-up surveys, etc.) Please see the Quality Manual and the Quality System Documentation Matrix for clarification of policies and procedures that qualify for this type of audit. |
| Annually | EPIC controlled Design History Files (DHF), Device Master Records (DMR), and Device History Records (DHRs) Management (contract manufacturer controlled DHR management will be audited per the External Audit policy and procedure) |

This schedule will be revised to capture new product lines based on EPIC’s product ramp up and the support processes implemented by product line.

Document Revision History

| Change Order Number: | Version Number: | Description of Change: | Date: | Updated by: |
| --- | --- | --- | --- | --- |
| CC-08309-01 | 000 | New Document | 09-10-09 | AM |