Operator 				Department 				Date

Device S/N				ClearView Software Version

Oscilloscope ID # 				Cal. Due Date

| Serial # | Lot # | Boost Voltage | Measured | Pass/Fail | Initial and Date |
| --- | --- | --- | --- | --- | --- |