- Purpose

  - The purpose of this document is to outline the plan for developing, testing, and releasing the ClearView software that interfaces with the ClearView device.

  - This document is supplementary to the overall ClearView System DDP (DDP-001).  This will ensure that all necessary activities are addressed including the method in which they will be conducted and all responsible parties involved therein.

- Scope

  - The objective of this DDP is to outline the activities to be performed in order to identify, develop, and implement EPIC ClearView software as described by the associated requirements document.  Included in this document are the roles and responsibilities of individuals that are required to perform these activities.

  - The scope of this project is to fully document the implementation of the developed algorithm into the ClearView software.  Additional user requirements and software improvements will be included in this project.

  - Aspects of the design process included within this DDP are planning, design, coding, verification, validation, and release.  Included in the plan are all individuals, resources, and facilities involved.

- Reference Documents

  - Regulatory Documentation:

    - FDA 21 CFR 820, Quality System Regulations (QSRs)

    - ISO 13485:2003 Medical Devices – Quality Management Systems – Requirements for Regulatory Purposes

  - 3.2	EG-001, Design Control Procedure

  - 3.3	EG-010, Software Development

- Definitions

| Software want | A want is a feature that has been requested and is or pending logging in the bug tracking system. Wants are assessed for each phase and version of the software. |
| --- | --- |
| Software need | A software need is a feature or bug fix that has the highest priority, and should be included in the next phase. |

- Project Description

  - The EPIC ClearView software is a windows based application that governs interactions between the FTDI and camera interfaces within the ClearView device.  Captured images are then analysed by a MatLab Compiled Run-time library that performs calculations on images.  These calculations are then passed in to the EPIC Scoring algorithm to determine the final report output.

- Project Requirements

  - Analyze risks of capturing patient data in accordance with the FDA regulatory guidelines for software.

  - Specific functions of the ClearView software will be stated in a software requirements document.  These functions include, but are not limited to the following over-arching project requirements:

    - Interface with ClearView hardware for controlling energizes and camera functions.

    - Capture energized images from subjects and store in a database with associated subject information such as name and date of imaging.

    - Organize data from analysis algorithms in a viewable and meaningful way.

    - Provide interfaces for extracting specific data for administrative use.

    - Provide process for historic record management for viewing old data and images.

  - Verification will be performed according to the Design Control Procedure, and approved test protocols.

  - All verified software outcomes will be stored with the design history file in a recoverable format. That is, all software code at the time of each phase review, all dependent libraries, all database designs and initialization scripts, a compiled/runnable copy of the software, and any code documentation output, as well as a virtual machine hard drive that can be loaded with the software in its approved state.

  - Each software want and need will be assessed according to the phases described in the Design Control Procedure.  These itemized tasks will be summarized in to requirements that capture the intention (as opposed to word-for-word implementation details) of change the to software.

- Responsibilities

  - Software Development Department – oversight of software development and implementation

  - Quality and Project Management Director – oversight of software verification and validation, and management of quality system requirements.

  - Project Implementation – maintaining Project Task List and monitoring progress of project and business goals.

  - Engineering – Collaborate throughout the process in order to develop device and software interfaces.

- Organization, Interfaces, Responsibilities, and Approval Authority

- Major Tasks / Milestones / Schedule

  - Software Requirements

  - Initial Risk Analysis

  - Prototyping

  - Design Specifications

  - Software Development

  - Design verification testing

  - Design validation

  - Process validation

  - Finalize risk analysis

  - Finalize traceability analysis

  - Finalize design review and approval

  - Design transfer

  - Design release for use

  - Automate manufacturing process

  - FDA approval

  - CE Mark

- Design Verification & Validation

  - Proper design verification and validation will be performed on the software according to the verification and validation control procedure.

  - Design verification and validation activities can occur concurrently, and the general outline of the steps are:

    - Development & approval of design verification and validation test protocols.

    - Execution of design verification and validation test protocols.

    - Summary of design verification and validation testing into summary reports.

    - Approval of design verification and validation test reports.

    - Review of testing to determine that all design requirements have been adequately tested and the results demonstrate device performance meets the design requirements.

    - Execution of Traceability Analysis.

    - Clinical activities (e.g., trials) that support design validation will be managed via EPIC’s Clinical group.

- Risk Analysis

  - A risk analysis will be described, performed, and recorded according to the risk analysis control procedure.

- Design History File

  - The outputs of this effort will be generated and added to the Design History File (DHF) in accordance with the requirements of EG-001, Design Control Procedure and EG-010, Software Development.

- Project constraints

  - Known project constraints at this time are identified and maintained in the Project Task List.  Any additional constraints will be managed through EPIC staff and process review meetings and/or documented via revisions of this plan.

- Design history file (DHF)

  - The outputs of this effort will be generated and added to the Design History File (DHF) in accordance with the requirements of EG-001, Design Control Procedure.

Revision History

| Revision | Revision Date | Reason for Revision/Change Request | Revised By |
| --- | --- | --- | --- |
| 000 | 08Aug12 | Initial Release | S. Pletzer |
| 001 | xxFeb13 | Complete Re-write | B. Cullinan |