## CalibrationData_130415328
Section Results | [28 empty] | Mean Threshold Results | [7 empty] | Intensity
[5 empty] | Outer |  |  |  | Inner |  |  |  | Corona |  |  |  | High P |  |  |  | Total |  |  |  | Clumps |  |  |  | Outer |  | Inner |  | Corona |  | High P |  | Outer | Inner | Corona | HighP | Total
Image Filename | Brightness | Gain | Voltage | Noise Level | Failed Pixels | Total Pixels | % Failed | Status | Failed Pixels | Total Pixels | % Failed | Status | Failed Pixels | Total Pixels | % Failed | Status | Failed Pixels | Total Pixels | % Failed | Status | Failed Pixels | Total Pixels | % Failed | Status | Failed Pixels | Total Pixels | % Failed | Status | Diff | Status | Diff | Status | Diff | Status | Diff | Status
CalibrationImage#0.bmp | NaN | NaN | NaN | 47 | 2093 | 37450 | 5.5888 | Passed | 577 | 10536 | 5.4765 | Passed | 392 | 13363 | 2.9335 | Passed | 210 | 4509 | 4.6574 | Failed | 3272 | 65858 | 4.9683 | Passed | 5 | 1092 | 0.45788 | Passed | 0.066429 | Passed | -0.11354 | Passed | 1.528 | Passed | 2.8829 | Failed | 18.0678 | 17.0734 | 93.434 | 195.1615 | 47.0252 | FALSE
CalibrationImage#1.bmp | NaN | NaN | NaN | 54 | 2759 | 37450 | 7.3672 | Passed | 631 | 10536 | 5.989 | Passed | 457 | 13363 | 3.4199 | Passed | 175 | 4509 | 3.8811 | Passed | 4022 | 65858 | 6.1071 | Passed | 10 | 1092 | 0.91575 | Passed | 0.087213 | Passed | -0.21358 | Passed | 1.4002 | Passed | 2.9033 | Failed | 17.5861 | 17.1767 | 92.3114 | 195.3285 | 46.7175 | FALSE
CalibrationImage#2.bmp | NaN | NaN | NaN | 53 | 2058 | 37450 | 5.4953 | Passed | 556 | 10536 | 5.2771 | Passed | 380 | 13363 | 2.8437 | Passed | 192 | 4509 | 4.2582 | Failed | 3186 | 65858 | 4.8377 | Passed | 6 | 1092 | 0.54945 | Passed | 0.093249 | Passed | -0.061851 | Passed | 1.5468 | Passed | 2.9814 | Failed | 18.3166 | 17.2066 | 93.5993 | 195.9674 | 47.2507 | FALSE
CalibrationImage#3.bmp | NaN | NaN | NaN | 53 | 2440 | 37450 | 6.5154 | Passed | 499 | 10536 | 4.7361 | Passed | 342 | 13363 | 2.5593 | Passed | 177 | 4509 | 3.9255 | Passed | 3458 | 65858 | 5.2507 | Passed | 4 | 1092 | 0.3663 | Passed | 0.07174 | Passed | -0.1531 | Passed | 1.3124 | Passed | 2.7303 | Failed | 17.8773 | 17.0998 | 91.5395 | 193.9124 | 46.4671 | FALSE
CalibrationImage#4.bmp | NaN | NaN | NaN | 53 | 2381 | 37450 | 6.3578 | Passed | 702 | 10536 | 6.6629 | Passed | 476 | 13363 | 3.5621 | Passed | 169 | 4509 | 3.7481 | Passed | 3728 | 65858 | 5.6607 | Passed | 6 | 1092 | 0.54945 | Passed | 0.054438 | Passed | -0.21088 | Passed | 1.1922 | Passed | 2.733 | Failed | 17.5991 | 17.0138 | 90.4837 | 193.9346 | 46.1927 | FALSE
CalibrationImage#5.bmp | NaN | NaN | NaN | 52 | 2303 | 37450 | 6.1495 | Passed | 610 | 10536 | 5.7897 | Passed | 412 | 13363 | 3.0831 | Passed | 202 | 4509 | 4.4799 | Failed | 3527 | 65858 | 5.3555 | Passed | 5 | 1092 | 0.45788 | Passed | 0.096501 | Passed | -0.098931 | Passed | 1.4721 | Passed | 3.1855 | Failed | 18.1381 | 17.2228 | 92.9434 | 197.6385 | 47.1823 | FALSE
CalibrationImage#6.bmp | NaN | NaN | NaN | 76 | 3976 | 37450 | 10.6168 | Failed | 740 | 10536 | 7.0235 | Passed | 434 | 13363 | 3.2478 | Passed | 209 | 4509 | 4.6352 | Failed | 5359 | 65858 | 8.1372 | Passed | 5 | 1092 | 0.45788 | Passed | 1.1943 | Passed | 0.88773 | Passed | 2.319 | Failed | 3.6991 | Failed | 22.8887 | 22.6768 | 100.3858 | 201.8423 | 53.6044 | FALSE
CalibrationImage#7.bmp | NaN | NaN | NaN | 55 | 3192 | 37450 | 8.5234 | Passed | 511 | 10536 | 4.85 | Passed | 438 | 13363 | 3.2777 | Passed | 202 | 4509 | 4.4799 | Failed | 4343 | 65858 | 6.5945 | Passed | 6 | 1092 | 0.54945 | Passed | 0.70803 | Passed | 0.39553 | Passed | 2.0639 | Failed | 3.2585 | Failed | 20.5188 | 20.2609 | 98.1438 | 198.236 | 50.8399 | FALSE
CalibrationImage#8.bmp | NaN | NaN | NaN | 57 | 4726 | 37450 | 12.6195 | Failed | 737 | 10536 | 6.9951 | Passed | 503 | 13363 | 3.7641 | Passed | 260 | 4509 | 5.7662 | Failed | 6226 | 65858 | 9.4537 | Failed | 6 | 1092 | 0.54945 | Passed | 1.158 | Passed | 0.85907 | Passed | 2.1592 | Failed | 3.8372 | Failed | 22.7507 | 22.4964 | 98.9811 | 202.9723 | 53.1801 | FALSE
CalibrationImage#9.bmp | NaN | NaN | NaN | 53 | 4803 | 37450 | 12.8251 | Failed | 565 | 10536 | 5.3626 | Passed | 574 | 13363 | 4.2954 | Failed | 258 | 4509 | 5.7219 | Failed | 6200 | 65858 | 9.4142 | Failed | 16 | 1092 | 1.4652 | Failed | 0.79834 | Passed | 0.32389 | Passed | 1.8629 | Passed | 3.6198 | Failed | 20.1739 | 20.7096 | 96.3771 | 201.1932 | 50.7979 | FALSE
CalibrationImage#10.bmp | NaN | NaN | NaN | 58 | 4763 | 37450 | 12.7183 | Failed | 824 | 10536 | 7.8208 | Passed | 471 | 13363 | 3.5247 | Passed | 200 | 4509 | 4.4356 | Failed | 6258 | 65858 | 9.5023 | Failed | 8 | 1092 | 0.7326 | Passed | 1.2067 | Passed | 0.94979 | Passed | 2.4925 | Failed | 3.6715 | Failed | 23.1875 | 22.7382 | 101.9101 | 201.6161 | 53.9759 | FALSE
CalibrationImage#11.bmp | NaN | NaN | NaN | 57 | 3891 | 37450 | 10.3899 | Failed | 690 | 10536 | 6.549 | Passed | 475 | 13363 | 3.5546 | Passed | 229 | 4509 | 5.0787 | Failed | 5285 | 65858 | 8.0248 | Passed | 12 | 1092 | 1.0989 | Failed | 0.78496 | Passed | 0.3807 | Passed | 1.9163 | Passed | 3.5438 | Failed | 20.4474 | 20.6432 | 96.8464 | 200.5711 | 50.9445 | FALSE
CalibrationImage#12.bmp | NaN | NaN | NaN | 61 | 3877 | 37450 | 10.3525 | Failed | 766 | 10536 | 7.2703 | Passed | 458 | 13363 | 3.4274 | Passed | 229 | 4509 | 5.0787 | Failed | 5330 | 65858 | 8.0932 | Passed | 5 | 1092 | 0.45788 | Passed | 1.2192 | Passed | 0.94555 | Passed | 2.4006 | Failed | 3.7266 | Failed | 23.167 | 22.8005 | 101.1025 | 202.067 | 53.9016 | FALSE
CalibrationImage#13.bmp | NaN | NaN | NaN | 53 | 3866 | 37450 | 10.3231 | Failed | 566 | 10536 | 5.3721 | Passed | 456 | 13363 | 3.4124 | Passed | 230 | 4509 | 5.1009 | Failed | 5118 | 65858 | 7.7713 | Passed | 7 | 1092 | 0.64103 | Passed | 0.76578 | Passed | 0.31616 | Passed | 1.8945 | Passed | 3.4311 | Failed | 20.1367 | 20.5479 | 96.6549 | 199.6485 | 50.6667 | FALSE
CalibrationImage#14.bmp | NaN | NaN | NaN | 62 | 2016 | 37450 | 5.3832 | Passed | 519 | 10536 | 4.926 | Passed | 349 | 13363 | 2.6117 | Passed | 192 | 4509 | 4.2582 | Failed | 3076 | 65858 | 4.6707 | Passed | 2 | 1092 | 0.18315 | Passed | 0.031993 | Passed | -0.06877 | Passed | 1.4947 | Passed | 2.8372 | Failed | 18.2833 | 16.9023 | 93.1412 | 194.7873 | 46.8625 | FALSE
CalibrationImage#15.bmp | NaN | NaN | NaN | 54 | 4303 | 37450 | 11.49 | Failed | 1105 | 10536 | 10.4879 | Passed | 527 | 13363 | 3.9437 | Passed | 244 | 4509 | 5.4114 | Failed | 6179 | 65858 | 9.3823 | Failed | 5 | 1092 | 0.45788 | Passed | 1.1722 | Passed | 0.98466 | Passed | 2.3925 | Failed | 3.7426 | Failed | 23.3554 | 22.5669 | 101.0311 | 202.1985 | 53.7597 | FALSE
CalibrationImage#16.bmp | NaN | NaN | NaN | 56 | 3339 | 37450 | 8.9159 | Passed | 642 | 10536 | 6.0934 | Passed | 447 | 13363 | 3.3451 | Passed | 240 | 4509 | 5.3227 | Failed | 4668 | 65858 | 7.088 | Passed | 6 | 1092 | 0.54945 | Passed | 0.79026 | Passed | 0.42494 | Passed | 2.009 | Failed | 3.4034 | Failed | 20.6604 | 20.6695 | 97.6609 | 199.4214 | 51.0909 | FALSE
CalibrationImage#17.bmp | NaN | NaN | NaN | 57 | 4627 | 37450 | 12.3551 | Failed | 853 | 10536 | 8.0961 | Passed | 591 | 13363 | 4.4227 | Failed | 311 | 4509 | 6.8973 | Failed | 6382 | 65858 | 9.6905 | Failed | 12 | 1092 | 1.0989 | Failed | 1.1813 | Passed | 0.90207 | Passed | 2.1907 | Failed | 3.776 | Failed | 22.9577 | 22.6124 | 99.2577 | 202.4719 | 53.3444 | FALSE
CalibrationImage#18.bmp | NaN | NaN | NaN | 52 | 3343 | 37450 | 8.9266 | Passed | 545 | 10536 | 5.1727 | Passed | 631 | 13363 | 4.722 | Failed | 241 | 4509 | 5.3449 | Failed | 4760 | 65858 | 7.2277 | Passed | 14 | 1092 | 1.2821 | Failed | 0.73661 | Passed | 0.38632 | Passed | 1.8251 | Passed | 3.4899 | Failed | 20.4745 | 20.4029 | 96.0451 | 200.1295 | 50.581 | FALSE
CalibrationImage#19.bmp | NaN | NaN | NaN | 48 | 2333 | 37450 | 6.2296 | Passed | 558 | 10536 | 5.2961 | Passed | 417 | 13363 | 3.1206 | Passed | 177 | 4509 | 3.9255 | Passed | 3485 | 65858 | 5.2917 | Passed | 5 | 1092 | 0.45788 | Passed | 0.072202 | Passed | -0.18732 | Passed | 1.257 | Passed | 2.5732 | Failed | 17.7125 | 17.1021 | 91.0531 | 192.6265 | 46.314 | FALSE
CalibrationImage#20.bmp | NaN | NaN | NaN | 61 | 4613 | 37450 | 12.3178 | Failed | 975 | 10536 | 9.254 | Passed | 664 | 13363 | 4.9689 | Failed | 271 | 4509 | 6.0102 | Failed | 6523 | 65858 | 9.9046 | Failed | 20 | 1092 | 1.8315 | Failed | 1.1422 | Passed | 0.96341 | Passed | 2.1858 | Failed | 3.7616 | Failed | 23.253 | 22.4181 | 99.2146 | 202.354 | 53.2723 | FALSE
CalibrationImage#21.bmp | NaN | NaN | NaN | 57 | 4099 | 37450 | 10.9453 | Failed | 637 | 10536 | 6.0459 | Passed | 433 | 13363 | 3.2403 | Passed | 216 | 4509 | 4.7904 | Failed | 5385 | 65858 | 8.1767 | Passed | 6 | 1092 | 0.54945 | Passed | 0.84781 | Passed | 0.38322 | Passed | 2.0588 | Failed | 3.6619 | Failed | 20.4596 | 20.9554 | 98.0987 | 201.538 | 51.4614 | FALSE
CalibrationImage#22.bmp | NaN | NaN | NaN | 54 | 2583 | 37450 | 6.8972 | Passed | 728 | 10536 | 6.9096 | Passed | 450 | 13363 | 3.3675 | Passed | 219 | 4509 | 4.857 | Failed | 3980 | 65858 | 6.0433 | Passed | 8 | 1092 | 0.7326 | Passed | 0.11675 | Passed | -0.17382 | Passed | 1.4936 | Passed | 2.8397 | Failed | 17.7775 | 17.3234 | 93.1322 | 194.8079 | 47.0115 | FALSE
CalibrationImage#23.bmp | NaN | NaN | NaN | 68 | 4407 | 37450 | 11.7677 | Failed | 880 | 10536 | 8.3523 | Passed | 463 | 13363 | 3.4648 | Passed | 197 | 4509 | 4.369 | Failed | 5947 | 65858 | 9.03 | Failed | 8 | 1092 | 0.7326 | Passed | 1.2317 | Passed | 1.0136 | Passed | 2.3037 | Failed | 3.7883 | Failed | 23.4946 | 22.8627 | 100.2508 | 202.5724 | 53.8732 | FALSE
CalibrationImage#24.bmp | NaN | NaN | NaN | 64 | 3541 | 37450 | 9.4553 | Failed | 548 | 10536 | 5.2012 | Passed | 407 | 13363 | 3.0457 | Passed | 200 | 4509 | 4.4356 | Failed | 4696 | 65858 | 7.1305 | Passed | 8 | 1092 | 0.7326 | Passed | 0.71626 | Passed | 0.36065 | Passed | 1.9172 | Passed | 3.1107 | Failed | 20.3509 | 20.3018 | 96.8547 | 197.0262 | 50.4325 | FALSE
CalibrationImage#25.bmp | NaN | NaN | NaN | 55 | 2191 | 37450 | 5.8505 | Passed | 626 | 10536 | 5.9415 | Passed | 508 | 13363 | 3.8015 | Passed | 253 | 4509 | 5.611 | Failed | 3578 | 65858 | 5.4329 | Passed | 8 | 1092 | 0.7326 | Passed | 0.12996 | Passed | 0.0052511 | Passed | 1.4759 | Passed | 2.9056 | Failed | 18.6397 | 17.3891 | 92.9766 | 195.3473 | 47.271 | FALSE
CalibrationImage#26.bmp | NaN | NaN | NaN | 60 | 4473 | 37450 | 11.9439 | Failed | 746 | 10536 | 7.0805 | Passed | 584 | 13363 | 4.3703 | Failed | 254 | 4509 | 5.6332 | Failed | 6057 | 65858 | 9.1971 | Failed | 17 | 1092 | 1.5568 | Failed | 1.1587 | Passed | 0.82834 | Passed | 2.4284 | Failed | 4.0057 | Failed | 22.6027 | 22.4999 | 101.3465 | 204.3515 | 53.7631 | FALSE
CalibrationImage#27.bmp | NaN | NaN | NaN | 50 | 5915 | 37450 | 15.7944 | Failed | 730 | 10536 | 6.9286 | Passed | 540 | 13363 | 4.041 | Failed | 222 | 4509 | 4.9235 | Failed | 7407 | 65858 | 11.2469 | Failed | 23 | 1092 | 2.1062 | Failed | 1.0395 | Passed | 0.57929 | Passed | 2.3314 | Failed | 3.8016 | Failed | 21.4036 | 21.9077 | 100.4941 | 202.6813 | 52.7554 | FALSE
CalibrationImage#28.bmp | NaN | NaN | NaN | 58 | 4798 | 37450 | 12.8117 | Failed | 795 | 10536 | 7.5456 | Passed | 649 | 13363 | 4.8567 | Failed | 264 | 4509 | 5.855 | Failed | 6506 | 65858 | 9.8788 | Failed | 26 | 1092 | 2.381 | Failed | 1.1504 | Passed | 0.91226 | Passed | 2.2242 | Failed | 3.9237 | Failed | 23.0067 | 22.4589 | 99.5526 | 203.6809 | 53.3818 | FALSE
CalibrationImage#29.bmp | NaN | NaN | NaN | 52 | 4890 | 37450 | 13.0574 | Failed | 560 | 10536 | 5.3151 | Passed | 511 | 13363 | 3.824 | Passed | 216 | 4509 | 4.7904 | Failed | 6177 | 65858 | 9.3793 | Failed | 18 | 1092 | 1.6484 | Failed | 0.78572 | Passed | 0.33061 | Passed | 1.8977 | Passed | 3.1606 | Failed | 20.2062 | 20.6469 | 96.6833 | 197.4342 | 50.5785 | FALSE
CalibrationImage#30.bmp | NaN | NaN | NaN | 50 | 3949 | 37450 | 10.5447 | Failed | 526 | 10536 | 4.9924 | Passed | 413 | 13363 | 3.0906 | Passed | 250 | 4509 | 5.5445 | Failed | 5138 | 65858 | 7.8016 | Passed | 8 | 1092 | 0.7326 | Passed | 0.42109 | Passed | 0.079352 | Passed | 2.0999 | Failed | 3.6736 | Failed | 18.9965 | 18.8354 | 98.4603 | 201.6332 | 49.7228 | FALSE
CalibrationImage#31.bmp | NaN | NaN | NaN | 55 | 5207 | 37450 | 13.9039 | Failed | 622 | 10536 | 5.9036 | Passed | 629 | 13363 | 4.707 | Failed | 266 | 4509 | 5.8993 | Failed | 6724 | 65858 | 10.2098 | Failed | 19 | 1092 | 1.7399 | Failed | 1.303 | Passed | 0.92146 | Passed | 2.5959 | Failed | 4.0899 | Failed | 23.0511 | 23.2169 | 102.8185 | 205.041 | 54.6211 | FALSE
CalibrationImage#32.bmp | NaN | NaN | NaN | 50 | 5451 | 37450 | 14.5554 | Failed | 780 | 10536 | 7.4032 | Passed | 595 | 13363 | 4.4526 | Failed | 302 | 4509 | 6.6977 | Failed | 7128 | 65858 | 10.8233 | Failed | 15 | 1092 | 1.3736 | Failed | 1.0206 | Passed | 0.67357 | Passed | 2.3769 | Failed | 4.0101 | Failed | 21.8575 | 21.8136 | 100.8944 | 204.3881 | 52.9996 | FALSE
CalibrationImage#33.bmp | NaN | NaN | NaN | 52 | 2957 | 37450 | 7.8959 | Passed | 555 | 10536 | 5.2677 | Passed | 425 | 13363 | 3.1804 | Passed | 191 | 4509 | 4.236 | Failed | 4128 | 65858 | 6.268 | Passed | 5 | 1092 | 0.45788 | Passed | 0.33963 | Passed | 0.12357 | Passed | 2.1204 | Failed | 3.3549 | Failed | 19.2094 | 18.4307 | 98.6405 | 199.0251 | 49.4099 | FALSE
CalibrationImage#34.bmp | NaN | NaN | NaN | 50 | 4877 | 37450 | 13.0227 | Failed | 673 | 10536 | 6.3876 | Passed | 630 | 13363 | 4.7145 | Failed | 241 | 4509 | 5.3449 | Failed | 6421 | 65858 | 9.7498 | Failed | 17 | 1092 | 1.5568 | Failed | 1.3142 | Passed | 0.93544 | Passed | 2.5686 | Failed | 3.9839 | Failed | 23.1184 | 23.2727 | 102.5792 | 204.173 | 54.5889 | FALSE
CalibrationImage#35.bmp | NaN | NaN | NaN | 53 | 4974 | 37450 | 13.2817 | Failed | 585 | 10536 | 5.5524 | Passed | 527 | 13363 | 3.9437 | Passed | 323 | 4509 | 7.1635 | Failed | 6409 | 65858 | 9.7315 | Failed | 16 | 1092 | 1.4652 | Failed | 1.028 | Passed | 0.65189 | Passed | 2.4671 | Failed | 3.9207 | Failed | 21.7531 | 21.8506 | 101.687 | 203.6558 | 53.1202 | FALSE
CalibrationImage#36.bmp | NaN | NaN | NaN | 61 | 3602 | 37450 | 9.6182 | Failed | 709 | 10536 | 6.7293 | Passed | 457 | 13363 | 3.4199 | Passed | 227 | 4509 | 5.0344 | Failed | 4995 | 65858 | 7.5845 | Passed | 11 | 1092 | 1.0073 | Failed | 0.36697 | Passed | 0.059619 | Passed | 2.0236 | Failed | 3.292 | Failed | 18.9015 | 18.5665 | 97.7893 | 198.5096 | 49.2021 | FALSE
CalibrationImage#37.bmp | NaN | NaN | NaN | 53 | 5222 | 37450 | 13.9439 | Failed | 801 | 10536 | 7.6025 | Passed | 664 | 13363 | 4.9689 | Failed | 248 | 4509 | 5.5001 | Failed | 6935 | 65858 | 10.5302 | Failed | 20 | 1092 | 1.8315 | Failed | 1.2951 | Passed | 0.90577 | Passed | 2.6705 | Failed | 4.11 | Failed | 22.9755 | 23.1777 | 103.4744 | 205.2058 | 54.7646 | FALSE
CalibrationImage#38.bmp | NaN | NaN | NaN | 55 | 5971 | 37450 | 15.9439 | Failed | 910 | 10536 | 8.6371 | Passed | 753 | 13363 | 5.635 | Failed | 284 | 4509 | 6.2985 | Failed | 7918 | 65858 | 12.0228 | Failed | 27 | 1092 | 2.4725 | Failed | 1.0599 | Passed | 0.67618 | Passed | 2.3197 | Failed | 3.9415 | Failed | 21.8701 | 22.0089 | 100.392 | 203.8263 | 52.9625 | FALSE
CalibrationImage#39.bmp | NaN | NaN | NaN | 52 | 2891 | 37450 | 7.7196 | Passed | 557 | 10536 | 5.2866 | Passed | 471 | 13363 | 3.5247 | Passed | 228 | 4509 | 5.0566 | Failed | 4147 | 65858 | 6.2969 | Passed | 12 | 1092 | 1.0989 | Failed | 0.27084 | Passed | 0.020351 | Passed | 1.8763 | Passed | 3.2043 | Failed | 18.7124 | 18.0889 | 96.4949 | 197.7922 | 48.5388 | FALSE
CalibrationImage#40.bmp | NaN | NaN | NaN | 67 | 6165 | 37450 | 16.4619 | Failed | 756 | 10536 | 7.1754 | Passed | 799 | 13363 | 5.9792 | Failed | 336 | 4509 | 7.4518 | Failed | 8056 | 65858 | 12.2324 | Failed | 24 | 1092 | 2.1978 | Failed | 1.3365 | Passed | 0.82879 | Passed | 2.7415 | Failed | 4.1076 | Failed | 22.6049 | 23.3833 | 104.0986 | 205.1861 | 54.9072 | FALSE
CalibrationImage#41.bmp | NaN | NaN | NaN | 54 | 5847 | 37450 | 15.6128 | Failed | 599 | 10536 | 5.6853 | Passed | 661 | 13363 | 4.9465 | Failed | 312 | 4509 | 6.9195 | Failed | 7419 | 65858 | 11.2651 | Failed | 25 | 1092 | 2.2894 | Failed | 1.0182 | Passed | 0.52356 | Passed | 2.2396 | Failed | 3.8055 | Failed | 21.1353 | 21.8021 | 99.6881 | 202.7132 | 52.4667 | FALSE
CalibrationImage#42.bmp | NaN | NaN | NaN | 52 | 3465 | 37450 | 9.2523 | Failed | 532 | 10536 | 5.0494 | Passed | 451 | 13363 | 3.375 | Passed | 257 | 4509 | 5.6997 | Failed | 4705 | 65858 | 7.1442 | Passed | 8 | 1092 | 0.7326 | Passed | 0.28908 | Passed | -0.10161 | Passed | 1.7164 | Passed | 3.1082 | Failed | 18.1252 | 18.1795 | 95.09 | 197.0058 | 48.1207 | FALSE
CalibrationImage#43.bmp | NaN | NaN | NaN | 53 | 7266 | 37450 | 19.4019 | Failed | 749 | 10536 | 7.109 | Passed | 749 | 13363 | 5.605 | Failed | 297 | 4509 | 6.5868 | Failed | 9061 | 65858 | 13.7584 | Failed | 40 | 1092 | 3.663 | Failed | 1.4579 | Passed | 0.84206 | Passed | 2.6522 | Failed | 4.1369 | Failed | 22.6688 | 23.9862 | 103.3133 | 205.4256 | 55.1072 | FALSE
CalibrationImage#44.bmp | NaN | NaN | NaN | 50 | 5850 | 37450 | 15.6208 | Failed | 718 | 10536 | 6.8147 | Passed | 665 | 13363 | 4.9764 | Failed | 336 | 4509 | 7.4518 | Failed | 7569 | 65858 | 11.4929 | Failed | 29 | 1092 | 2.6557 | Failed | 1.0925 | Passed | 0.58238 | Passed | 2.4654 | Failed | 3.9344 | Failed | 21.4185 | 22.1709 | 101.6723 | 203.768 | 53.2528 | FALSE
CalibrationImage#45.bmp | NaN | NaN | NaN | 52 | 3047 | 37450 | 8.1362 | Passed | 518 | 10536 | 4.9165 | Passed | 502 | 13363 | 3.7566 | Passed | 206 | 4509 | 4.5686 | Failed | 4273 | 65858 | 6.4882 | Passed | 12 | 1092 | 1.0989 | Failed | 0.26343 | Passed | -0.019075 | Passed | 1.9265 | Passed | 3.3489 | Failed | 18.5226 | 18.0521 | 96.9365 | 198.9758 | 48.6416 | FALSE
CalibrationImage#46.bmp | NaN | NaN | NaN | 57 | 7081 | 37450 | 18.9079 | Failed | 924 | 10536 | 8.7699 | Passed | 582 | 13363 | 4.3553 | Failed | 272 | 4509 | 6.0324 | Failed | 8859 | 65858 | 13.4517 | Failed | 42 | 1092 | 3.8462 | Failed | 1.4477 | Passed | 0.98689 | Passed | 2.8187 | Failed | 4.2254 | Failed | 23.3661 | 23.9359 | 104.777 | 206.1501 | 55.5779 | FALSE
CalibrationImage#47.bmp | NaN | NaN | NaN | 54 | 6505 | 37450 | 17.3698 | Failed | 740 | 10536 | 7.0235 | Passed | 626 | 13363 | 4.6846 | Failed | 273 | 4509 | 6.0546 | Failed | 8144 | 65858 | 12.366 | Failed | 25 | 1092 | 2.2894 | Failed | 1.0031 | Passed | 0.45849 | Passed | 2.2689 | Failed | 3.8985 | Failed | 20.8219 | 21.7267 | 99.9453 | 203.4742 | 52.4295 | FALSE
CalibrationImage#48.bmp | NaN | NaN | NaN | 95 | 4085 | 37450 | 10.9079 | Failed | 565 | 10536 | 5.3626 | Passed | 589 | 13363 | 4.4077 | Failed | 310 | 4509 | 6.8751 | Failed | 5549 | 65858 | 8.4257 | Passed | 16 | 1092 | 1.4652 | Failed | 0.48003 | Passed | 0.13051 | Passed | 2.0627 | Failed | 3.7469 | Failed | 19.2428 | 19.1282 | 98.1331 | 202.2333 | 49.9115 | FALSE
CalibrationImage#49.bmp | NaN | NaN | NaN | 57 | 5740 | 37450 | 15.3271 | Failed | 819 | 10536 | 7.7733 | Passed | 786 | 13363 | 5.8819 | Failed | 295 | 4509 | 6.5425 | Failed | 7640 | 65858 | 11.6007 | Failed | 34 | 1092 | 3.1136 | Failed | 1.3559 | Passed | 0.88566 | Passed | 2.7158 | Failed | 4.139 | Failed | 22.8787 | 23.4796 | 103.8724 | 205.4431 | 55.0404 | FALSE
CalibrationImage#50.bmp | NaN | NaN | NaN | 52 | 3463 | 37450 | 9.247 | Failed | 744 | 10536 | 7.0615 | Passed | 489 | 13363 | 3.6594 | Passed | 292 | 4509 | 6.4759 | Failed | 4988 | 65858 | 7.5739 | Passed | 13 | 1092 | 1.1905 | Failed | 0.30911 | Passed | 0.0078926 | Passed | 1.8012 | Passed | 3.408 | Failed | 18.6524 | 18.2791 | 95.8348 | 199.4593 | 48.6176 | FALSE
CalibrationImage#51.bmp | NaN | NaN | NaN | 57 | 5085 | 37450 | 13.5781 | Failed | 651 | 10536 | 6.1788 | Passed | 592 | 13363 | 4.4301 | Failed | 271 | 4509 | 6.0102 | Failed | 6599 | 65858 | 10.02 | Failed | 24 | 1092 | 2.1978 | Failed | 1.2682 | Passed | 0.85907 | Passed | 2.4239 | Failed | 3.9007 | Failed | 22.7507 | 23.044 | 101.3076 | 203.4923 | 54.072 | FALSE
CalibrationImage#52.bmp | NaN | NaN | NaN | 67 | 5201 | 37450 | 13.8879 | Failed | 841 | 10536 | 7.9822 | Passed | 587 | 13363 | 4.3927 | Failed | 309 | 4509 | 6.853 | Failed | 6938 | 65858 | 10.5348 | Failed | 20 | 1092 | 1.8315 | Failed | 1.0216 | Passed | 0.67105 | Passed | 2.2251 | Failed | 3.7773 | Failed | 21.8454 | 21.8186 | 99.5603 | 202.4821 | 52.6215 | FALSE
CalibrationImage#53.bmp | NaN | NaN | NaN | 47 | 2929 | 37450 | 7.8211 | Passed | 703 | 10536 | 6.6724 | Passed | 480 | 13363 | 3.592 | Passed | 244 | 4509 | 5.4114 | Failed | 4356 | 65858 | 6.6142 | Passed | 9 | 1092 | 0.82418 | Passed | 0.31355 | Passed | 0.038802 | Passed | 1.9706 | Passed | 3.1344 | Failed | 18.8013 | 18.3011 | 97.3237 | 197.2202 | 48.8523 | FALSE
CalibrationImage#54.bmp | NaN | NaN | NaN | 61 | 6139 | 37450 | 16.3925 | Failed | 906 | 10536 | 8.5991 | Passed | 549 | 13363 | 4.1084 | Failed | 276 | 4509 | 6.1211 | Failed | 7870 | 65858 | 11.95 | Failed | 19 | 1092 | 1.7399 | Failed | 1.4657 | Passed | 1.0915 | Passed | 2.8039 | Failed | 4.1737 | Failed | 23.8696 | 24.0251 | 104.647 | 205.7272 | 55.724 | FALSE
CalibrationImage#55.bmp | NaN | NaN | NaN | 55 | 7845 | 37450 | 20.9479 | Failed | 671 | 10536 | 6.3686 | Passed | 758 | 13363 | 5.6724 | Failed | 313 | 4509 | 6.9417 | Failed | 9587 | 65858 | 14.5571 | Failed | 43 | 1092 | 3.9377 | Failed | 1.0987 | Passed | 0.45171 | Passed | 2.3956 | Failed | 3.9674 | Failed | 20.7893 | 22.2021 | 101.059 | 204.0381 | 52.9274 | FALSE
CalibrationImage#56.bmp | NaN | NaN | NaN | 52 | 4943 | 37450 | 13.1989 | Failed | 596 | 10536 | 5.6568 | Passed | 533 | 13363 | 3.9886 | Passed | 287 | 4509 | 6.365 | Failed | 6359 | 65858 | 9.6556 | Failed | 15 | 1092 | 1.3736 | Failed | 1.0521 | Passed | 0.65189 | Passed | 2.4884 | Failed | 4.0141 | Failed | 21.7531 | 21.9705 | 101.8742 | 204.4207 | 53.3294 | FALSE
CalibrationImage#57.bmp | NaN | NaN | NaN | 49 | 4740 | 37450 | 12.6569 | Failed | 604 | 10536 | 5.7327 | Passed | 533 | 13363 | 3.9886 | Passed | 216 | 4509 | 4.7904 | Failed | 6093 | 65858 | 9.2517 | Failed | 24 | 1092 | 2.1978 | Failed | 0.46902 | Passed | 0.03963 | Passed | 2.2238 | Failed | 3.9554 | Failed | 18.8052 | 19.0735 | 99.5486 | 203.9399 | 50.1697 | FALSE
CalibrationImage#58.bmp | NaN | NaN | NaN | 55 | 6122 | 37450 | 16.3471 | Failed | 702 | 10536 | 6.6629 | Passed | 743 | 13363 | 5.5601 | Failed | 283 | 4509 | 6.2763 | Failed | 7850 | 65858 | 11.9196 | Failed | 26 | 1092 | 2.381 | Failed | 1.3908 | Passed | 0.9107 | Passed | 2.8303 | Failed | 4.1631 | Failed | 22.9992 | 23.6529 | 104.8786 | 205.6405 | 55.3144 | FALSE
CalibrationImage#59.bmp | NaN | NaN | NaN | 57 | 6997 | 37450 | 18.6836 | Failed | 820 | 10536 | 7.7828 | Passed | 749 | 13363 | 5.605 | Failed | 287 | 4509 | 6.365 | Failed | 8853 | 65858 | 13.4426 | Failed | 40 | 1092 | 3.663 | Failed | 1.0758 | Passed | 0.53497 | Passed | 2.3467 | Failed | 4.0402 | Failed | 21.1902 | 22.0879 | 100.6291 | 204.6341 | 52.9485 | FALSE
CalibrationImage#70.bmp | NaN | NaN | NaN | 28 | 3952 | 37450 | 10.5527 | Failed | 382 | 10536 | 3.6257 | Passed | 214 | 13363 | 1.6014 | Passed | 284 | 4509 | 6.2985 | Failed | 4832 | 65858 | 7.337 | Passed | 11 | 1092 | 1.0073 | Failed | 0.6229 | Passed | -0.20073 | Passed | 1.4968 | Passed | 0.74824 | Passed | 17.648 | 19.838 | 93.1599 | 177.6884 | 47.4805 | FALSE
CalibrationImage#71.bmp | NaN | NaN | NaN | 30 | 4587 | 37450 | 12.2483 | Failed | 367 | 10536 | 3.4833 | Passed | 305 | 13363 | 2.2824 | Passed | 304 | 4509 | 6.7421 | Failed | 5563 | 65858 | 8.447 | Passed | 14 | 1092 | 1.2821 | Failed | 0.40689 | Passed | -0.33899 | Passed | 1.3599 | Passed | 0.62686 | Passed | 16.9823 | 18.7648 | 91.9569 | 176.6948 | 46.2482 | FALSE
CalibrationImage#72.bmp | NaN | NaN | NaN | 30 | 3413 | 37450 | 9.1135 | Failed | 263 | 10536 | 2.4962 | Passed | 274 | 13363 | 2.0504 | Passed | 277 | 4509 | 6.1433 | Failed | 4227 | 65858 | 6.4184 | Passed | 9 | 1092 | 0.82418 | Passed | 0.63744 | Passed | -0.048328 | Passed | 1.6326 | Passed | 0.92742 | Passed | 18.3817 | 19.9103 | 94.3531 | 179.155 | 48.0264 | FALSE
CalibrationImage#73.bmp | NaN | NaN | NaN | 26 | 3748 | 37450 | 10.008 | Failed | 414 | 10536 | 3.9294 | Passed | 279 | 13363 | 2.0879 | Passed | 301 | 4509 | 6.6755 | Failed | 4742 | 65858 | 7.2003 | Passed | 10 | 1092 | 0.91575 | Passed | 0.41513 | Passed | -0.39247 | Passed | 1.3168 | Passed | 0.59364 | Passed | 16.7248 | 18.8058 | 91.5784 | 176.4229 | 46.1743 | FALSE
CalibrationImage#74.bmp | NaN | NaN | NaN | 30 | 4151 | 37450 | 11.0841 | Failed | 384 | 10536 | 3.6446 | Passed | 329 | 13363 | 2.462 | Passed | 275 | 4509 | 6.0989 | Failed | 5139 | 65858 | 7.8032 | Passed | 10 | 1092 | 0.91575 | Passed | 0.70342 | Passed | -0.049925 | Passed | 1.6194 | Passed | 0.78926 | Passed | 18.3741 | 20.2381 | 94.2373 | 178.0242 | 48.1246 | FALSE
CalibrationImage#75.bmp | NaN | NaN | NaN | 28 | 5114 | 37450 | 13.6555 | Failed | 612 | 10536 | 5.8087 | Passed | 371 | 13363 | 2.7763 | Passed | 320 | 4509 | 7.0969 | Failed | 6417 | 65858 | 9.7437 | Failed | 27 | 1092 | 2.4725 | Failed | 0.49323 | Passed | -0.31498 | Passed | 1.4231 | Passed | 0.65943 | Passed | 17.0979 | 19.1938 | 92.5125 | 176.9614 | 46.6812 | FALSE
CalibrationImage#76.bmp | NaN | NaN | NaN | 31 | 4153 | 37450 | 11.0895 | Failed | 487 | 10536 | 4.6222 | Passed | 259 | 13363 | 1.9382 | Passed | 279 | 4509 | 6.1876 | Failed | 5178 | 65858 | 7.8624 | Passed | 8 | 1092 | 0.7326 | Passed | 0.73799 | Passed | 0.075823 | Passed | 1.6735 | Passed | 0.91745 | Passed | 18.9795 | 20.4098 | 94.7127 | 179.0734 | 48.5182 | FALSE
CalibrationImage#77.bmp | NaN | NaN | NaN | 28 | 3667 | 37450 | 9.7917 | Failed | 251 | 10536 | 2.3823 | Passed | 327 | 13363 | 2.4471 | Passed | 307 | 4509 | 6.8086 | Failed | 4552 | 65858 | 6.9118 | Passed | 13 | 1092 | 1.1905 | Failed | 0.44186 | Passed | -0.26176 | Passed | 1.4078 | Passed | 0.66861 | Passed | 17.3541 | 18.9386 | 92.3778 | 177.0366 | 46.5781 | FALSE
CalibrationImage#78.bmp | NaN | NaN | NaN | 37 | 4335 | 37450 | 11.5754 | Failed | 585 | 10536 | 5.5524 | Passed | 361 | 13363 | 2.7015 | Passed | 324 | 4509 | 7.1856 | Failed | 5605 | 65858 | 8.5107 | Passed | 10 | 1092 | 0.91575 | Passed | 0.69062 | Passed | 0.037087 | Passed | 1.5757 | Passed | 0.7593 | Passed | 18.793 | 20.1745 | 93.8536 | 177.7789 | 48.0703 | FALSE
CalibrationImage#79.bmp | NaN | NaN | NaN | 34 | 4100 | 37450 | 10.9479 | Failed | 474 | 10536 | 4.4989 | Passed | 237 | 13363 | 1.7736 | Passed | 305 | 4509 | 6.7642 | Failed | 5116 | 65858 | 7.7682 | Passed | 13 | 1092 | 1.1905 | Failed | 0.45162 | Passed | -0.21382 | Passed | 1.4142 | Passed | 0.74033 | Passed | 17.5849 | 18.987 | 92.4343 | 177.6236 | 46.7079 | FALSE
CalibrationImage#80.bmp | NaN | NaN | NaN | 28 | 4362 | 37450 | 11.6475 | Failed | 391 | 10536 | 3.7111 | Passed | 257 | 13363 | 1.9232 | Passed | 267 | 4509 | 5.9215 | Failed | 5277 | 65858 | 8.0127 | Passed | 9 | 1092 | 0.82418 | Passed | 0.74659 | Passed | -0.059505 | Passed | 1.7278 | Passed | 0.91918 | Passed | 18.3279 | 20.4525 | 95.1903 | 179.0876 | 48.5633 | FALSE
CalibrationImage#81.bmp | NaN | NaN | NaN | 30 | 4035 | 37450 | 10.7744 | Failed | 381 | 10536 | 3.6162 | Passed | 238 | 13363 | 1.781 | Passed | 286 | 4509 | 6.3429 | Failed | 4940 | 65858 | 7.501 | Passed | 8 | 1092 | 0.7326 | Passed | 0.43394 | Passed | -0.25048 | Passed | 1.3765 | Passed | 0.60169 | Passed | 17.4084 | 18.8992 | 92.1033 | 176.4888 | 46.4725 | FALSE
CalibrationImage#82.bmp | NaN | NaN | NaN | 28 | 4911 | 37450 | 13.1135 | Failed | 305 | 10536 | 2.8948 | Passed | 259 | 13363 | 1.9382 | Passed | 271 | 4509 | 6.0102 | Failed | 5746 | 65858 | 8.7248 | Passed | 11 | 1092 | 1.0073 | Failed | 0.67602 | Passed | -0.19517 | Passed | 1.5533 | Passed | 0.87681 | Passed | 17.6747 | 20.1019 | 93.6569 | 178.7407 | 47.788 | FALSE
CalibrationImage#83.bmp | NaN | NaN | NaN | 25 | 5210 | 37450 | 13.9119 | Failed | 351 | 10536 | 3.3314 | Passed | 364 | 13363 | 2.7239 | Passed | 256 | 4509 | 5.6775 | Failed | 6181 | 65858 | 9.3853 | Failed | 22 | 1092 | 2.0147 | Failed | 0.27395 | Passed | -0.65229 | Passed | 1.2558 | Passed | 0.55717 | Passed | 15.4738 | 18.1044 | 91.0419 | 176.1244 | 45.1977 | FALSE
CalibrationImage#84.bmp | NaN | NaN | NaN | 28 | 4276 | 37450 | 11.4179 | Failed | 377 | 10536 | 3.5782 | Passed | 298 | 13363 | 2.23 | Passed | 288 | 4509 | 6.3872 | Failed | 5239 | 65858 | 7.955 | Passed | 15 | 1092 | 1.3736 | Failed | 0.75257 | Passed | -0.0054135 | Passed | 1.7005 | Passed | 0.88431 | Passed | 18.5884 | 20.4822 | 94.9504 | 178.8022 | 48.5458 | FALSE
CalibrationImage#85.bmp | NaN | NaN | NaN | 25 | 4921 | 37450 | 13.1402 | Failed | 253 | 10536 | 2.4013 | Passed | 373 | 13363 | 2.7913 | Passed | 279 | 4509 | 6.1876 | Failed | 5826 | 65858 | 8.8463 | Passed | 21 | 1092 | 1.9231 | Failed | 0.33293 | Passed | -0.49514 | Passed | 1.3328 | Passed | 0.66707 | Passed | 16.2304 | 18.3974 | 91.7187 | 177.024 | 45.7957 | FALSE
CalibrationImage#86.bmp | NaN | NaN | NaN | 31 | 5324 | 37450 | 14.2163 | Failed | 383 | 10536 | 3.6352 | Passed | 309 | 13363 | 2.3124 | Passed | 299 | 4509 | 6.6312 | Failed | 6315 | 65858 | 9.5888 | Failed | 12 | 1092 | 1.0989 | Failed | 0.71297 | Passed | -0.0063203 | Passed | 1.6521 | Passed | 0.87954 | Passed | 18.584 | 20.2855 | 94.5251 | 178.7631 | 48.2534 | FALSE
CalibrationImage#87.bmp | NaN | NaN | NaN | 33 | 4553 | 37450 | 12.1575 | Failed | 377 | 10536 | 3.5782 | Passed | 241 | 13363 | 1.8035 | Passed | 274 | 4509 | 6.0767 | Failed | 5445 | 65858 | 8.2678 | Passed | 4 | 1092 | 0.3663 | Passed | 0.56452 | Passed | -0.16773 | Passed | 1.5467 | Passed | 0.8311 | Passed | 17.8069 | 19.548 | 93.5986 | 178.3666 | 47.3777 | FALSE
CalibrationImage#88.bmp | NaN | NaN | NaN | 33 | 4767 | 37450 | 12.729 | Failed | 709 | 10536 | 6.7293 | Passed | 398 | 13363 | 2.9784 | Passed | 332 | 4509 | 7.3631 | Failed | 6206 | 65858 | 9.4233 | Failed | 13 | 1092 | 1.1905 | Failed | 0.81766 | Passed | 0.062852 | Passed | 1.7773 | Passed | 0.97822 | Passed | 18.917 | 20.8056 | 95.6252 | 179.5709 | 48.9949 | FALSE
CalibrationImage#89.bmp | NaN | NaN | NaN | 27 | 4592 | 37450 | 12.2617 | Failed | 453 | 10536 | 4.2995 | Passed | 321 | 13363 | 2.4022 | Passed | 298 | 4509 | 6.609 | Failed | 5664 | 65858 | 8.6003 | Passed | 15 | 1092 | 1.3736 | Failed | 0.3937 | Passed | -0.38437 | Passed | 1.267 | Passed | 0.51983 | Passed | 16.7638 | 18.6993 | 91.1407 | 175.8188 | 45.9103 | FALSE
CalibrationImage#90.bmp | NaN | NaN | NaN | 32 | 4686 | 37450 | 12.5127 | Failed | 385 | 10536 | 3.6541 | Passed | 419 | 13363 | 3.1355 | Passed | 374 | 4509 | 8.2945 | Failed | 5864 | 65858 | 8.904 | Passed | 27 | 1092 | 2.4725 | Failed | 0.9081 | Passed | 0.11576 | Passed | 1.6712 | Passed | 0.98629 | Passed | 19.1718 | 21.2549 | 94.6924 | 179.6369 | 49.1779 | FALSE
CalibrationImage#91.bmp | NaN | NaN | NaN | 31 | 4591 | 37450 | 12.259 | Failed | 585 | 10536 | 5.5524 | Passed | 256 | 13363 | 1.9157 | Passed | 255 | 4509 | 5.6554 | Failed | 5687 | 65858 | 8.6352 | Passed | 11 | 1092 | 1.0073 | Failed | 0.63749 | Passed | -0.062896 | Passed | 1.4387 | Passed | 0.67189 | Passed | 18.3116 | 19.9105 | 92.6498 | 177.0634 | 47.4764 | FALSE
CalibrationImage#92.bmp | NaN | NaN | NaN | 34 | 3550 | 37450 | 9.4793 | Failed | 440 | 10536 | 4.1762 | Passed | 240 | 13363 | 1.796 | Passed | 361 | 4509 | 8.0062 | Failed | 4591 | 65858 | 6.9711 | Passed | 5 | 1092 | 0.45788 | Passed | 0.70719 | Passed | -0.014442 | Passed | 1.4383 | Passed | 0.85017 | Passed | 18.5449 | 20.2568 | 92.6459 | 178.5227 | 47.9677 | FALSE
CalibrationImage#93.bmp | NaN | NaN | NaN | 27 | 5309 | 37450 | 14.1762 | Failed | 309 | 10536 | 2.9328 | Passed | 260 | 13363 | 1.9457 | Passed | 278 | 4509 | 6.1654 | Failed | 6156 | 65858 | 9.3474 | Failed | 16 | 1092 | 1.4652 | Failed | 0.75624 | Passed | -0.10796 | Passed | 1.687 | Passed | 0.93435 | Passed | 18.0946 | 20.5005 | 94.8312 | 179.2118 | 48.4341 | FALSE
CalibrationImage#94.bmp | NaN | NaN | NaN | 31 | 4866 | 37450 | 12.9933 | Failed | 687 | 10536 | 6.5205 | Passed | 254 | 13363 | 1.9008 | Passed | 277 | 4509 | 6.1433 | Failed | 6084 | 65858 | 9.2381 | Failed | 12 | 1092 | 1.0989 | Failed | 0.72594 | Passed | -0.032085 | Passed | 1.4774 | Passed | 0.69167 | Passed | 18.4599 | 20.3499 | 92.99 | 177.2253 | 47.8781 | FALSE
CalibrationImage#95.bmp | NaN | NaN | NaN | 30 | 3190 | 37450 | 8.518 | Passed | 321 | 10536 | 3.0467 | Passed | 251 | 13363 | 1.8783 | Passed | 291 | 4509 | 6.4538 | Failed | 4053 | 65858 | 6.1541 | Passed | 7 | 1092 | 0.64103 | Passed | 0.65284 | Passed | 0.025141 | Passed | 1.4747 | Passed | 0.90845 | Passed | 18.7355 | 19.9868 | 92.9656 | 178.9998 | 47.8792 | FALSE
CalibrationImage#96.bmp | NaN | NaN | NaN | 27 | 4664 | 37450 | 12.4539 | Failed | 304 | 10536 | 2.8853 | Passed | 361 | 13363 | 2.7015 | Passed | 255 | 4509 | 5.6554 | Failed | 5584 | 65858 | 8.4788 | Passed | 16 | 1092 | 1.4652 | Failed | 0.57409 | Passed | -0.25894 | Passed | 1.4658 | Passed | 0.75157 | Passed | 17.3677 | 19.5955 | 92.8877 | 177.7157 | 47.1463 | FALSE
CalibrationImage#97.bmp | NaN | NaN | NaN | 32 | 4769 | 37450 | 12.7343 | Failed | 640 | 10536 | 6.0744 | Passed | 280 | 13363 | 2.0953 | Passed | 329 | 4509 | 7.2965 | Failed | 6018 | 65858 | 9.1378 | Failed | 11 | 1092 | 1.0073 | Failed | 0.74251 | Passed | 0.054021 | Passed | 1.5981 | Passed | 0.80454 | Passed | 18.8745 | 20.4323 | 94.0507 | 178.1493 | 48.3107 | FALSE
CalibrationImage#98.bmp | NaN | NaN | NaN | 64 | 4093 | 37450 | 10.9292 | Failed | 487 | 10536 | 4.6222 | Passed | 296 | 13363 | 2.2151 | Passed | 334 | 4509 | 7.4074 | Failed | 5210 | 65858 | 7.911 | Passed | 8 | 1092 | 0.7326 | Passed | 0.70761 | Passed | 0.071565 | Passed | 1.6034 | Passed | 0.88138 | Passed | 18.959 | 20.2589 | 94.097 | 178.7782 | 48.3159 | FALSE
CalibrationImage#99.bmp | NaN | NaN | NaN | 33 | 3352 | 37450 | 8.9506 | Passed | 409 | 10536 | 3.8819 | Passed | 249 | 13363 | 1.8634 | Passed | 402 | 4509 | 8.9155 | Failed | 4412 | 65858 | 6.6993 | Passed | 4 | 1092 | 0.3663 | Passed | 0.83628 | Passed | 0.1077 | Passed | 1.5259 | Passed | 0.90504 | Passed | 19.133 | 20.8981 | 93.4156 | 178.9718 | 48.7046 | FALSE