## CalibrationData_130415891
Section Results | [28 empty] | Mean Threshold Results | [7 empty] | Intensity
[5 empty] | Outer |  |  |  | Inner |  |  |  | Corona |  |  |  | High P |  |  |  | Total |  |  |  | Clumps |  |  |  | Outer |  | Inner |  | Corona |  | High P |  | Outer | Inner | Corona | HighP | Total
Image Filename | Brightness | Gain | Voltage | Noise Level | Failed Pixels | Total Pixels | % Failed | Status | Failed Pixels | Total Pixels | % Failed | Status | Failed Pixels | Total Pixels | % Failed | Status | Failed Pixels | Total Pixels | % Failed | Status | Failed Pixels | Total Pixels | % Failed | Status | Failed Pixels | Total Pixels | % Failed | Status | Diff | Status | Diff | Status | Diff | Status | Diff | Status
CalibrationImage#0.bmp | NaN | NaN | NaN | 40 | 2184 | 37450 | 5.8318 | Passed | 1310 | 10536 | 12.4336 | Passed | 40 | 13363 | 0.29933 | Passed | 76 | 4509 | 1.6855 | Passed | 3610 | 65858 | 5.4815 | Passed | 0 | 1092 | 0 | Passed | 0.49193 | Passed | 0.66305 | Passed | -1.3533 | Passed | -0.93455 | Passed | 21.8069 | 19.1873 | 68.1136 | 163.9142 | 42.2185 | TRUE
CalibrationImage#1.bmp | NaN | NaN | NaN | 42 | 1726 | 37450 | 4.6088 | Passed | 865 | 10536 | 8.2099 | Passed | 52 | 13363 | 0.38913 | Passed | 154 | 4509 | 3.4154 | Passed | 2797 | 65858 | 4.247 | Passed | 1 | 1092 | 0.091575 | Passed | 0.36508 | Passed | 0.41173 | Passed | -1.4186 | Passed | -0.78683 | Passed | 20.5968 | 18.5571 | 67.5402 | 165.1233 | 41.564 | TRUE
CalibrationImage#2.bmp | NaN | NaN | NaN | 33 | 2088 | 37450 | 5.5754 | Passed | 865 | 10536 | 8.2099 | Passed | 36 | 13363 | 0.2694 | Passed | 148 | 4509 | 3.2823 | Passed | 3137 | 65858 | 4.7633 | Passed | 0 | 1092 | 0 | Passed | 0.48395 | Passed | 0.55814 | Passed | -1.3742 | Passed | -0.60045 | Passed | 21.3017 | 19.1477 | 67.9302 | 166.6489 | 42.2698 | TRUE
CalibrationImage#3.bmp | NaN | NaN | NaN | 37 | 1808 | 37450 | 4.8278 | Passed | 929 | 10536 | 8.8174 | Passed | 37 | 13363 | 0.27688 | Passed | 148 | 4509 | 3.2823 | Passed | 2922 | 65858 | 4.4368 | Passed | 0 | 1092 | 0 | Passed | 0.48514 | Passed | 0.46874 | Passed | -1.2988 | Passed | -0.53965 | Passed | 20.8713 | 19.1536 | 68.5925 | 167.1466 | 42.3779 | TRUE
CalibrationImage#4.bmp | NaN | NaN | NaN | 43 | 2035 | 37450 | 5.4339 | Passed | 813 | 10536 | 7.7164 | Passed | 28 | 13363 | 0.20953 | Passed | 130 | 4509 | 2.8831 | Passed | 3006 | 65858 | 4.5644 | Passed | 0 | 1092 | 0 | Passed | 0.56175 | Passed | 0.77289 | Passed | -1.2197 | Passed | -0.82688 | Passed | 22.3357 | 19.5342 | 69.2877 | 164.7955 | 42.8492 | TRUE
CalibrationImage#5.bmp | NaN | NaN | NaN | 45 | 1696 | 37450 | 4.5287 | Passed | 913 | 10536 | 8.6655 | Passed | 65 | 13363 | 0.48642 | Passed | 182 | 4509 | 4.0364 | Failed | 2856 | 65858 | 4.3366 | Passed | 0 | 1092 | 0 | Passed | 0.39992 | Passed | 0.41658 | Passed | -1.2937 | Passed | -0.68734 | Passed | 20.6202 | 18.7302 | 68.6377 | 165.9377 | 41.993 | FALSE
CalibrationImage#6.bmp | NaN | NaN | NaN | 39 | 1888 | 37450 | 5.0414 | Passed | 793 | 10536 | 7.5266 | Passed | 25 | 13363 | 0.18708 | Passed | 165 | 4509 | 3.6593 | Passed | 2871 | 65858 | 4.3594 | Passed | 2 | 1092 | 0.18315 | Passed | 0.384 | Passed | 0.46066 | Passed | -1.4729 | Passed | -0.76952 | Passed | 20.8324 | 18.6511 | 67.0633 | 165.265 | 41.5811 | TRUE
CalibrationImage#7.bmp | NaN | NaN | NaN | 38 | 1857 | 37450 | 4.9586 | Passed | 806 | 10536 | 7.65 | Passed | 36 | 13363 | 0.2694 | Passed | 131 | 4509 | 2.9053 | Passed | 2830 | 65858 | 4.2971 | Passed | 1 | 1092 | 0.091575 | Passed | 1.5424 | Passed | 1.563 | Passed | -0.6361 | Passed | 0.23992 | Passed | 26.14 | 24.4061 | 74.4165 | 173.5276 | 48.6352 | TRUE
CalibrationImage#8.bmp | NaN | NaN | NaN | 48 | 2180 | 37450 | 5.8211 | Passed | 870 | 10536 | 8.2574 | Passed | 32 | 13363 | 0.23947 | Passed | 190 | 4509 | 4.2138 | Failed | 3272 | 65858 | 4.9683 | Passed | 0 | 1092 | 0 | Passed | 1.5723 | Passed | 1.5119 | Passed | -0.77225 | Passed | 0.16354 | Passed | 25.8938 | 24.5549 | 73.2201 | 172.9024 | 48.3774 | FALSE
CalibrationImage#9.bmp | NaN | NaN | NaN | 41 | 2209 | 37450 | 5.8985 | Passed | 862 | 10536 | 8.1815 | Passed | 52 | 13363 | 0.38913 | Passed | 152 | 4509 | 3.371 | Passed | 3275 | 65858 | 4.9728 | Passed | 1 | 1092 | 0.091575 | Passed | 1.5923 | Passed | 1.5961 | Passed | -0.52737 | Passed | 0.34445 | Passed | 26.2994 | 24.6539 | 75.3721 | 174.3832 | 49.084 | TRUE
CalibrationImage#10.bmp | NaN | NaN | NaN | 54 | 2236 | 37450 | 5.9706 | Passed | 1461 | 10536 | 13.8667 | Passed | 50 | 13363 | 0.37417 | Passed | 172 | 4509 | 3.8146 | Passed | 3919 | 65858 | 5.9507 | Passed | 0 | 1092 | 0 | Passed | 1.5761 | Passed | 1.5372 | Passed | -0.60981 | Passed | 0.24696 | Passed | 26.0157 | 24.5734 | 74.6476 | 173.5853 | 48.7565 | TRUE
CalibrationImage#11.bmp | NaN | NaN | NaN | 40 | 1884 | 37450 | 5.0307 | Passed | 850 | 10536 | 8.0676 | Passed | 40 | 13363 | 0.29933 | Passed | 134 | 4509 | 2.9718 | Passed | 2908 | 65858 | 4.4156 | Passed | 0 | 1092 | 0 | Passed | 1.5749 | Passed | 1.5432 | Passed | -0.56348 | Passed | 0.34068 | Passed | 26.0446 | 24.5674 | 75.0547 | 174.3524 | 48.8988 | TRUE
CalibrationImage#12.bmp | NaN | NaN | NaN | 43 | 1975 | 37450 | 5.2737 | Passed | 852 | 10536 | 8.0866 | Passed | 50 | 13363 | 0.37417 | Passed | 187 | 4509 | 4.1473 | Failed | 3064 | 65858 | 4.6524 | Passed | 1 | 1092 | 0.091575 | Passed | 1.6084 | Passed | 1.5433 | Passed | -0.55414 | Passed | 0.19738 | Passed | 26.0452 | 24.734 | 75.1368 | 173.1794 | 48.9433 | FALSE
CalibrationImage#13.bmp | NaN | NaN | NaN | 53 | 2477 | 37450 | 6.6142 | Passed | 1061 | 10536 | 10.0702 | Passed | 34 | 13363 | 0.25443 | Passed | 91 | 4509 | 2.0182 | Passed | 3663 | 65858 | 5.562 | Passed | 0 | 1092 | 0 | Passed | 1.6111 | Passed | 1.7982 | Passed | -0.73262 | Passed | -0.20286 | Passed | 27.2724 | 24.7476 | 73.5684 | 169.9033 | 48.6046 | TRUE
CalibrationImage#14.bmp | NaN | NaN | NaN | 42 | 2214 | 37450 | 5.9119 | Passed | 918 | 10536 | 8.713 | Passed | 30 | 13363 | 0.2245 | Passed | 99 | 4509 | 2.1956 | Passed | 3261 | 65858 | 4.9516 | Passed | 0 | 1092 | 0 | Passed | 1.626 | Passed | 1.7757 | Passed | -0.55327 | Passed | 0.052858 | Passed | 27.1641 | 24.8217 | 75.1444 | 171.9965 | 49.1207 | TRUE
CalibrationImage#15.bmp | NaN | NaN | NaN | 53 | 1912 | 37450 | 5.1055 | Passed | 910 | 10536 | 8.6371 | Passed | 59 | 13363 | 0.44152 | Passed | 165 | 4509 | 3.6593 | Passed | 3046 | 65858 | 4.6251 | Passed | 0 | 1092 | 0 | Passed | 1.5393 | Passed | 1.5283 | Passed | -0.61717 | Passed | 0.25122 | Passed | 25.9729 | 24.3909 | 74.5829 | 173.6201 | 48.6128 | TRUE
CalibrationImage#16.bmp | NaN | NaN | NaN | 38 | 2279 | 37450 | 6.0854 | Passed | 918 | 10536 | 8.713 | Passed | 36 | 13363 | 0.2694 | Passed | 152 | 4509 | 3.371 | Passed | 3385 | 65858 | 5.1398 | Passed | 0 | 1092 | 0 | Passed | 0.8208 | Passed | 0.78468 | Passed | -1.1324 | Passed | -0.39621 | Passed | 22.3925 | 20.8212 | 70.055 | 168.3207 | 44.1809 | TRUE
CalibrationImage#17.bmp | NaN | NaN | NaN | 35 | 1743 | 37450 | 4.6542 | Passed | 861 | 10536 | 8.172 | Passed | 24 | 13363 | 0.1796 | Passed | 163 | 4509 | 3.615 | Passed | 2791 | 65858 | 4.2379 | Passed | 0 | 1092 | 0 | Passed | 0.72724 | Passed | 0.60164 | Passed | -1.2618 | Passed | -0.52632 | Passed | 21.5112 | 20.3564 | 68.9183 | 167.2557 | 43.3303 | TRUE
CalibrationImage#18.bmp | NaN | NaN | NaN | 37 | 2348 | 37450 | 6.2697 | Passed | 710 | 10536 | 6.7388 | Passed | 45 | 13363 | 0.33675 | Passed | 82 | 4509 | 1.8186 | Passed | 3185 | 65858 | 4.8362 | Passed | 0 | 1092 | 0 | Passed | 0.92653 | Passed | 1.0611 | Passed | -1.0705 | Passed | -0.61711 | Passed | 23.7232 | 21.3465 | 70.599 | 166.5125 | 44.7609 | TRUE
CalibrationImage#19.bmp | NaN | NaN | NaN | 32 | 1945 | 37450 | 5.1936 | Passed | 853 | 10536 | 8.0961 | Passed | 47 | 13363 | 0.35172 | Passed | 153 | 4509 | 3.3932 | Passed | 2998 | 65858 | 4.5522 | Passed | 0 | 1092 | 0 | Passed | 0.75455 | Passed | 0.7182 | Passed | -1.269 | Passed | -0.61294 | Passed | 22.0724 | 20.492 | 68.8547 | 166.5467 | 43.5192 | TRUE
CalibrationImage#20.bmp | NaN | NaN | NaN | 39 | 2496 | 37450 | 6.6649 | Passed | 872 | 10536 | 8.2764 | Passed | 47 | 13363 | 0.35172 | Passed | 91 | 4509 | 2.0182 | Passed | 3506 | 65858 | 5.3236 | Passed | 0 | 1092 | 0 | Passed | 0.89876 | Passed | 1.0831 | Passed | -1.1462 | Passed | -0.55856 | Passed | 23.8293 | 21.2085 | 69.934 | 166.9918 | 44.607 | TRUE
CalibrationImage#21.bmp | NaN | NaN | NaN | 34 | 2087 | 37450 | 5.5728 | Passed | 901 | 10536 | 8.5516 | Passed | 33 | 13363 | 0.24695 | Passed | 75 | 4509 | 1.6633 | Passed | 3096 | 65858 | 4.701 | Passed | 0 | 1092 | 0 | Passed | 0.7965 | Passed | 0.91232 | Passed | -1.0423 | Passed | -0.53293 | Passed | 23.007 | 20.7005 | 70.8465 | 167.2016 | 44.2735 | TRUE
CalibrationImage#22.bmp | NaN | NaN | NaN | 39 | 2323 | 37450 | 6.2029 | Passed | 786 | 10536 | 7.4601 | Passed | 15 | 13363 | 0.11225 | Passed | 163 | 4509 | 3.615 | Passed | 3287 | 65858 | 4.991 | Passed | 0 | 1092 | 0 | Passed | 0.86481 | Passed | 0.79323 | Passed | -1.118 | Passed | -0.47118 | Passed | 22.4337 | 21.0399 | 70.1814 | 167.707 | 44.3108 | TRUE
CalibrationImage#23.bmp | NaN | NaN | NaN | 49 | 2345 | 37450 | 6.2617 | Passed | 851 | 10536 | 8.0771 | Passed | 32 | 13363 | 0.23947 | Passed | 90 | 4509 | 1.996 | Passed | 3318 | 65858 | 5.0381 | Passed | 0 | 1092 | 0 | Passed | 0.94826 | Passed | 1.1365 | Passed | -0.92569 | Passed | -0.39423 | Passed | 24.0863 | 21.4544 | 71.8717 | 168.3369 | 45.2723 | TRUE
CalibrationImage#24.bmp | NaN | NaN | NaN | 34 | 1580 | 37450 | 4.219 | Passed | 860 | 10536 | 8.1625 | Passed | 22 | 13363 | 0.16463 | Passed | 138 | 4509 | 3.0605 | Passed | 2600 | 65858 | 3.9479 | Passed | 0 | 1092 | 0 | Passed | 0.48803 | Passed | 0.46892 | Passed | -1.1295 | Passed | -0.3246 | Passed | 20.8722 | 19.168 | 70.0807 | 168.9069 | 42.7958 | TRUE
CalibrationImage#25.bmp | NaN | NaN | NaN | 33 | 1690 | 37450 | 4.5127 | Passed | 876 | 10536 | 8.3144 | Passed | 37 | 13363 | 0.27688 | Passed | 60 | 4509 | 1.3307 | Passed | 2663 | 65858 | 4.0435 | Passed | 0 | 1092 | 0 | Passed | 0.52175 | Passed | 0.65828 | Passed | -1.2238 | Passed | -0.7023 | Passed | 21.7839 | 19.3355 | 69.2517 | 165.8153 | 42.6787 | TRUE
CalibrationImage#26.bmp | NaN | NaN | NaN | 46 | 1768 | 37450 | 4.721 | Passed | 939 | 10536 | 8.9123 | Passed | 39 | 13363 | 0.29185 | Passed | 142 | 4509 | 3.1493 | Passed | 2888 | 65858 | 4.3852 | Passed | 0 | 1092 | 0 | Passed | 0.55043 | Passed | 0.48683 | Passed | -1.1231 | Passed | -0.20879 | Passed | 20.9584 | 19.478 | 70.1367 | 169.8547 | 43.1013 | TRUE
CalibrationImage#27.bmp | NaN | NaN | NaN | 38 | 2173 | 37450 | 5.8024 | Passed | 873 | 10536 | 8.2859 | Passed | 54 | 13363 | 0.4041 | Passed | 170 | 4509 | 3.7702 | Passed | 3270 | 65858 | 4.9652 | Passed | 1 | 1092 | 0.091575 | Passed | 0.63257 | Passed | 0.64148 | Passed | -1.0874 | Passed | -0.3657 | Passed | 21.703 | 19.886 | 70.4509 | 168.5704 | 43.4776 | TRUE
CalibrationImage#28.bmp | NaN | NaN | NaN | 48 | 2138 | 37450 | 5.7089 | Passed | 954 | 10536 | 9.0547 | Passed | 43 | 13363 | 0.32178 | Passed | 168 | 4509 | 3.7259 | Passed | 3303 | 65858 | 5.0153 | Passed | 1 | 1092 | 0.091575 | Passed | 0.70053 | Passed | 0.77496 | Passed | -0.92974 | Passed | -0.090228 | Passed | 22.3457 | 20.2237 | 71.8361 | 170.8252 | 44.2531 | TRUE
CalibrationImage#29.bmp | NaN | NaN | NaN | 42 | 1939 | 37450 | 5.1776 | Passed | 742 | 10536 | 7.0425 | Passed | 59 | 13363 | 0.44152 | Passed | 162 | 4509 | 3.5928 | Passed | 2902 | 65858 | 4.4065 | Passed | 1 | 1092 | 0.091575 | Passed | 0.55776 | Passed | 0.54893 | Passed | -1.1258 | Passed | -0.38136 | Passed | 21.2574 | 19.5144 | 70.1128 | 168.4422 | 43.0863 | TRUE
CalibrationImage#30.bmp | NaN | NaN | NaN | 37 | 2043 | 37450 | 5.4553 | Passed | 839 | 10536 | 7.9632 | Passed | 76 | 13363 | 0.56873 | Passed | 157 | 4509 | 3.4819 | Passed | 3115 | 65858 | 4.7299 | Passed | 1 | 1092 | 0.091575 | Passed | 0.57249 | Passed | 0.60085 | Passed | -1.1643 | Passed | -0.38681 | Passed | 21.5074 | 19.5876 | 69.7748 | 168.3976 | 43.0961 | TRUE
CalibrationImage#31.bmp | NaN | NaN | NaN | 37 | 1864 | 37450 | 4.9773 | Passed | 902 | 10536 | 8.5611 | Passed | 55 | 13363 | 0.41158 | Passed | 156 | 4509 | 3.4597 | Passed | 2977 | 65858 | 4.5203 | Passed | 1 | 1092 | 0.091575 | Passed | 0.57205 | Passed | 0.52861 | Passed | -1.0528 | Passed | -0.2888 | Passed | 21.1595 | 19.5854 | 70.7548 | 169.1998 | 43.3039 | TRUE
CalibrationImage#32.bmp | NaN | NaN | NaN | 38 | 2267 | 37450 | 6.0534 | Passed | 813 | 10536 | 7.7164 | Passed | 59 | 13363 | 0.44152 | Passed | 177 | 4509 | 3.9255 | Passed | 3316 | 65858 | 5.0351 | Passed | 1 | 1092 | 0.091575 | Passed | 1.5171 | Passed | 1.4787 | Passed | -0.54747 | Passed | 0.24014 | Passed | 25.734 | 24.2805 | 75.1954 | 173.5294 | 48.6028 | TRUE
CalibrationImage#33.bmp | NaN | NaN | NaN | 49 | 2153 | 37450 | 5.749 | Passed | 822 | 10536 | 7.8018 | Passed | 39 | 13363 | 0.29185 | Passed | 94 | 4509 | 2.0847 | Passed | 3108 | 65858 | 4.7192 | Passed | 0 | 1092 | 0 | Passed | 1.5837 | Passed | 1.7577 | Passed | -0.42729 | Passed | 0.25558 | Passed | 27.0774 | 24.6114 | 76.2515 | 173.6558 | 49.2866 | TRUE
CalibrationImage#34.bmp | NaN | NaN | NaN | 40 | 1921 | 37450 | 5.1295 | Passed | 924 | 10536 | 8.7699 | Passed | 40 | 13363 | 0.29933 | Passed | 98 | 4509 | 2.1734 | Passed | 2983 | 65858 | 4.5294 | Passed | 0 | 1092 | 0 | Passed | 1.4811 | Passed | 1.579 | Passed | -0.4667 | Passed | 0.1941 | Passed | 26.2172 | 24.1015 | 75.9053 | 173.1526 | 48.6383 | TRUE
CalibrationImage#35.bmp | NaN | NaN | NaN | 39 | 2122 | 37450 | 5.6662 | Passed | 890 | 10536 | 8.4472 | Passed | 32 | 13363 | 0.23947 | Passed | 90 | 4509 | 1.996 | Passed | 3134 | 65858 | 4.7587 | Passed | 0 | 1092 | 0 | Passed | 1.4303 | Passed | 1.5121 | Passed | -0.67779 | Passed | -0.04582 | Passed | 25.8947 | 23.8491 | 74.0502 | 171.1887 | 47.9077 | TRUE
CalibrationImage#36.bmp | NaN | NaN | NaN | 43 | 2066 | 37450 | 5.5167 | Passed | 861 | 10536 | 8.172 | Passed | 127 | 13363 | 0.95039 | Passed | 91 | 4509 | 2.0182 | Passed | 3145 | 65858 | 4.7754 | Passed | 3 | 1092 | 0.27473 | Passed | 1.5348 | Passed | 1.6794 | Passed | -0.461 | Passed | 0.11943 | Passed | 26.7002 | 24.3684 | 75.9553 | 172.5414 | 48.9053 | TRUE
CalibrationImage#37.bmp | NaN | NaN | NaN | 37 | 2111 | 37450 | 5.6368 | Passed | 859 | 10536 | 8.153 | Passed | 46 | 13363 | 0.34423 | Passed | 87 | 4509 | 1.9295 | Passed | 3103 | 65858 | 4.7117 | Passed | 0 | 1092 | 0 | Passed | 1.4223 | Passed | 1.5891 | Passed | -0.5991 | Passed | 0.13168 | Passed | 26.2656 | 23.8094 | 74.7417 | 172.6416 | 48.1996 | TRUE
CalibrationImage#38.bmp | NaN | NaN | NaN | 40 | 2445 | 37450 | 6.5287 | Passed | 1206 | 10536 | 11.4465 | Passed | 52 | 13363 | 0.38913 | Passed | 122 | 4509 | 2.7057 | Passed | 3825 | 65858 | 5.808 | Passed | 0 | 1092 | 0 | Passed | 1.594 | Passed | 1.7872 | Passed | -0.49808 | Passed | 0.2028 | Passed | 27.2195 | 24.6626 | 75.6295 | 173.2238 | 49.1613 | TRUE
CalibrationImage#39.bmp | NaN | NaN | NaN | 46 | 1873 | 37450 | 5.0013 | Passed | 852 | 10536 | 8.0866 | Passed | 27 | 13363 | 0.20205 | Passed | 169 | 4509 | 3.7481 | Passed | 2921 | 65858 | 4.4353 | Passed | 1 | 1092 | 0.091575 | Passed | 1.457 | Passed | 1.3879 | Passed | -0.60323 | Passed | 0.20388 | Passed | 25.2968 | 23.9819 | 74.7055 | 173.2326 | 48.2112 | TRUE
CalibrationImage#40.bmp | NaN | NaN | NaN | 43 | 2244 | 37450 | 5.992 | Passed | 932 | 10536 | 8.8459 | Passed | 79 | 13363 | 0.59118 | Passed | 118 | 4509 | 2.617 | Passed | 3373 | 65858 | 5.1216 | Passed | 1 | 1092 | 0.091575 | Passed | 1.5348 | Passed | 1.6833 | Passed | -0.51418 | Passed | 0.042183 | Passed | 26.7191 | 24.3686 | 75.488 | 171.9091 | 48.8096 | TRUE
CalibrationImage#41.bmp | NaN | NaN | NaN | 70 | 2106 | 37450 | 5.6235 | Passed | 816 | 10536 | 7.7449 | Passed | 63 | 13363 | 0.47145 | Passed | 161 | 4509 | 3.5706 | Passed | 3146 | 65858 | 4.7769 | Passed | 1 | 1092 | 0.091575 | Passed | 1.2399 | Passed | 1.1915 | Passed | -0.76134 | Passed | 0.060445 | Passed | 24.3511 | 22.9036 | 73.316 | 172.0585 | 46.9065 | TRUE
CalibrationImage#42.bmp | NaN | NaN | NaN | 33 | 2407 | 37450 | 6.4272 | Passed | 837 | 10536 | 7.9442 | Passed | 43 | 13363 | 0.32178 | Passed | 171 | 4509 | 3.7924 | Passed | 3458 | 65858 | 5.2507 | Passed | 0 | 1092 | 0 | Passed | 0.97406 | Passed | 0.88432 | Passed | -1.0107 | Passed | -0.31343 | Passed | 22.8722 | 21.5826 | 71.1248 | 168.9982 | 45.0394 | TRUE
CalibrationImage#43.bmp | NaN | NaN | NaN | 52 | 2284 | 37450 | 6.0988 | Passed | 1286 | 10536 | 12.2058 | Passed | 25 | 13363 | 0.18708 | Passed | 178 | 4509 | 3.9477 | Passed | 3773 | 65858 | 5.729 | Passed | 0 | 1092 | 0 | Passed | 1.3655 | Passed | 1.3096 | Passed | -0.66051 | Passed | 0.18792 | Passed | 24.92 | 23.5271 | 74.2021 | 173.102 | 47.6499 | TRUE
CalibrationImage#44.bmp | NaN | NaN | NaN | 38 | 2122 | 37450 | 5.6662 | Passed | 907 | 10536 | 8.6086 | Passed | 45 | 13363 | 0.33675 | Passed | 151 | 4509 | 3.3489 | Passed | 3225 | 65858 | 4.8969 | Passed | 1 | 1092 | 0.091575 | Passed | 1.0259 | Passed | 0.98782 | Passed | -0.91194 | Passed | -0.059747 | Passed | 23.3705 | 21.8401 | 71.9925 | 171.0747 | 45.6371 | TRUE
CalibrationImage#45.bmp | NaN | NaN | NaN | 40 | 2303 | 37450 | 6.1495 | Passed | 1581 | 10536 | 15.0057 | Failed | 57 | 13363 | 0.42655 | Passed | 179 | 4509 | 3.9698 | Passed | 4120 | 65858 | 6.2559 | Passed | 1 | 1092 | 0.091575 | Passed | 1.3741 | Passed | 1.3267 | Passed | -0.62182 | Passed | 0.27135 | Passed | 25.0023 | 23.57 | 74.5421 | 173.7849 | 47.8374 | FALSE
CalibrationImage#46.bmp | NaN | NaN | NaN | 52 | 2047 | 37450 | 5.466 | Passed | 853 | 10536 | 8.0961 | Passed | 54 | 13363 | 0.4041 | Passed | 152 | 4509 | 3.371 | Passed | 3106 | 65858 | 4.7162 | Passed | 0 | 1092 | 0 | Passed | 1.1172 | Passed | 1.0561 | Passed | -0.76811 | Passed | 0.10163 | Passed | 23.6995 | 22.294 | 73.2565 | 172.3957 | 46.3345 | TRUE
CalibrationImage#47.bmp | NaN | NaN | NaN | 38 | 2184 | 37450 | 5.8318 | Passed | 853 | 10536 | 8.0961 | Passed | 33 | 13363 | 0.24695 | Passed | 91 | 4509 | 2.0182 | Passed | 3161 | 65858 | 4.7997 | Passed | 0 | 1092 | 0 | Passed | 1.3236 | Passed | 1.4535 | Passed | -0.63692 | Passed | 0.046898 | Passed | 25.6125 | 23.3191 | 74.4093 | 171.9477 | 47.6212 | TRUE
CalibrationImage#48.bmp | NaN | NaN | NaN | 37 | 2325 | 37450 | 6.2083 | Passed | 885 | 10536 | 8.3998 | Passed | 55 | 13363 | 0.41158 | Passed | 158 | 4509 | 3.5041 | Passed | 3423 | 65858 | 5.1975 | Passed | 0 | 1092 | 0 | Passed | 1.1712 | Passed | 1.1038 | Passed | -0.78261 | Passed | 0.13498 | Passed | 23.9291 | 22.562 | 73.1291 | 172.6687 | 46.5965 | TRUE
CalibrationImage#49.bmp | NaN | NaN | NaN | 47 | 2076 | 37450 | 5.5434 | Passed | 812 | 10536 | 7.7069 | Passed | 27 | 13363 | 0.20205 | Passed | 182 | 4509 | 4.0364 | Failed | 3097 | 65858 | 4.7025 | Passed | 0 | 1092 | 0 | Passed | 1.212 | Passed | 1.1469 | Passed | -0.78486 | Passed | 0.098431 | Passed | 24.1366 | 22.7646 | 73.1093 | 172.3695 | 46.7346 | FALSE
CalibrationImage#50.bmp | NaN | NaN | NaN | 34 | 1535 | 37450 | 4.0988 | Passed | 332 | 10536 | 3.1511 | Passed | 149 | 13363 | 1.115 | Passed | 375 | 4509 | 8.3167 | Failed | 2391 | 65858 | 3.6305 | Passed | 1 | 1092 | 0.091575 | Passed | -0.24921 | Passed | -0.66648 | Passed | 0.77616 | Passed | 0.16918 | Passed | 15.4055 | 15.5053 | 86.8273 | 172.9485 | 42.5876 | FALSE
CalibrationImage#51.bmp | NaN | NaN | NaN | 27 | 1707 | 37450 | 4.5581 | Passed | 348 | 10536 | 3.303 | Passed | 128 | 13363 | 0.95787 | Passed | 373 | 4509 | 8.2723 | Failed | 2556 | 65858 | 3.8811 | Passed | 0 | 1092 | 0 | Passed | -0.20519 | Passed | -0.67348 | Passed | 0.80065 | Passed | 0.10415 | Passed | 15.3718 | 15.724 | 87.0424 | 172.4163 | 42.7676 | FALSE
CalibrationImage#52.bmp | NaN | NaN | NaN | 27 | 1965 | 37450 | 5.247 | Passed | 362 | 10536 | 3.4358 | Passed | 114 | 13363 | 0.8531 | Passed | 356 | 4509 | 7.8953 | Failed | 2797 | 65858 | 4.247 | Passed | 0 | 1092 | 0 | Passed | -0.27099 | Passed | -0.65925 | Passed | 0.70049 | Passed | 0.0073394 | Passed | 15.4403 | 15.3971 | 86.1622 | 171.6239 | 42.3133 | FALSE
CalibrationImage#53.bmp | NaN | NaN | NaN | 34 | 1525 | 37450 | 4.0721 | Passed | 277 | 10536 | 2.6291 | Passed | 144 | 13363 | 1.0776 | Passed | 449 | 4509 | 9.9579 | Failed | 2395 | 65858 | 3.6366 | Passed | 1 | 1092 | 0.091575 | Passed | -0.16984 | Passed | -0.55162 | Passed | 0.84664 | Passed | 0.19527 | Passed | 15.9585 | 15.8996 | 87.4466 | 173.1621 | 43.1238 | FALSE
CalibrationImage#54.bmp | NaN | NaN | NaN | 63 | 2119 | 37450 | 5.6582 | Passed | 424 | 10536 | 4.0243 | Passed | 189 | 13363 | 1.4144 | Passed | 378 | 4509 | 8.3832 | Failed | 3110 | 65858 | 4.7223 | Passed | 6 | 1092 | 0.54945 | Passed | -0.12975 | Passed | -0.62227 | Passed | 0.83874 | Passed | 0.18175 | Passed | 15.6184 | 16.0988 | 87.3772 | 173.0515 | 43.1786 | FALSE
CalibrationImage#55.bmp | NaN | NaN | NaN | 53 | 1854 | 37450 | 4.9506 | Passed | 363 | 10536 | 3.4453 | Passed | 211 | 13363 | 1.579 | Passed | 434 | 4509 | 9.6252 | Failed | 2862 | 65858 | 4.3457 | Passed | 1 | 1092 | 0.091575 | Passed | -0.14082 | Passed | -0.52124 | Passed | 0.88538 | Passed | 0.12336 | Passed | 16.1048 | 16.0438 | 87.787 | 172.5735 | 43.2713 | FALSE
CalibrationImage#56.bmp | NaN | NaN | NaN | 41 | 1807 | 37450 | 4.8251 | Passed | 316 | 10536 | 2.9992 | Passed | 160 | 13363 | 1.1973 | Passed | 334 | 4509 | 7.4074 | Failed | 2617 | 65858 | 3.9737 | Passed | 4 | 1092 | 0.3663 | Passed | -0.27389 | Passed | -0.67523 | Passed | 0.69126 | Passed | -0.062673 | Passed | 15.3633 | 15.3827 | 86.0811 | 171.0508 | 42.2255 | FALSE
CalibrationImage#57.bmp | NaN | NaN | NaN | 74 | 2113 | 37450 | 5.6422 | Passed | 401 | 10536 | 3.806 | Passed | 142 | 13363 | 1.0626 | Passed | 386 | 4509 | 8.5607 | Failed | 3042 | 65858 | 4.619 | Passed | 2 | 1092 | 0.18315 | Passed | -0.16391 | Passed | -0.5513 | Passed | 0.80221 | Passed | 0.19413 | Passed | 15.96 | 15.9291 | 87.0562 | 173.1528 | 43.0422 | FALSE
CalibrationImage#58.bmp | NaN | NaN | NaN | 34 | 1768 | 37450 | 4.721 | Passed | 447 | 10536 | 4.2426 | Passed | 187 | 13363 | 1.3994 | Passed | 393 | 4509 | 8.7159 | Failed | 2795 | 65858 | 4.244 | Passed | 4 | 1092 | 0.3663 | Passed | -0.23192 | Passed | -0.76396 | Passed | 0.73158 | Passed | -0.025526 | Passed | 14.9361 | 15.5912 | 86.4355 | 171.3548 | 42.3928 | FALSE
CalibrationImage#59.bmp | NaN | NaN | NaN | 38 | 1708 | 37450 | 4.5607 | Passed | 361 | 10536 | 3.4263 | Passed | 187 | 13363 | 1.3994 | Passed | 373 | 4509 | 8.2723 | Failed | 2629 | 65858 | 3.9919 | Passed | 2 | 1092 | 0.18315 | Passed | -0.18519 | Passed | -0.59837 | Passed | 0.8588 | Passed | 0.13447 | Passed | 15.7334 | 15.8233 | 87.5535 | 172.6644 | 42.9995 | FALSE
CalibrationImage#60.bmp | NaN | NaN | NaN | 41 | 2124 | 37450 | 5.6716 | Passed | 371 | 10536 | 3.5213 | Passed | 150 | 13363 | 1.1225 | Passed | 399 | 4509 | 8.849 | Failed | 3044 | 65858 | 4.6221 | Passed | 3 | 1092 | 0.27473 | Passed | -0.0384 | Passed | -0.56605 | Passed | 0.87681 | Passed | 0.17451 | Passed | 15.889 | 16.5526 | 87.7117 | 172.9922 | 43.5617 | FALSE
CalibrationImage#61.bmp | NaN | NaN | NaN | 39 | 2070 | 37450 | 5.5274 | Passed | 424 | 10536 | 4.0243 | Passed | 140 | 13363 | 1.0477 | Passed | 355 | 4509 | 7.8731 | Failed | 2989 | 65858 | 4.5386 | Passed | 0 | 1092 | 0 | Passed | 0.71757 | Passed | 0.20727 | Passed | 1.3446 | Passed | 0.53273 | Passed | 19.6124 | 20.3084 | 91.8225 | 175.9244 | 48.0066 | FALSE
CalibrationImage#62.bmp | NaN | NaN | NaN | 27 | 2711 | 37450 | 7.239 | Passed | 407 | 10536 | 3.8629 | Passed | 220 | 13363 | 1.6463 | Passed | 402 | 4509 | 8.9155 | Failed | 3740 | 65858 | 5.6789 | Passed | 9 | 1092 | 0.82418 | Passed | 0.032208 | Passed | -0.62512 | Passed | 0.95309 | Passed | 0.34469 | Passed | 15.6046 | 16.9034 | 88.3821 | 174.3852 | 43.9346 | FALSE
CalibrationImage#63.bmp | NaN | NaN | NaN | 50 | 2528 | 37450 | 6.7503 | Passed | 385 | 10536 | 3.6541 | Passed | 180 | 13363 | 1.347 | Passed | 362 | 4509 | 8.0284 | Failed | 3455 | 65858 | 5.2461 | Passed | 4 | 1092 | 0.3663 | Passed | 0.74188 | Passed | 0.14519 | Passed | 1.3746 | Passed | 0.7649 | Passed | 19.3135 | 20.4291 | 92.0861 | 177.8248 | 48.1191 | FALSE
CalibrationImage#64.bmp | NaN | NaN | NaN | 41 | 1875 | 37450 | 5.0067 | Passed | 354 | 10536 | 3.3599 | Passed | 113 | 13363 | 0.84562 | Passed | 294 | 4509 | 6.5203 | Failed | 2636 | 65858 | 4.0026 | Passed | 1 | 1092 | 0.091575 | Passed | -0.062054 | Passed | -0.52524 | Passed | 0.79458 | Passed | -0.11922 | Passed | 16.0855 | 16.4351 | 86.9891 | 170.5879 | 43.2203 | FALSE
CalibrationImage#65.bmp | NaN | NaN | NaN | 25 | 3188 | 37450 | 8.5127 | Passed | 337 | 10536 | 3.1986 | Passed | 200 | 13363 | 1.4967 | Passed | 330 | 4509 | 7.3187 | Failed | 4055 | 65858 | 6.1572 | Passed | 7 | 1092 | 0.64103 | Passed | 0.071895 | Passed | -0.61915 | Passed | 0.93394 | Passed | 0.39081 | Passed | 15.6334 | 17.1006 | 88.2138 | 174.7627 | 43.9908 | FALSE
CalibrationImage#66.bmp | NaN | NaN | NaN | 33 | 2762 | 37450 | 7.3752 | Passed | 411 | 10536 | 3.9009 | Passed | 188 | 13363 | 1.4069 | Passed | 409 | 4509 | 9.0707 | Failed | 3770 | 65858 | 5.7244 | Passed | 10 | 1092 | 0.91575 | Passed | 0.78997 | Passed | 0.25657 | Passed | 1.3033 | Passed | 0.58616 | Passed | 19.8498 | 20.668 | 91.4593 | 176.3617 | 48.2165 | FALSE
CalibrationImage#67.bmp | NaN | NaN | NaN | 52 | 2153 | 37450 | 5.749 | Passed | 374 | 10536 | 3.5497 | Passed | 143 | 13363 | 1.0701 | Passed | 348 | 4509 | 7.7179 | Failed | 3018 | 65858 | 4.5826 | Passed | 1 | 1092 | 0.091575 | Passed | -0.011279 | Passed | -0.45368 | Passed | 0.85232 | Passed | -0.0049887 | Passed | 16.43 | 16.6873 | 87.4965 | 171.523 | 43.6311 | FALSE
CalibrationImage#68.bmp | NaN | NaN | NaN | 34 | 3072 | 37450 | 8.2029 | Passed | 413 | 10536 | 3.9199 | Passed | 232 | 13363 | 1.7361 | Passed | 353 | 4509 | 7.8288 | Failed | 4070 | 65858 | 6.18 | Passed | 6 | 1092 | 0.54945 | Passed | 0.78072 | Passed | 0.13135 | Passed | 1.4041 | Passed | 0.78539 | Passed | 19.2469 | 20.6221 | 92.3453 | 177.9925 | 48.2922 | FALSE
CalibrationImage#69.bmp | NaN | NaN | NaN | 34 | 2397 | 37450 | 6.4005 | Passed | 400 | 10536 | 3.7965 | Passed | 258 | 13363 | 1.9307 | Passed | 353 | 4509 | 7.8288 | Failed | 3408 | 65858 | 5.1748 | Passed | 5 | 1092 | 0.45788 | Passed | 0.70954 | Passed | 0.11541 | Passed | 1.3567 | Passed | 0.61794 | Passed | 19.1701 | 20.2684 | 91.9294 | 176.6219 | 47.9199 | FALSE
CalibrationImage#70.bmp | NaN | NaN | NaN | 34 | 2981 | 37450 | 7.9599 | Passed | 429 | 10536 | 4.0718 | Passed | 186 | 13363 | 1.3919 | Passed | 379 | 4509 | 8.4054 | Failed | 3975 | 65858 | 6.0357 | Passed | 5 | 1092 | 0.45788 | Passed | 0.62392 | Passed | -0.049058 | Passed | 1.3473 | Passed | 0.69879 | Passed | 18.3782 | 19.8431 | 91.8464 | 177.2837 | 47.4532 | FALSE
CalibrationImage#71.bmp | NaN | NaN | NaN | 52 | 1916 | 37450 | 5.1162 | Passed | 386 | 10536 | 3.6636 | Passed | 159 | 13363 | 1.1899 | Passed | 322 | 4509 | 7.1413 | Failed | 2783 | 65858 | 4.2258 | Passed | 0 | 1092 | 0 | Passed | -0.015767 | Passed | -0.41112 | Passed | 0.93898 | Passed | -0.038152 | Passed | 16.635 | 16.665 | 88.2581 | 171.2515 | 43.8146 | FALSE
CalibrationImage#72.bmp | NaN | NaN | NaN | 45 | 3086 | 37450 | 8.2403 | Passed | 868 | 10536 | 8.2384 | Passed | 217 | 13363 | 1.6239 | Passed | 330 | 4509 | 7.3187 | Failed | 4501 | 65858 | 6.8344 | Passed | 3 | 1092 | 0.27473 | Passed | 0.71571 | Passed | 0.20378 | Passed | 1.2651 | Passed | 0.52447 | Passed | 19.5956 | 20.2991 | 91.1244 | 175.8567 | 47.8328 | FALSE
CalibrationImage#73.bmp | NaN | NaN | NaN | 32 | 3253 | 37450 | 8.6862 | Passed | 404 | 10536 | 3.8345 | Passed | 194 | 13363 | 1.4518 | Passed | 363 | 4509 | 8.0506 | Failed | 4214 | 65858 | 6.3986 | Passed | 8 | 1092 | 0.7326 | Passed | 0.14553 | Passed | -0.42918 | Passed | 0.97213 | Passed | 0.3722 | Passed | 16.548 | 17.4664 | 88.5494 | 174.6103 | 44.484 | FALSE
CalibrationImage#74.bmp | NaN | NaN | NaN | 39 | 2563 | 37450 | 6.8438 | Passed | 437 | 10536 | 4.1477 | Passed | 193 | 13363 | 1.4443 | Passed | 418 | 4509 | 9.2703 | Failed | 3611 | 65858 | 5.483 | Passed | 1 | 1092 | 0.091575 | Passed | 0.72216 | Passed | 0.1214 | Passed | 1.4006 | Passed | 0.76946 | Passed | 19.1989 | 20.3312 | 92.3143 | 177.8621 | 48.1025 | FALSE
CalibrationImage#75.bmp | NaN | NaN | NaN | 72 | 2451 | 37450 | 6.5447 | Passed | 659 | 10536 | 6.2547 | Passed | 218 | 13363 | 1.6314 | Passed | 289 | 4509 | 6.4094 | Failed | 3617 | 65858 | 5.4921 | Passed | 2 | 1092 | 0.18315 | Passed | 0.055443 | Passed | -0.52289 | Passed | 0.99987 | Passed | -0.13775 | Passed | 16.0968 | 17.0188 | 88.7932 | 170.4362 | 44 | FALSE
CalibrationImage#76.bmp | NaN | NaN | NaN | 48 | 2471 | 37450 | 6.5981 | Passed | 456 | 10536 | 4.328 | Passed | 167 | 13363 | 1.2497 | Passed | 395 | 4509 | 8.7603 | Failed | 3489 | 65858 | 5.2978 | Passed | 2 | 1092 | 0.18315 | Passed | 0.78244 | Passed | 0.18318 | Passed | 1.4113 | Passed | 0.73597 | Passed | 19.4964 | 20.6306 | 92.4084 | 177.5879 | 48.3738 | FALSE
CalibrationImage#77.bmp | NaN | NaN | NaN | 30 | 2725 | 37450 | 7.2764 | Passed | 344 | 10536 | 3.265 | Passed | 288 | 13363 | 2.1552 | Passed | 386 | 4509 | 8.5607 | Failed | 3743 | 65858 | 5.6834 | Passed | 10 | 1092 | 0.91575 | Passed | 0.028935 | Passed | -0.46318 | Passed | 0.79807 | Passed | 0.20407 | Passed | 16.3843 | 16.8871 | 87.0198 | 173.2342 | 43.7651 | FALSE
CalibrationImage#78.bmp | NaN | NaN | NaN | 38 | 3064 | 37450 | 8.1816 | Passed | 396 | 10536 | 3.7585 | Passed | 197 | 13363 | 1.4742 | Passed | 358 | 4509 | 7.9397 | Failed | 4015 | 65858 | 6.0964 | Passed | 4 | 1092 | 0.3663 | Passed | 0.63837 | Passed | -0.061733 | Passed | 1.3395 | Passed | 0.7713 | Passed | 18.3172 | 19.9149 | 91.7777 | 177.8771 | 47.4483 | FALSE
CalibrationImage#79.bmp | NaN | NaN | NaN | 28 | 3006 | 37450 | 8.0267 | Passed | 407 | 10536 | 3.8629 | Passed | 200 | 13363 | 1.4967 | Passed | 417 | 4509 | 9.2482 | Failed | 4030 | 65858 | 6.1192 | Passed | 6 | 1092 | 0.54945 | Passed | 0.10433 | Passed | -0.6337 | Passed | 1.1107 | Passed | 0.53585 | Passed | 15.5633 | 17.2617 | 89.7673 | 175.9499 | 44.477 | FALSE
CalibrationImage#60.bmp | NaN | NaN | NaN | 40 | 1800 | 37450 | 4.8064 | Passed | 748 | 10536 | 7.0995 | Passed | 58 | 13363 | 0.43403 | Passed | 160 | 4509 | 3.5485 | Passed | 2766 | 65858 | 4.1999 | Passed | 0 | 1092 | 0 | Passed | 0.41446 | Passed | 0.45143 | Passed | -1.3143 | Passed | -0.68926 | Passed | 20.788 | 18.8025 | 68.457 | 165.9219 | 42.021 | TRUE
CalibrationImage#61.bmp | NaN | NaN | NaN | 39 | 1860 | 37450 | 4.9666 | Passed | 889 | 10536 | 8.4377 | Passed | 65 | 13363 | 0.48642 | Passed | 145 | 4509 | 3.2158 | Passed | 2959 | 65858 | 4.493 | Passed | 0 | 1092 | 0 | Passed | 0.44576 | Passed | 0.44114 | Passed | -1.3415 | Passed | -0.68276 | Passed | 20.7384 | 18.958 | 68.2178 | 165.9752 | 42.0601 | TRUE
CalibrationImage#62.bmp | NaN | NaN | NaN | 40 | 1847 | 37450 | 4.9319 | Passed | 885 | 10536 | 8.3998 | Passed | 28 | 13363 | 0.20953 | Passed | 148 | 4509 | 3.2823 | Passed | 2908 | 65858 | 4.4156 | Passed | 0 | 1092 | 0 | Passed | 0.49951 | Passed | 0.50349 | Passed | -1.2515 | Passed | -0.41089 | Passed | 21.0386 | 19.225 | 69.0087 | 168.2005 | 42.6241 | TRUE
CalibrationImage#63.bmp | NaN | NaN | NaN | 39 | 1995 | 37450 | 5.3271 | Passed | 873 | 10536 | 8.2859 | Passed | 69 | 13363 | 0.51635 | Passed | 138 | 4509 | 3.0605 | Passed | 3075 | 65858 | 4.6691 | Passed | 1 | 1092 | 0.091575 | Passed | 1.5171 | Passed | 1.4557 | Passed | -0.68651 | Passed | 0.064211 | Passed | 25.6233 | 24.2803 | 73.9736 | 172.0894 | 48.2557 | TRUE
CalibrationImage#64.bmp | NaN | NaN | NaN | 67 | 2355 | 37450 | 6.2884 | Passed | 854 | 10536 | 8.1055 | Passed | 66 | 13363 | 0.4939 | Passed | 168 | 4509 | 3.7259 | Passed | 3443 | 65858 | 5.2279 | Passed | 0 | 1092 | 0 | Passed | 0.91188 | Passed | 0.90534 | Passed | -0.98852 | Passed | -0.19557 | Passed | 22.9734 | 21.2737 | 71.3195 | 169.963 | 44.9547 | TRUE
CalibrationImage#65.bmp | NaN | NaN | NaN | 33 | 2015 | 37450 | 5.3805 | Passed | 890 | 10536 | 8.4472 | Passed | 51 | 13363 | 0.38165 | Passed | 149 | 4509 | 3.3045 | Passed | 3105 | 65858 | 4.7147 | Passed | 1 | 1092 | 0.091575 | Passed | 0.72536 | Passed | 0.65345 | Passed | -1.2454 | Passed | -0.60836 | Passed | 21.7606 | 20.347 | 69.0623 | 166.5842 | 43.3851 | TRUE
CalibrationImage#66.bmp | NaN | NaN | NaN | 32 | 1796 | 37450 | 4.7957 | Passed | 873 | 10536 | 8.2859 | Passed | 125 | 13363 | 0.93542 | Passed | 161 | 4509 | 3.5706 | Passed | 2955 | 65858 | 4.4869 | Passed | 2 | 1092 | 0.18315 | Passed | 0.60331 | Passed | 0.57164 | Passed | -1.0803 | Passed | -0.2393 | Passed | 21.3667 | 19.7407 | 70.5134 | 169.605 | 43.4468 | TRUE
CalibrationImage#67.bmp | NaN | NaN | NaN | 34 | 1856 | 37450 | 4.9559 | Passed | 842 | 10536 | 7.9916 | Passed | 31 | 13363 | 0.23198 | Passed | 192 | 4509 | 4.2582 | Failed | 2921 | 65858 | 4.4353 | Passed | 0 | 1092 | 0 | Passed | 0.65852 | Passed | 0.62877 | Passed | -0.9781 | Passed | -0.14837 | Passed | 21.6418 | 20.015 | 71.4111 | 170.3493 | 43.9005 | FALSE
CalibrationImage#68.bmp | NaN | NaN | NaN | 58 | 1923 | 37450 | 5.1348 | Passed | 912 | 10536 | 8.656 | Passed | 179 | 13363 | 1.3395 | Passed | 87 | 4509 | 1.9295 | Passed | 3101 | 65858 | 4.7086 | Passed | 5 | 1092 | 0.45788 | Passed | 1.5086 | Passed | 1.6058 | Passed | -0.46583 | Passed | 0.2216 | Passed | 26.3458 | 24.2385 | 75.9129 | 173.3777 | 48.8139 | TRUE
CalibrationImage#69.bmp | NaN | NaN | NaN | 43 | 1971 | 37450 | 5.263 | Passed | 875 | 10536 | 8.3049 | Passed | 101 | 13363 | 0.75582 | Passed | 181 | 4509 | 4.0142 | Failed | 3128 | 65858 | 4.7496 | Passed | 3 | 1092 | 0.27473 | Passed | 1.3668 | Passed | 1.2952 | Passed | -0.55453 | Passed | 0.3428 | Passed | 24.8507 | 23.5338 | 75.1334 | 174.3697 | 47.9558 | FALSE