# Purpose

The purpose of this document is to describe how the ClearView software will be verified that requirements are met.

# Scope

This document only describes verification activities of the ClearView software.  This document does not include system level verification activities or details.

# Definitions

| Filtered Image | An energized image obtained by placing a specially designed filter between the subject’s finger and the scanner lens. |
| --- | --- |

# Appendix A

The following table lists the requirements from SR-206 and in a brief summary describes how each requirement can be tested in a measurable fashion.  Unit tests and manual verification should be able to answer the questions in the following table.

| Requirement | Validation Activity |
| --- | --- |
| SR-1 | General |
| SR-1.1 | Does ClearView indicate its version in the title bar of the window or on a dedicated “About” page? Yes, the title bar contains the version number. When the version number is incremented, the title bar shows the change. |
| SR-1.2 | Does ClearView store an audit trail? Make a change to the system and view the audit log if that change was recorded and could it trace the change back to the original value (reversible if needed). |
| SR-1.2.1 | Does the audit entry show what data changed? |
| SR-1.2.2 | Does the audit entry list the EXACT time the data change occurred? |
| SR-1.2.3 | Does the audit trail show the logged in user that made the change, can that user be traced back to an individual person? |
| SR-1.3 | Does ClearView allow for easy navigation using a menu or something that is readily apparent to the user? |
| SR-1.4 | Can each of the following functions be accessed through the application? |
| SR-1.5 | Is data persisted to the database? |
| SR-1.6 | Are alerts displayed when received? Yes, the alerts box at the top of the screen works. |
| SR-1.7 | What are proper security mechanisms? |
| SR-1.7.1 | Does ClearView require username and password? When the username and password is entered, ClearView presents a menu containing a set of features. |
| SR-1.7.2 | Does ClearView close automatically after a specified period of time? |
| SR-1.7.3 | Does ClearView rate limit login attempts? |
| SR-1.7.4 | Does ClearView check for proper authentication throughout critical system functions? This can be tested with unit tests. |
| SR-1.8 | Does the settings page work and display device status information? |
| SR-1.9 | Licensing? |
| SR-1.9.1 | Does the software behave differently based on license? |
| SR-1.9.2 | Is the license displayed somewhere? If we implement a welcome screen the license can be displayed just like Visual Studios welcome screen. |
| SR-1.10 | Number of scans? |
| SR-1.10.1 | Does ClearView restrict scans? |
| SR-1.10.2 | Where is the indication that the user is running out of scans? When a scan is performed does that number go down? Check the number, perform a scan, check the number again. |
| SR-1.11 | Not ready? |
| SR-1.12 | Does ClearView log properly? Perform a function like connecting to the device (which should always be logged), check the end of the logs for a time and date that match when the device is connected to. |
| SR-1.13 | Does ClearView meet regulatory requirements? |
| SR-1.13.1 |  |
| SR-1.13.2 |  |
| SR-1.13.3 |  |
| SR-2 | Users |
| SR-2.1 | Does ClearView require the user to log in? Yes, Windows requires a log in and the ClearView user matches the Windows user (uses two different APIs to verify). |
| SR-2.2 | Can a user be added to the system? Follow the menu button to the user add dialog, enter all the information and click save. Then use a raw database connection to check if the user was added to the database. Then log in with that user to make sure they can log in. |
| SR-2.2.1 | Is name required? Try to save the user without a name and get an error message. |
| SR-2.2.2 | Is username required? Try to save the user without a username and get an error message. |
| SR-2.2.3 | Is password required? Try to save the user without a password and get an error message. |
| SR-2.3 | Can the user modify their information? Follow the menu item to the user account information tab and try to edit the fields. |
| SR-2.3.1 | Can the name be updated? |
| SR-2.3.2 | Can the password be updated? Log in with the new password and make sure it works. |
| SR-2.4 | Does the user have roles? Check the database that each user has a role. |
| SR-2.5 | Does ClearView behave differently with the following roles? Set up a user in each role, verify that each role has differences in the available functionality. |
| SR-2.5.1 | Can the administrator do all functionality? This is measured by listing all functionality of the system and executing it with the administrator logged in. |
| SR-2.5.2 | Are features missing in the tech administrator role? Try to perform administrator functions. |
| SR-2.5.3 | Tech user should have the smallest subset of features available. |
| SR-2.6 | Can we add roles to the system? |
| SR-2.7 |  |
| SR-3 |  |
| SR-3.1 |  |
| SR-3.2 |  |
| SR-3.3 |  |
| SR-3.3.1 |  |
| SR-3.3.2 |  |
| SR-3.3.3 |  |
| SR-3.4 |  |
| SR-3.4.1 |  |
| SR-3.4.2 |  |
| SR-3.4.3 |  |
| SR-3.5 |  |
| SR-4 |  |
| SR-4.1 |  |
| SR-4.2 |  |
| SR-4.2.1 |  |
| SR-4.2.2 |  |
| SR-4.2.3 |  |
| SR-4.3 |  |
| SR-4.4 |  |
| SR-4.4.1 |  |
| SR-4.4.2 |  |
| SR-4.4.3 |  |
| SR-4.4.4 |  |
| SR-4.5 |  |
| SR-4.6 |  |
| SR-4.7 |  |
| SR-4.8 |  |
| SR-5 |  |
| SR-5.1 |  |
| SR-5.1.1 |  |
| SR-5.1.2 |  |
| SR-5.2 |  |
| SR-5.3 |  |
| SR-5.4 |  |
| SR-5.5 |  |
| SR-5.6 |  |
| SR-5.6.1 |  |
| SR-5.6.2 |  |
| SR-5.6.3 |  |
| SR-5.7 |  |
| SR-5.8 |  |
| SR-5.8.1 |  |
| SR-5.8.2 |  |
| SR-5.8.3 |  |
| SR-5.8.4 |  |
| SR-5.8.5 |  |
| SR-5.8.6 |  |
| SR-5.8.7 |  |
| SR-5.9 |  |
| SR-5.9.1 |  |
| SR-5.9.2 |  |
| SR-5.9.3 |  |
| SR-5.10 |  |
| SR-5.10.1 |  |
| SR-5.10.2 |  |
| SR-5.10.3 |  |
| SR-5.10.4 |  |
| SR-5.10.5 |  |
| SR-5.11 |  |
| SR-6 |  |
| SR-6.1 |  |
| SR-6.2 |  |
| SR-6.3 |  |
| SR-6.3.1 |  |
| SR-6.3.2 |  |
| SR-6.3.3 |  |
| SR-6.3.4 |  |
| SR-6.4 |  |
| SR-6.5 |  |
| SR-6.5.1 |  |
| SR-6.5.2 |  |
| SR-6.5.3 |  |
| SR-6.6 |  |